## Cover
Haleon
Scheduled Maintenance
30-Apr-2026 - Week 18

## Scheduled Maintenance
Colour Codes | Change Type
Backbone changes
| Carrier maintenances |  | New Maintenance | 1
| Already notified |  | Already Notified | 12
| New Maintenance |  | Rescheduled
| Rescheduled |  | Cancelled
| Cancelled |  | Emergency/Expedite | 1
Urgent/Expedite/Emergency Maintenance
Site name | Device Name | Scope of change | City | Country | Region | Scheduled Date (GMT) (Start Time) | Scheduled Date (GMT) (End Time) | Scheduled Date (Local) (Time) | Local Time Zone | Duration of change / impact (MIN) | Maintenance window (in hours) | Service Impact | Orange Change Reference | Carrier Name | Carrier Circuit Id | Carrier Reference | Maintenance Type | Carrier Status | Orange Status | Activity Status | Alarm Supression Requested | RFC
CAP | PCPT665 | SCOPE Redeployment of card 3D 4x 10GE XFP Hello team As per trigger from NSP The scope of this project is redeployment of card 3D 4x 10GE XFP destination for redeployed card site CPTT02 device name BCPT9810 device model MX480 device sn JN1261523AFB slot 2 subslot 1 details attached Network OGN Region IMEARSouth africa Changes Category hardware Updates Changes Type card insertion Service Impact no Change Window BD LTP Priority 1 Duration 2 hours Devices BCPT9810 impacted services BCPT9810 FE detailsJustin Williams 27690063460 justinwilliamsaltroncom Build Prov Owner NCG in attachment Requested date AVR152026 2100 to 2200 LOCAL time | CAPE TOWN | SOUTH AFRICA | EMEA | 30/APR/2026 08:00:00 PM |  |  |  | 60 | 01:00 | TRANSPARENT | T604231771 |  |  |  | PLANNED MAINTENANCE |  | PLANNING | Already notified | GSI | CHG4585243
BUA | PQLV037 | SCHEDULED MAINTENANCE WINDOW TO ENHANCE NETWORK PERFORMANCE AND RELIABILITY, ENSURING A BETTER QUALITY TO OUR CUSTOMERS A EMERGENCY MAINTENANCE WINDOW HAS BEEN SCHEDULED TO PERFORM IMPROVEMENTS ON THE NETWORK INFRASTRUCTURE. DURING THIS PERIOD, YOU MAY EXPERIENCE TEMPORARY INSTABILITY, INCLUDING PACKET LOSS OR HIGH LATENCY. | VICTORIA | ARGENTINA | AMER | 30/APR/2026 05:00:00 AM |  | 30/APR/2026 02:00:00 AM | ART [GMT-03:00] | 60 | 05:00 | EXTENDED SERVICE DISRUPTION - MORE THAN 30 MINUTES | REF/2026.21895 | IG NETWORKS | RNG.5411.A012 | 307069 | EXPEDITE MAINTENANCE | LOGGED | EMERGENCY | EMERGENCY MAINTENANCE | GSI | email sent
MMR | PAZP096 | FIRMWARE UPDATE FOR NETWORK STABILITY OPTIMIZATION. | CIUDAD DE MÉXICO | MEXICO | AMER | 02/MAY/2026 04:00:00 AM |  | 01/MAY/2026 11:00:00 PM | [GMT-06:00 DST= GMT-05:00] | 60 | 03:00 | EXTENDED SERVICE DISRUPTION - MORE THAN 30 MINUTES | REF/2026.20544 | FLO NETWORKS | 46011389 | MW-100349 | PLANNED MAINTENANCE | LOGGED | RELEASE | Already notified | GSAT | CHG4584898
CUD | PSFZ30020 | WE WILL BE PERFORMING PREVENTIVE MAINTENANCE ON EQUIPMENT TO ENSURE PROPER OPERATION. | LINCOLN | UNITED STATES | AMER | 05/MAY/2026 04:00:00 AM |  | 04/MAY/2026 11:00:00 PM | CT [GMT-06:00 DST= GMT-05:00] | 180 | 06:00 | EXTENDED SERVICE DISRUPTION - MORE THAN 30 MINUTES | REF/2026.22177 | VERIZON BUSINESS | E4154718 | R-2426379 | PLANNED MAINTENANCE | LOGGED | PLANNED | Already notified | GSAT
CUD | PSFZ30020 | WE WILL BE PERFORMING PREVENTIVE MAINTENANCE ON EQUIPMENT TO ENSURE PROPER OPERATION. | LINCOLN | UNITED STATES | AMER | 05/MAY/2026 04:00:00 AM |  | 04/MAY/2026 11:00:00 PM | CT [GMT-06:00 DST= GMT-05:00] | 180 | 06:00 | EXTENDED SERVICE DISRUPTION - MORE THAN 30 MINUTES | REF/2026.22178 | VERIZON BUSINESS | C1266581 | R-2426379 | PLANNED MAINTENANCE | LOGGED | PLANNED | Already notified | GSAT
NYN | PZRN066 | DUE TO PLANNED MAINTENANCE / WORKS YOUR BELOW MENTIONED SERVICE HAS TO BE INTERRUPTED.WE ARE ANXIOUS TO KEEP THE NECESSARY INTERRUPTION TIME AS SHORT AS POSSIBLE. | NYON | SWITZERLAND | EUR | 05/MAY/2026 08:00:00 PM |  | 05/MAY/2026 10:00:00 PM | CET [GMT+01:00 DST= GMT+02:00] | 30 | 03:00 | EXTENDED SERVICE DISRUPTION - FROM 5 MINUTES UP TO 30 MINUTES | REF/2026.19562 | SWISSCOM WHS | NYON IP 95 | 2689121 | PLANNED MAINTENANCE | LOGGED | RELEASE | Already notified | GSI | CHG4586119
BUA | PQLV037 | SCHEDULED MAINTENANCE WINDOW TO ENHANCE NETWORK PERFORMANCE AND RELIABILITY, ENSURING A BETTER QUALITY TO OUR CUSTOMERS CHANGE CONFIGURATION FOR IMPROVE THE NETWORK | VICTORIA | ARGENTINA | AMER | 05/MAY/2026 07:15:00 AM |  | 05/MAY/2026 04:15:00 AM | ART [GMT-03:00] | 45 | 02:25 | EXTENDED SERVICE DISRUPTION - MORE THAN 30 MINUTES | REF/2026.22449 | IG NETWORKS | RNG.5411.A012 | 307274 | PLANNED MAINTENANCE | LOGGED | PLANNED | New maintenance | GSI
CQM | PYCV007 | ROGERS BUSINESS WILL UPGRADE 7210 CPE AND MEDIA CONVERTER DEVICES TO AN UPDATED VERSION OF TIMOS (DEVICE OPERATING SYSTEM) TO ENSURE CONTINUED RELIABILITY, STABILITY, AND FUNCTIONALITY. ROGERS BUSINESS METTRA À NIVEAU LES APPAREILS CPE 7210 ET LES CONVERTISSEURS DE MÉDIAS VERS UNE VERSION MISE À JOUR DE TIMOS (SYSTÈME D'EXPLOITATION DE L'APPAREIL) AFIN D'ASSURER LA CONTINUITÉ DE LEUR FIABILITÉ, DE LEUR STABILITÉ ET DE LEUR FONCTIONNALITÉ. | MONTRÉAL | CANADA | AMER | 06/MAY/2026 04:00:00 AM |  | 06/MAY/2026 12:00:00 AM | EST [GMT-05:00 DST= GMT-04:00] | 30 | 06:00 | EXTENDED SERVICE DISRUPTION - FROM 5 MINUTES UP TO 30 MINUTES | REF/2026.19990 | ROGERS COMMUNICATIONS-CA | EQUANTI360 | CHG0203403 | PLANNED MAINTENANCE | LOGGED | RELEASE | Already notified | GSI | CHG4586123
CUD | PSFZ30020 | WE WILL BE PERFORMING PREVENTIVE MAINTENANCE ON EQUIPMENT TO ENSURE PROPER OPERATION. | LINCOLN | UNITED STATES | AMER | 06/MAY/2026 04:00:00 AM |  | 05/MAY/2026 11:00:00 PM | CT [GMT-06:00 DST= GMT-05:00] | 180 | 06:00 | EXTENDED SERVICE DISRUPTION - MORE THAN 30 MINUTES | REF/2026.22147 | VERIZON BUSINESS | E4154718 | R-2426142 | PLANNED MAINTENANCE | LOGGED | PLANNED | Already notified | GSAT
CUD | PSFZ30020 | WE WILL BE PERFORMING PREVENTIVE MAINTENANCE ON EQUIPMENT TO ENSURE PROPER OPERATION. | LINCOLN | UNITED STATES | AMER | 06/MAY/2026 04:00:00 AM |  | 05/MAY/2026 11:00:00 PM | CT [GMT-06:00 DST= GMT-05:00] | 180 | 06:00 | EXTENDED SERVICE DISRUPTION - MORE THAN 30 MINUTES | REF/2026.22152 | VERIZON BUSINESS | C1266581 | R-2426142 | PLANNED MAINTENANCE | LOGGED | PLANNED | Already notified | GSAT
CUD | PSFZ30020 | WE WILL BE PERFORMING PREVENTIVE MAINTENANCE ON EQUIPMENT TO ENSURE PROPER OPERATION. | LINCOLN | UNITED STATES | AMER | 07/MAY/2026 04:00:00 AM |  | 06/MAY/2026 11:00:00 PM | CT [GMT-06:00 DST= GMT-05:00] | 180 | 06:00 | EXTENDED SERVICE DISRUPTION - MORE THAN 30 MINUTES | REF/2026.22154 | VERIZON BUSINESS | C1266581 | R-2426150 | PLANNED MAINTENANCE | LOGGED | PLANNED | Already notified | GSAT
CUD | PSFZ30020 | WE WILL BE PERFORMING PREVENTIVE MAINTENANCE ON EQUIPMENT TO ENSURE PROPER OPERATION. | LINCOLN | UNITED STATES | AMER | 07/MAY/2026 04:00:00 AM |  | 06/MAY/2026 11:00:00 PM | CT [GMT-06:00 DST= GMT-05:00] | 180 | 06:00 | EXTENDED SERVICE DISRUPTION - MORE THAN 30 MINUTES | REF/2026.22157 | VERIZON BUSINESS | E4154718 | R-2426150 | PLANNED MAINTENANCE | LOGGED | PLANNED | Already notified | GSAT
Netherlands | PAMS3188 | Meshing Creation or Removal -- Add | SCHIPHOL-RIJK | NETHERLANDS | EUROPE | 10/MAY/2026 02:00:00 PM |  |  |  | 1 | 02:00 | SHORT SERVICE DISRUPTION - LESS THAN 1 MINUTE | XAG202509-00073 | [5 empty] | RESCHEDULED | Already notified
CAP | PCPT666 | TO UPGRADE THE ASR920 DEVICE FROM IOS VERSION FROM 6.6.3 TO 7.11.2. THIS IS REQUIRED TO ADDRESS BUGS AND VULNERABILITIES. | CAPE TOWN | SOUTH AFRICA | IMEAR | 11/MAY/2026 09:59:00 PM |  | 11/MAY/2026 11:59:00 PM | SAST [GMT+02:00] | 180 | 06:01 | EXTENDED SERVICE DISRUPTION - MORE THAN 30 MINUTES | REF/2026.21493 | LIQUID TELECOM | 027CAPE2361014194789 | CHG0107604 | PLANNED MAINTENANCE | LOGGED | PLANNED | Already notified

## Completed Maintenance
Colour Codes
Backbone Changes
Carrier maintenances
Site name | USID/Device Name | Scope of change | City | Country | Region | Scheduled Date (GMT) (Time) | Scheduled Date (Local) (Time) | Ticket Logged date | Local Time Zone | Duration of change / impact (MIN) | Maintenance window (in hours) | Service Impact | Change Reference | Carrier Name | Carrier Circuit Id | Carrier Reference | Maintenance Type | Orange/Carrier Status | Activity Status | Activity Completed | Alarm Supression Requested | RFC | Device Type
PAN | PPTY375 | Description Perform Segment Changes In The Campo Lindbergh Sector, Eliminating Multiple Damaged Junction Boxes To Improve Network Performance. | PANAMA CITY | PANAMA | LAM | 21/JAN/2026 02:00:00 AM | 20/JAN/2026 09:00:00 PM | 07-Jan-2026 22:12 | GMT-05:00 | 120 | 09:00 | EXTENDED SERVICE DISRUPTION - MORE THAN 30 MINUTES | REF/2026.00873 | UFINET LATAM SLU | PAPAORA10092147C | 25465 | PLANNED MAINTENANCE | LOGGED | Already notified | Confirmation awaited from carrier | GSI | CHG4552347 | Underlay
IDP | PSLV005 | Ios Upgrade At Gklhptcvt4Cr710 | BADDI | INDIA | APAC | 22/JAN/2026 06:30:00 PM | 23/JAN/2026 12:00:00 AM | 09-Jan-2026 08:51 | IST [GMT+05:30] | 300 | 06:00 | EXTENDED SERVICE DISRUPTION - MORE THAN 30 MINUTES | REF/2026.01131 | BHARTI AIRTEL LIMITED | 14210535 | 1100361054 | PLANNED MAINTENANCE | LOGGED | Already notified | Cancelled | GSAT | CHG4553749 | SDWAN
ALC | PMAD6083 | Scheduled Maintenance In Our Subcontractor'S Network | MADRID | SPAIN | EUROPE | 22/JAN/2026 11:00:00 PM | 23/JAN/2026 12:00:00 AM | 15-Jan-2026 17:01 | CET [GMT+01:00 DST= GMT+02:00 ] | 420 | 07:00 | EXTENDED SERVICE DISRUPTION - MORE THAN 30 MINUTES | REF/2026.02295 | ORANGE SPAIN | LALA200-1000731 | Z2026011399629 | PLANNED MAINTENANCE | LOGGED | Already notified | Confirmation awaited from carrier | Will be done by GSI (device not in Orion) | CHG4553750 | SDWAN
ALC | PMAD6082 | Network : OGN Region : EUR Changes Category : traffic deactivation Changes Type : Link Operations Service Impact : Degraded Change Window : WE Priority : 1 Duration : 1 hours Devices : BBCN301 Impacted services : N/A Change Description : The new virtual Internet Gateway has been successfully configured on BCNTR2 OGN P route Therefore, traffic de-activation on bbcn301 can be done now Topology bbcn301 (Te0/1/0) <-i/h-> BBCN816-Ten1/2/0 bbcn301 (Te0/1/1) <- BCNBCN160 -> BCNTR2-TE0/1/0/34/1 Additional Comments: traffic de-activation on bbcn301 | MADRID | SPAIN | EUROPE | 24/JAN/2026 08:00:00 PM | - | - | 1 | 00:01 | SHORT SERVICE DISRUPTION - LESS THAN 1 MINUTE |  | T601169261 | - | - | PLANNED MAINTENANCE | LOGGED | SUCCESSFUL | Already notified | SUCCESSFUL | GSI | CHG4554300
OKH | PHCC017 | Our Provider Will Be Performing Network Maintenance In Mahopac, Ny, To Address A Network Fault And Reduce The Risk Of Unscheduled Impact. | EAST DURHAM | UNITED STATES | NAM | 28/JAN/2026 05:00:00 AM |  | 28/JAN/2026 12:00:00 AM | ET [GMT-05:00 DST= GMT-04:00] | 1 | 05:00 | LONG SERVICE DISRUPTION - MORE THAN 1 MINUTE | REF/2026.01679 | TYPE2TELECOM LLC | 11882 | 1295799 // 00663864 | PLANNED MAINTENANCE | LOGGED | Already notified | Confirmation awaited from carrier | GSI | CHG4554314
MAX | PDED019 | Ios Upgrade ¦¦ Hwrupbopt4Cr050 | HARIDWAR | INDIA | APAC | 28/JAN/2026 06:30:00 PM |  | 29/JAN/2026 12:00:00 AM | IST [GMT+05:30] | 120 | 06:00 | EXTENDED SERVICE DISRUPTION - MORE THAN 30 MINUTES | REF/2026.02356 | BHARTI AIRTEL LIMITED | 14210644 | 1100363976 | PLANNED MAINTENANCE | LOGGED | Already notified | Cancelled | GSAT | CHG4554316
OKH | PHCC017 | Our Provider Will Be Performing Network Maintenance In Mahopac, Ny, To Address A Network Fault And Reduce The Risk Of Unscheduled Impact. | EAST DURHAM | UNITED STATES | NAM | 29/JAN/2026 05:00:00 AM |  | 29/JAN/2026 12:00:00 AM | ET [GMT-05:00 DST= GMT-04:00] | 1 | 05:00 | LONG SERVICE DISRUPTION - MORE THAN 1 MINUTE | REF/2026.01680 | TYPE2TELECOM LLC | 11882 | 1295799 // 00663864 | PLANNED MAINTENANCE | LOGGED | Already notified | Confirmation awaited from carrier | GSI | CHG4554321
IAY | PQZR020 | We Would Like To Make You Aware Of A Maintenance Our Carrier Will Conduct On Their Network That Will Affect Your Service. The Maintenance Will Be Carried Out To Improve The Network'S Stability And Service Quality. As This Maintenance Is Not Being Conducted By Colt, Rescheduling This Work May Not Be Possible. Should The Date And Time For The Maintenance Have Passed Without An Updated Notification Being Communicated For It, Please Consider The Work As Completed. | APRILIA | ITALY | EUROPE | 29/JAN/2026 11:00:00 PM |  | 30/JAN/2026 12:00:00 AM | CET [GMT+01:00 DST= GMT+02:00 ] | 60 | 05:00 | EXTENDED SERVICE DISRUPTION - MORE THAN 30 MINUTES | REF/2026.01949 | COLT TECHNOLOGY SERVICES | MIL/ITA/LE-662704 | CRQ1-84627824333 | PLANNED MAINTENANCE | LOGGED | Already notified | COMPLETE | GSI | CHG4554301
BKK | PBKK2142 | Jastel Will Perform A Mandatory Service Migration To The New Core Network To Optimize Performance And Stability | PATHUM WAN | THAILAND | APAC | 28/JAN/2026 05:00:00 PM |  | 29/JAN/2026 12:00:00 AM | THA [GMT+07:00] | 30 | 05:00 | EXTENDED SERVICE DISRUPTION - FROM 5 MINUTES UP TO 30 MINUTES | REF/2026.04185 | JASTEL NETWORK COMPANY LIMITED | C2786 | CR00030417 | EMERGENCY MAINTENANCE | LOGGED | Emergency Maintenance | Confirmation awaited from carrier | GSAT | CHG4556362
BSL | PBTS884 | We Would Like To Inform You About A Planned Work On The Part Of Orange Slovensko On January 30 2026 At 01:00 Am Until January 30 2026 At 06:00 Am .The Time Zone Is Cet. | BRATISLAVA II | SLOVAKIA | EUROPE | 30/JAN/2026 12:00:00 AM |  | 30/JAN/2026 01:00:00 AM | CET [GMT+01:00 DST= GMT+02:00] | 30 | 05:00 | EXTENDED SERVICE DISRUPTION - FROM 5 MINUTES UP TO 30 MINUTES | REF/2026.03606 | ORANGE SK | EQUANT313_PBTS877 | NA | PLANNED MAINTENANCE | LOGGED | Already notified | Confirmation awaited from carrier | GSAT | CHG4556364
BOO | PCAI1987 | Transmission Migration | CAIRO | EGYPT | EMEA | 30/JAN/2026 11:00:00 PM |  | 31/JAN/2026 01:00:00 AM | EST [GMT+02:00 DST= GMT+03:00] | 60 | 05:00 | EXTENDED SERVICE DISRUPTION - MORE THAN 30 MINUTES | REF/2026.04399 | VODAFONE DATA | 1011688/31 | NIA20260127001 | EXPEDITE MAINTENANCE | LOGGED | EXPEDITE | Confirmation awaited from carrier | GSAT | CHG4557307
NYN | PZRN066 | Need to upgrade BGVA915 (ASR1K) router to version 17.6.6a from version 17.6.4 as this include the BUG fixes (CSCwd81240) which is required in order to fix for CPU utilization from the Linux kernel is at 100% due to btelnet process for customer JTI customer and another BUG "CSCwb61073" which causes a stuck process within BQS that can cause QoS mis-programming. Note: This upgrade is a join risk by Engineering team, GDO team and TAC. As cisco support is not available due to legacy hardware. | NYON | SWITZERLAND | EUROPE | 31/JAN/2026 10:00:00 PM | 02/01/2026 01:00AM | - | - | 30 | 00:30 | EXTENDED SERVICE DISRUPTION - FROM 5 MINUTES UP TO 30 MINUTES | T601186835 | - | - | - | PLANNED MAINTENANCE | PLANNING | Cancelled | Cancelled | GSI | CHG4554302
MAX | PDED019 | Rkeupsult4Cr04 | HARIDWAR | INDIA | APAC | 02/FEB/2026 06:30:00 PM |  | 03/FEB/2026 12:00:00 AM | IST [GMT+05:30] | 60 | 06:00 | EXTENDED SERVICE DISRUPTION - MORE THAN 30 MINUTES | REF/2026.02659 | BHARTI AIRTEL LIMITED | 14210644 | 1100364422 | PLANNED MAINTENANCE | LOGGED | PLANNED | Cancelled | Cancelled activity | CHG4554400, rejected. To be requested again. Activity is now cancelled.
Stockholm | MPLSPartner: ORU BBMA9910 | SCOPE: Card insertion - removal - swap -- Change details below: 1. Move MPC7E 3d 40xge (EBBZ3138) FROM: Remove from BBMA9910 slot 5. TO: Install into BBMA9911 slot 4. 1. Also move SFP+-10G-ER (1W1CUKAA2101W) FROM: Remove from BBMA9910 slot 4/0/11 TO: Install into BBMA9911 4/0/19. | STOCKHOLM | SWEDEN | EUR | 02/FEB/2026 09:00:00 PM | 2026-02-02 22:00 |  |  | 60 | 01:00 | TRANSPARENT | T601255659 |  |  |  | EXPEDITE MAINTENANCE |  | PLANNING |  | GSI
MAX | PDED019 | Tp To Ip Migration ¦¦ Upw4P19E05_Hwr_4S_Rke_Ot5 ¦¦ Sqkbcluanmht5Cn122126 , Sqk_Bclup_Nmh_P_C61838 | HARIDWAR | INDIA | APAC | 04/FEB/2026 05:30:00 PM |  | 04/FEB/2026 11:00:00 PM | IST [GMT+05:30] | 60 | 07:00 | EXTENDED SERVICE DISRUPTION - MORE THAN 30 MINUTES | REF/2026.03947 | BHARTI AIRTEL LIMITED | 14210644 | 1100369438 | PLANNED MAINTENANCE | LOGGED | PLANNED | LOGGED | GSAT | CHG4557309
BSL | PBTS884 | We Would Like To Inform You About A Planned Work On The Part Of Orange Slovensko On February 05 2026 At 01:00 Am Until February 05 2026 At 06:00 Am . | BRATISLAVA II | SLOVAKIA | EUROPE | 05/FEB/2026 12:00:00 AM |  | 05/FEB/2026 01:00:00 AM | CET [GMT+01:00 DST= GMT+02:00] | 30 | 05:00 | EXTENDED SERVICE DISRUPTION - FROM 5 MINUTES UP TO 30 MINUTES | REF/2026.04430 | ORANGE SK | EQUANT313_PBTS877 | 311548A5-8384-47B8-8D92-2FE2F5A28628 | PLANNED MAINTENANCE | LOGGED | PLANNED | LOGGED | GSAT | CHG4557313
PGG | PPSE022 | The Purpose Of This Activity Is To Execute A Software Upgrade. Please Note That Your Services Detailed Above Will Be Affected Up To One (1) Hour During This Activity. | GUAYAMA | PUERTO RICO | LAM | 06/FEB/2026 05:00:00 AM |  | 06/FEB/2026 01:00:00 AM | AT [GMT-04:00] | 60 | 02:00 | EXTENDED SERVICE DISRUPTION - MORE THAN 30 MINUTES | REF/2026.05077 | COLUMBUS NETWORKS | 19982.CN | 847230 | PLANNED MAINTENANCE | LOGGED | PLANNED | LOGGED | GSAT | CHG4558783
GBW | PHYD528 | As A Part Of Infrastructure Maintenance To Improve The Services We Are Planning To Do Node Upgradation Activity At Hyderabad Location From Saos-10-09-01-0191-Ga To Saos-10-11-01-0248-Ga (Swf-0891-001-S) | HYDERABAD | INDIA | APAC | 07/FEB/2026 04:30:00 PM |  | 07/FEB/2026 10:00:00 PM | IST [GMT+05:30] | 480 | 08:00 | EXTENDED SERVICE DISRUPTION - MORE THAN 30 MINUTES | REF/2026.06616 | SIFY TECHNOLOGIES LTD | 2023200751 | CHR0035345 | EXPEDITE MAINTENANCE | LOGGED | PLANNED | COMPLETE | GSAT | CHG4559537
CUD | PSFZ30020 | To Maintain Network Performance And Stability We Will Be Migrating Circuits To An Optimum Fiber Path. | LINCOLN | UNITED STATES | NAM | 13/FEB/2026 05:00:00 AM |  | 12/FEB/2026 11:00:00 PM | CT [GMT-06:00 DST= GMT-05:00] | 60 | 06:00 | EXTENDED SERVICE DISRUPTION - MORE THAN 30 MINUTES | REF/2026.04927 | VERIZON BUSINESS | E4154718 | R-2298798 | PLANNED MAINTENANCE | LOGGED | PLANNED | Cancelled | Cancelled
CUD | PSFZ30020 | To Maintain Network Performance And Stability We Will Be Migrating Circuits To An Optimum Fiber Path. | LINCOLN | UNITED STATES | NAM | 13/FEB/2026 05:00:00 AM |  | 12/FEB/2026 11:00:00 PM | CT [GMT-06:00 DST= GMT-05:00] | 60 | 06:00 | EXTENDED SERVICE DISRUPTION - MORE THAN 30 MINUTES | REF/2026.04928 | VERIZON BUSINESS | C1266581 | R-2298798 | PLANNED MAINTENANCE | LOGGED | PLANNED | Cancelled | Cancelled
STL | PCPS012 | SCOPE: activate flexible queuing for FPC 1 on BDAL9910 =========================================== Network : OGN Region : AMER Changes Category : Chassis Components Changes Type : Card configuration - disruptive Service Impact : Yes Change Window : BD LTP Priority : [1] Duration : 2h Devices : BDAL9910 impacted services : Connections on FPC 1 of BDAL9910 Change Description : Queueing activation on FPC 1 - BDAL9910 FE details : n/a - remote change AdditionalComments : Hello team, please see request below: We need to activate flexible queuing for FPC 1 on BDAL9910 to clear some errors we faced during a recent migration. Please perform change on February 9 at 12GMT. ¿set chassis fpc 1 flexible-queuing-mode¿ This change will cause FPC 1 to reload so please notify all the impacted connections via SWAN advisory. bkumar@bdal9910> show interfaces descriptions ¦ match -1/ ¦ match "up up" ge-1/0/0 up up #under configuration ge-1/0/0.2 up up SIEMENS AG - DALLAS - to PDNE028 - Gi0/0/1.2 - 1000000K ge-1/0/1 up up IGN ETH-GE-Nat,VoGW:BDAL715-GE0/0/0,BW:200M,ID:DALDAL255,TYP:SIPC4-GW,TXT:SIP Carrier NICE - Model-D(West) ge-1/0/1.0 up up IGN ETH-GE-Nat,VoGW:BDAL715-GE0/0/0,BW:200M,ID:DALDAL255,TYP:SIPC4-GW,TXT:SIP Carrier NICE - Model-D(West) xe-1/2/0 up up #under configuration xe-1/2/0.204 up up TELEKOMDEUTSCHLAND :IPXT ASN20936 @81.28.66.56 - IPX LD011691 LD018089-LDA13856 :NSO - PrivPeer xe-1/2/1 up up #under configuration xe-1/2/1.320 up up AIRNITY :IPXT ASN65120 @81.52.138.170 - IPX LD020769 LD020770-LDA14614 :NSO - Custom xe-1/2/2 up up TESTING DALIO1 port_4 from BDAL9910 DALDAL264 - IOMETRIX - Backbone xe-1/2/3 up up DALTR3 from BDAL9910 @XXX.XXX.XXX.XXX - L2 switching trunk FIBXXXXX - Backbone xe-1/2/3.100 up up DALIO1 :OINIS - internal vlan 100 - Backbone | ST. LOUIS | UNITED STATES | NAM | 09/FEB/2026 12:00:00 AM | 02/09/2026 02:00AM |  |  | 120 | 02:00 | EXTENDED SERVICE DISRUPTION - MORE THAN 30 MINUTES | T601249565 |  |  |  | PLANNED MAINTENANCE |  | PLANNING |  | GSI
PAN | PPTY376 | Activate Dedicated Equipment For Lu Route Reflector Functionality At The Victoria Plaza Node, In Order To Decouple Core Router Functions. | PANAMA CITY | PANAMA | LAM | 11/FEB/2026 04:00:00 AM |  | 10/FEB/2026 11:00:00 PM | GMT-05:00 | 0 | 04:00 | SHORT SERVICE DISRUPTION - LESS THAN 1 MINUTE | REF/2026.02415 | UFINET LATAM SLU | PAUSORA10303858C | 25555 | PLANNED MAINTENANCE | LOGGED | PLANNED | LOGGED | GSI | CHG4560716
WNJ | PJVI028 | Crown Castle Fiber Will Be Conducting A Required Maintenance At The Above-Listed Location For Routine Splicing. Your Circuit(S)May Experience Fluctuating Impact, If Down For More Than 10 Minutes Please Call Out Change Management Call Center. We Apologize For Any Resulting Inconvenience And Assure You Of Our Efforts To Minimize Any Service Disruption. | WARREN | UNITED STATES | NAM | 11/FEB/2026 05:00:00 AM |  | 11/FEB/2026 12:00:00 AM | EST [GMT-5:00] | 360 | 06:00 | EXTENDED SERVICE DISRUPTION - MORE THAN 30 MINUTES | REF/2026.04324 | CROWN CASTLE FIBER LLC | 392707-WAVE-CCF | CM20260127043 | PLANNED MAINTENANCE | LOGGED | PLANNED | COMPLETE | GSI | CHG4560717
PLA | PLIM1002 | These Works Aim To Keep Our Networks In Optimal Condition. | SAN ISIDRO | PERU | LAM | 11/FEB/2026 05:00:00 AM |  | 11/FEB/2026 12:00:00 AM | PET [GMT-05:00] | 90 | 05:00 | EXTENDED SERVICE DISRUPTION - MORE THAN 30 MINUTES | REF/2026.05058 | ENTEL PERU | 180973 | MOP 1105453 - 1105458 | PLANNED MAINTENANCE | LOGGED | PLANNED | LOGGED | GSAT | CHG4559540
BUA | PQLV037 | Scheduled Maintenance Window To Enhance Network Performance And Reliability, Ensuring A Better Quality To Our Customers Maintenance Window To Improve Network | VICTORIA | ARGENTINA | LAM | 12/FEB/2026 02:00:00 AM |  | 11/FEB/2026 11:00:00 PM | ART [GMT-03:00] | 60 | 01:00 | EXTENDED SERVICE DISRUPTION - MORE THAN 30 MINUTES | REF/2026.06160 | IG NETWORKS | RNG.5411.A012 | 296984 | PLANNED MAINTENANCE | LOGGED | PLANNED | LOGGED | GSI | CHG4560719
WNJ | PJVI028 | Crown Castle Fiber Will Be Conducting A Required Maintenance At The Above-Listed Location For A Mandatory Customer Troubleshooting. Your Circuit(S) Will Be Impacted During This Maintenance Window As Indicated Below. We Apologize For Any Resulting Inconvenience And Assure You Of Our Efforts To Minimize Any Service Disruption. | WARREN | UNITED STATES | NAM | 12/FEB/2026 05:00:00 AM |  | 12/FEB/2026 12:00:00 AM | EST [GMT-5:00] | 360 | 06:00 | EXTENDED SERVICE DISRUPTION - MORE THAN 30 MINUTES | REF/2026.06439 | CROWN CASTLE FIBER LLC | 392707-WAVE-CCF | CM20260127069 | PLANNED MAINTENANCE | LOGGED | PLANNED | COMPLETE | GSI | CHG4560720
PLA | PLIM1002 | These Works Aim To Keep Our Networks In Optimal Condition. | SAN ISIDRO | PERU | LAM | 12/FEB/2026 05:00:00 AM |  | 12/FEB/2026 12:00:00 AM | PET [GMT-05:00] | 90 | 05:00 | EXTENDED SERVICE DISRUPTION - MORE THAN 30 MINUTES | REF/2026.05057 | ENTEL PERU | 180973 | MOP 1105453 - 1105458 | PLANNED MAINTENANCE | LOGGED | PLANNED | LOGGED | GSAT | CHG4559542
OKH | PHCC017 | Software Upgrades To Improve System Performance And Reliability. | EAST DURHAM | UNITED STATES | NAM | 12/FEB/2026 05:00:00 AM |  | 12/FEB/2026 12:00:00 AM | ET [GMT-05:00 DST= GMT-04:00] | 0 | 06:00 | SHORT SERVICE DISRUPTION - LESS THAN 1 MINUTE | REF/2026.04770 | TYPE2TELECOM LLC | C-11882 | 1296494 //00666122 | PLANNED MAINTENANCE | LOGGED | EMERGENCY | LOGGED | GSAT | CHG4559543
PAN | PPTY375 | Description Perform The Hip�Dromo 2 Segment Change, Eliminating Multiple Damaged Junction Boxes To Improve Network Performance. | PANAMA CITY | PANAMA | LAM | 13/FEB/2026 02:00:00 AM |  | 12/FEB/2026 09:00:00 PM | GMT-05:00 | 90 | 08:00 | EXTENDED SERVICE DISRUPTION - MORE THAN 30 MINUTES | REF/2026.04988 | UFINET LATAM SLU | PAPAORA10092147C | 25744 | PLANNED MAINTENANCE | LOGGED | PLANNED | LOGGED | GSI | CHG4560731
WNJ | PJVI028 | Crown Castle Fiber Will Be Conducting A Required Maintenance At The Above-Listed Location For Routine Splicing. Your Circuit(S)May Experience Fluctuating Impact, If Down For More Than 10 Minutes Please Call Out Change Management Call Center.We Apologize For Any Resulting Inconvenience And Assure You Of Our Efforts To Minimize Any Service Disruption. | WARREN | UNITED STATES | NAM | 13/FEB/2026 05:00:00 AM |  | 13/FEB/2026 12:00:00 AM | EST [GMT-5:00] | 360 | 06:00 | EXTENDED SERVICE DISRUPTION - MORE THAN 30 MINUTES | REF/2026.04601 | CROWN CASTLE FIBER LLC | 392707-WAVE-CCF | CM20260127040 | PLANNED MAINTENANCE | LOGGED | PLANNED | COMPLETE | GSI | CHG4560725
OKH | PHCC017 | Software Upgrades To Improve System Performance And Reliability. | EAST DURHAM | UNITED STATES | NAM | 13/FEB/2026 05:00:00 AM |  | 13/FEB/2026 12:00:00 AM | ET [GMT-05:00 DST= GMT-04:00] | 0 | 06:00 | SHORT SERVICE DISRUPTION - LESS THAN 1 MINUTE | REF/2026.04771 | TYPE2TELECOM LLC | C-11882 | 1296494 //00666122 | PLANNED MAINTENANCE | LOGGED | EMERGENCY | LOGGED | GSI | CHG4560728
PLA | PLIM1002 | These Works Aim To Keep Our Networks In Optimal Condition. | SAN ISIDRO | PERU | LAM | 13/FEB/2026 05:00:00 AM |  | 13/FEB/2026 12:00:00 AM | PET [GMT-05:00] | 90 | 05:00 | EXTENDED SERVICE DISRUPTION - MORE THAN 30 MINUTES | REF/2026.05056 | ENTEL PERU | 180973 | MOP 1105453 - 1105458 | PLANNED MAINTENANCE | LOGGED | PLANNED | LOGGED | GSAT | CHG4562080
IGO | PDEL2985 | Planned Outage Notifications , <P>Data Sa Pe For Dnos Upgradation Of Dl-Me01-Qcr04 At Delhi-Vsb</P> | GURUGRAM | INDIA | APAC | 14/FEB/2026 09:00:00 PM |  | 15/FEB/2026 02:30:00 AM | IST [GMT+05:30] | 90 | 03:50 | EXTENDED SERVICE DISRUPTION - MORE THAN 30 MINUTES | REF/2026.05022 | TATA COMMUNICATIONS LIMITED | 091GURU0300A0027943 | CHGP1141088 | PLANNED MAINTENANCE | LOGGED | PLANNED | COMPLETE | GSAT | CHG4562081
DVP | PRKE082 | Scheduled Maintenance In Our Subcontractor'S Network | VALLENSBÆK STRAND | DENMARK | EUROPE | 16/FEB/2026 11:00:00 PM |  | 17/FEB/2026 12:00:00 AM | CET [GMT+01:00 DST= GMT+02:00 ] | 30 | 05:99 | EXTENDED SERVICE DISRUPTION - FROM 5 MINUTES UP TO 30 MINUTES | REF/2026.04471 | GLOBALCONNECT | DGC-2446 | CS7108855 | PLANNED MAINTENANCE | LOGGED | PLANNED | COMPLETE | GSAT | CHG4562082
WNJ | PJVI028 | Crown Castle Fiber Will Be Conducting A Required Maintenance At The Above-Listed Location For A Mandatory Customer Troubleshooting. Your Circuit(S) Will Be Impacted During This Maintenance Window As Indicated Below. We Apologize For Any Resulting Inconvenience And Assure You Of Our Efforts To Minimize Any Service Disruption. | WARREN | UNITED STATES | NAM | 17/FEB/2026 05:00:00 AM |  | 17/FEB/2026 12:00:00 AM | EST [GMT-5:00] | 360 | 06:00 | EXTENDED SERVICE DISRUPTION - MORE THAN 30 MINUTES | REF/2026.06423 | CROWN CASTLE FIBER LLC | 392707-WAVE-CCF | CM20260127067 | PLANNED MAINTENANCE | LOGGED | PLANNED | LOGGED | GSI
FRE | PFCH009 | We Will Be Performing Preventive Maintenance On Equipment To Ensure Proper Operation. | FRESNO | UNITED STATES | NAM | 17/FEB/2026 08:00:00 AM |  | 17/FEB/2026 12:00:00 AM | PT [GMT-08:00 DST= GMT-07:00] | 5 | 06:00 | LONG SERVICE DISRUPTION - MORE THAN 1 MINUTE | REF/2026.02721 | VERIZON BUSINESS | E4096768 | R-2206981,R-2206992 | PLANNED MAINTENANCE | LOGGED | PLANNED | LOGGED | GSAT | CHG4563721
FRE | PFCH009 | We Will Be Performing Preventive Maintenance On Equipment To Ensure Proper Operation. | FRESNO | UNITED STATES | NAM | 17/FEB/2026 08:00:00 AM |  | 17/FEB/2026 12:00:00 AM | PT [GMT-08:00 DST= GMT-07:00] | 5 | 06:00 | LONG SERVICE DISRUPTION - MORE THAN 1 MINUTE | REF/2026.02725 | VERIZON BUSINESS | C4035060 | R-2206981,R-2206992 | PLANNED MAINTENANCE | LOGGED | PLANNED | LOGGED | GSAT | CHG4563723
WNJ | PJVI028 | CROWN CASTLE FIBER WILL BE CONDUCTING AN EMERGENCY MAINTENANCE AT THE ABOVE-LISTED LOCATION FOR A MANDATORY FIBER REPAIR. YOUR CIRCUIT(S) WILL BE IMPACTED DURING THIS EMERGENCY MAINTENANCE WINDOW AS INDICATED BELOW. WE APOLOGIZE FOR ANY RESULTING INCONVENIENCE AND ASSURE YOU OF OUR EFFORTS TO MINIMIZE ANY SERVICE DISRUPTION. | WARREN | UNITED STATES | NAM | 18/FEB/2026 05:00:00 AM |  | 18/FEB/2026 12:00:00 AM | EST [GMT-5:00] | 360 | 06:00 | EXTENDED SERVICE DISRUPTION - MORE THAN 30 MINUTES | REF/2026.09230 | CROWN CASTLE FIBER LLC | 392707-WAVE-CCF | CM20260213020 | Emergency Maintenance | LOGGED | PLANNED | COMPLETE
BRA | PRIO1301 | 25747 - Reparo Definitivo De Cabo Com Corte Parcial | RIO DE JANEIRO | BRAZIL | LAM | 19/FEB/2026 11:00:00 AM |  | 19/FEB/2026 08:00:00 AM | BR [GMT-03:00] | 200 | 04:00 | EXTENDED SERVICE DISRUPTION - MORE THAN 30 MINUTES | REF/2026.05372 | UFINET LATAM SLU | BRBRORA10098022I | NA | PLANNED MAINTENANCE | LOGGED | PLANNED | CANCELLED | GSAT | CHG4563724
WNJ | PJVI028 | Crown Castle Fiber Will Be Conducting A Required Maintenance At The Above-Listed Location For Routine Splicing. Although No Impact To Your Circuit(S) Listed Below Is Expected, This Maintenance Is Deemed Potentially Service Affecting. We Apologize For Any Resulting Inconvenience And Assure You Of Our Efforts To Minimize Any Service Disruption. | WARREN | UNITED STATES | NAM | 19/FEB/2026 05:00:00 AM |  | 19/FEB/2026 12:00:00 AM | EST [GMT-5:00] | 360 | 06:00 | EXTENDED SERVICE DISRUPTION - MORE THAN 30 MINUTES | REF/2026.07081 | CROWN CASTLE FIBER LLC | 392707-WAVE-CCF | CM20260128033 | PLANNED MAINTENANCE | LOGGED | PLANNED | COMPLETE | GSI | CHG4564031
CUD | PSFZ30020 | Breakfix Maintenance : We Will Be Performing Corrective Maintenance On Equipment To Provide Improved Network Reliability. | LINCOLN | UNITED STATES | NAM | 19/FEB/2026 05:00:00 AM |  | 18/FEB/2026 11:00:00 PM | CT [GMT-06:00 DST= GMT-05:00] | 60 | 06:00 | EXTENDED SERVICE DISRUPTION - MORE THAN 30 MINUTES | REF/2026.07822 | VERIZON BUSINESS | C1266581 | R-2312731 | PLANNED MAINTENANCE | LOGGED | PLANNED | LOGGED | GSAT | CHG4563725
CUD | PSFZ30020 | Breakfix Maintenance : We Will Be Performing Corrective Maintenance On Equipment To Provide Improved Network Reliability. | LINCOLN | UNITED STATES | NAM | 19/FEB/2026 05:00:00 AM |  | 18/FEB/2026 11:00:00 PM | CT [GMT-06:00 DST= GMT-05:00] | 60 | 06:00 | EXTENDED SERVICE DISRUPTION - MORE THAN 30 MINUTES | REF/2026.07825 | VERIZON BUSINESS | E4154718 | R-2312731 | PLANNED MAINTENANCE | LOGGED | PLANNED | LOGGED | GSAT | CHG4563735
CUD | PSFZ30020 | EMERGENCY BREAKFIX MAINTENANCE : WE WILL BE PERFORMING CORRECTIVE MAINTENANCE ON EQUIPMENT TO PROVIDE IMPROVED NETWORK RELIABILITY. | LINCOLN | UNITED STATES | NAM | 21/FEB/2026 05:00:00 AM |  | 20/FEB/2026 11:00:00 PM | CT [GMT-06:00 DST= GMT-05:00] | 60 | 06:00 | EXTENDED SERVICE DISRUPTION - MORE THAN 30 MINUTES | REF/2026.09662 | VERIZON BUSINESS | E4154718 | R-2325322 | EXPEDITE MAINTENANCE | LOGGED | PLANNED | COMPLETE | GSAT | CHG4565685
CUD | PSFZ30020 | EMERGENCY BREAKFIX MAINTENANCE : WE WILL BE PERFORMING CORRECTIVE MAINTENANCE ON EQUIPMENT TO PROVIDE IMPROVED NETWORK RELIABILITY. | LINCOLN | UNITED STATES | NAM | 21/FEB/2026 05:00:00 AM |  | 20/FEB/2026 11:00:00 PM | CT [GMT-06:00 DST= GMT-05:00] | 60 | 06:00 | EXTENDED SERVICE DISRUPTION - MORE THAN 30 MINUTES | REF/2026.09663 | VERIZON BUSINESS | C1266581 | R-2325322 | EXPEDITE MAINTENANCE | LOGGED | PLANNED | COMPLETE | GSAT | CHG4565685
CAP | PCPT665 | Network : OGN Region : IMEAR/South Africa Changes Category : xconnect rehome Changes Type : xconnect rehome Service Impact : no Change Window : WE Priority : 1 Duration : 2 hours Devices : BCPT5052/BCPT819 /BCPT9810 impacted services : BCPT5052/BCPT819 /BCPT9810 FE details:Justin Williams //justin.williams@altron.com Change Description : Hello team, As per trigger from NSP, existing teraco xconnect rehome inside the same cabinet (C_CH4_L03) into different device (from BCPT819 to BCPT9810) current topo: BCPT5052 -xe-1/1/0:0--------------<CPTCPT041, SO141881, 10G> ------------- Te1/2/0 - BCPT819 Target topo: BCPT5052 xe-1/1/0:0--------------<CPTCPT041, SO141881, 10G> ------------- Xe2/1/0-BCPT9810 <Build & Prov Owner> : KELLOUAI Yassir Requested date: FEB-21-2026, 18.00 to 20.00 GMT Thank you for your support. | CAPE TOWN | SOUTH AFRICA | EMEA | 21/FEB/2026 06:00:00 PM | 2026-02-21 20:00 |  |  | 120 | 02:00 | TRANSPARENT | T602163090 | - | - | - | PLANNED MAINTENANCE | - | PLANNING | Realised | GSI | CHG4565155
WEY | PLHR2486 | Scheduled Maintenance In Our Subcontractor'S Network | WEYBRIDGE | UNITED KINGDOM | EUROPE | 24/FEB/2026 12:05:00 AM |  | 24/FEB/2026 12:05:00 AM | [GMT DST= GMT+01:00] | 210 | 05:91 | EXTENDED SERVICE DISRUPTION - MORE THAN 30 MINUTES | REF/2026.07707 | PLATFORMX COMMUNICATIONS | TTB0933508 | CRQ000000175213 | PLANNED MAINTENANCE | LOGGED | PLANNED | LOGGED | GSI | CR couldn't be raised
WNJ | PJVI028 | CROWN CASTLE FIBER WILL BE CONDUCTING A REQUIRED MAINTENANCE AT THE ABOVE-LISTED LOCATION FOR ROUTINE SPLICING. ALTHOUGH NO IMPACT TO YOUR CIRCUIT(S) LISTED BELOW IS EXPECTED, THIS MAINTENANCE IS DEEMED POTENTIALLY SERVICE AFFECTING. WE APOLOGIZE FOR ANY RESULTING INCONVENIENCE AND ASSURE YOU OF OUR EFFORTS TO MINIMIZE ANY SERVICE DISRUPTION. | WARREN | UNITED STATES | NAM | 24/FEB/2026 05:00:00 AM |  | 24/FEB/2026 12:00:00 AM | EST [GMT-5:00] | 360 | 06:00 | EXTENDED SERVICE DISRUPTION - MORE THAN 30 MINUTES | REF/2026.09988 | CROWN CASTLE FIBER LLC | 392707-WAVE-CCF | CM20260219040 | PLANNED MAINTENANCE | LOGGED | PLANNED | COMPLETE | GSI | CR couldn't be raised
LCN | PLNK021 | OUR PROVIDER NEEDS TO PERFORM MAINTENANCE ON OUR MANAGED SERVICES PLATFORM RELATED TO SERVICE MIGRATION. | LINCOLN | UNITED STATES | NAM | 24/FEB/2026 07:00:00 AM |  | 23/FEB/2026 11:00:00 PM | PT [GMT-08:00 DST= GMT-07:00] | 30 | 06:00 | EXTENDED SERVICE DISRUPTION - FROM 5 MINUTES UP TO 30 MINUTES | REF/2026.08537 | TYPE2TELECOM LLC | 11874 ¦ C-11874 | 1297086 / 1297089 | PLANNED MAINTENANCE | LOGGED | PLANNED | LOGGED | GSI- not in Orion | CHG4566094
WNJ | PJVI028 | CROWN CASTLE FIBER WILL BE CONDUCTING A REQUIRED MAINTENANCE AT THE ABOVE-LISTED LOCATION FOR ROUTINE SPLICING. ALTHOUGH NO IMPACT TO YOUR CIRCUIT(S) LISTED BELOW IS EXPECTED, THIS MAINTENANCE IS DEEMED POTENTIALLY SERVICE AFFECTING. WE APOLOGIZE FOR ANY RESULTING INCONVENIENCE AND ASSURE YOU OF OUR EFFORTS TO MINIMIZE ANY SERVICE DISRUPTION. | WARREN | UNITED STATES | NAM | 04/MAR/2026 05:00:00 AM |  | 04/MAR/2026 12:00:00 AM | EST [GMT-5:00] | 360 | 06:00 | EXTENDED SERVICE DISRUPTION - MORE THAN 30 MINUTES | REF/2026.10279 | CROWN CASTLE FIBER LLC | 392707-WAVE-CCF | CM20260204052 |  | CANCEL/CANCELLED | CANCELLED | CANCELLED
WNJ | PJVI028 | CROWN CASTLE FIBER WILL BE CONDUCTING A REQUIRED MAINTENANCE AT THE ABOVE-LISTED LOCATION FOR ROUTINE SPLICING. ALTHOUGH NO IMPACT TO YOUR CIRCUIT(S) LISTED BELOW IS EXPECTED, THIS MAINTENANCE IS DEEMED POTENTIALLY SERVICE AFFECTING. WE APOLOGIZE FOR ANY RESULTING INCONVENIENCE AND ASSURE YOU OF OUR EFFORTS TO MINIMIZE ANY SERVICE DISRUPTION. | WARREN | UNITED STATES | NAM | 25/FEB/2026 05:00:00 AM |  | 25/FEB/2026 12:00:00 AM | EST [GMT-5:00] | 360 | 06:00 | EXTENDED SERVICE DISRUPTION - MORE THAN 30 MINUTES | REF/2026.10268 | CROWN CASTLE FIBER LLC | 392707-WAVE-CCF | CM20260219060 | EMERGENCY MAINTENANCE | LOGGED | PLANNED | COMPLETE | GSI | CHG4566946
BRA | PRIO1301 | 25747 - Reparo Definitivo De Cabo Com Corte Parcial | RIO DE JANEIRO | BRAZIL | LAM | 25/FEB/2026 11:00:00 AM |  | 25/FEB/2026 08:00:00 AM | BR [GMT-03:00] | 200 | 04:00 | EXTENDED SERVICE DISRUPTION - MORE THAN 30 MINUTES | REF/2026.05374 | UFINET LATAM SLU | BRBRORA10098022I | NA | PLANNED MAINTENANCE | LOGGED | PLANNED | CANCELLED | GSAT | CHG4566324
ALC | PMAD6083 | SCHEDULED MAINTENANCE IN OUR SUBCONTRACTOR'S NETWORK | MADRID | SPAIN | EUROPE | 25/FEB/2026 11:00:00 PM |  | 26/FEB/2026 12:00:00 AM | CET [GMT+01:00 DST= GMT+02:00 ] | 420 | 07:00 | EXTENDED SERVICE DISRUPTION - MORE THAN 30 MINUTES | REF/2026.09378 | ORANGE SPAIN | LALA200-1000731 | Z2026021686773 | PLANNED MAINTENANCE | LOGGED | PLANNED | Already notified | GSI- not in Orion | CHG4566096
IBV | PBLR1592 | RING SPLITTING ¦¦ CHN_PME_904_8AC_B_CNCS540R1 84 | BENGALURU | INDIA | APAC | 25/FEB/2026 06:30:00 PM |  | 26/FEB/2026 12:00:00 AM | IST [GMT+05:30] | 360 | 06:00 | EXTENDED SERVICE DISRUPTION - MORE THAN 30 MINUTES | REF/2026.09402 | BHARTI AIRTEL LIMITED | 14704059 | 1100381049 | PLANNED MAINTENANCE | LOGGED | PLANNED | CANCELLED | GSI- not in Orion | CHG4566100
WNJ | PJVI028 | *** Rescheduled - Please Note New Date ***Please Note This Maintenance Has Been Rescheduled To The Dates/Times Listed Above. Crown Castle Fiber Apologizes For Any Resulting Inconvenience And Assure You Of Our Efforts To Minimize Any Service Disruption. | WARREN | UNITED STATES | NAM | 26/FEB/2026 05:00:00 AM |  | 26/FEB/2026 12:00:00 AM | EST [GMT-5:00] | 60 | 06:00 | EXTENDED SERVICE DISRUPTION - MORE THAN 30 MINUTES | REF/2025.66770 | CROWN CASTLE FIBER LLC | 392707-WAVE-CCF | CM20251210012 | PLANNED MAINTENANCE | RESCHEDULED | RESCHEDULED | RESCHEDULED | GSI | CHG4566101
WNJ | PJVI028 | CROWN CASTLE FIBER WILL BE CONDUCTING A REQUIRED MAINTENANCE AT THE ABOVE-LISTED LOCATION FOR ROUTINE SPLICING. ALTHOUGH NO IMPACT TO YOUR CIRCUIT(S) LISTED BELOW IS EXPECTED, THIS MAINTENANCE IS DEEMED POTENTIALLY SERVICE AFFECTING. WE APOLOGIZE FOR ANY RESULTING INCONVENIENCE AND ASSURE YOU OF OUR EFFORTS TO MINIMIZE ANY SERVICE DISRUPTION. | WARREN | UNITED STATES | NAM | 03/MAR/2026 05:00:00 AM |  | 03/MAR/2026 12:00:00 AM | EST [GMT-5:00] | 360 | 06:00 | EXTENDED SERVICE DISRUPTION - MORE THAN 30 MINUTES | REF/2026.10000 | CROWN CASTLE FIBER LLC | 392707-WAVE-CCF | CM20260205020 | PLANNED MAINTENANCE | LOGGED | PLANNED | CANCELLED | GSI
Secaucus | SIP: CSP | Software Upgrade -- Change | SECAUCUS | UNITED STATES | AMER | 01/MAR/2026 07:00:00 AM |  |  |  | 1 | 04:00 | SHORT SERVICE DISRUPTION - LESS THAN 1 MINUTE | XAG202602-00109 | - | - | - | PLANNED MAINTENANCE | - | PLANNING | SUCCESSFUL | NA
WNJ | PJVI028 | CROWN CASTLE FIBER WILL BE CONDUCTING A REQUIRED MAINTENANCE AT THE ABOVE-LISTED LOCATION FOR ROUTINE SPLICING. ALTHOUGH NO IMPACT TO YOUR CIRCUIT(S) LISTED BELOW IS EXPECTED, THIS MAINTENANCE IS DEEMED POTENTIALLY SERVICE AFFECTING. WE APOLOGIZE FOR ANY RESULTING INCONVENIENCE AND ASSURE YOU OF OUR EFFORTS TO MINIMIZE ANY SERVICE DISRUPTION. | WARREN | UNITED STATES | NAM | 03/MAR/2026 05:00:00 AM |  | 03/MAR/2026 12:00:00 AM | EST [GMT-5:00] | 360 | 06:00 | EXTENDED SERVICE DISRUPTION - MORE THAN 30 MINUTES | REF/2026.10000 | CROWN CASTLE FIBER LLC | 392707-WAVE-CCF | CM20260205020 | CANCEL/CANCELLED |  | CANCELLED | CANCELLED
WNJ | PJVI028 | CROWN CASTLE FIBER WILL BE CONDUCTING A REQUIRED MAINTENANCE AT THE ABOVE-LISTED LOCATION FOR ROUTINE SPLICING. ALTHOUGH NO IMPACT TO YOUR CIRCUIT(S) LISTED BELOW IS EXPECTED, THIS MAINTENANCE IS DEEMED POTENTIALLY SERVICE AFFECTING. WE APOLOGIZE FOR ANY RESULTING INCONVENIENCE AND ASSURE YOU OF OUR EFFORTS TO MINIMIZE ANY SERVICE DISRUPTION. | WARREN | UNITED STATES | NAM | 04/MAR/2026 05:00:00 AM |  | 04/MAR/2026 12:00:00 AM | EST [GMT-5:00] | 360 | 06:00 | EXTENDED SERVICE DISRUPTION - MORE THAN 30 MINUTES | REF/2026.10279 | CROWN CASTLE FIBER LLC | 392707-WAVE-CCF | CM20260204052 | CANCEL/CANCELLED |  | CANCELLED | CANCELLED
NYN | PZRN066 | DUE TO PLANNED MAINTENANCE / WORKS YOUR BELOW MENTIONED SERVICE HAS TO BE INTERRUPTED.WE ARE ANXIOUS TO KEEP THE NECESSARY INTERRUPTION TIME AS SHORT AS POSSIBLE. | NYON | SWITZERLAND | EUROPE | 04/MAR/2026 12:00:00 AM |  | 04/MAR/2026 01:00:00 AM | CET [GMT+01:00 DST= GMT+02:00] | 5 | 05:00 | LONG SERVICE DISRUPTION - MORE THAN 1 MINUTE | REF/2026.04084 | SWISSCOM WHS | NYON IP 95 | 2679909 | PLANNED MAINTENANCE | LOGGED | PLANNED | LOGGED | GSI- not in Orion | CHG4568375
Sweden | MPLSPartner: ORU | Change Impact No CAB | STOCKHOLM | SWEDEN | EUR | 03/MAR/2026 01:00:00 PM |  |  |  | 1 | 00:01 | SHORT SERVICE DISRUPTION - LESS THAN 1 MINUTE | T602243638 |  |  |  | PLANNED MAINTENANCE |  | PLANNING | SWAN Completion date: Tue 03/10/2026 01:00PM
LEV | PSLD027 | Change ssImpact No CAB | LEVICE | SLOVAKIA | EUR | 04/MAR/2026 10:00:00 PM |  |  |  | 119 | 01:59 | TRANSPARENT | T602247936 |  |  |  | PLANNED MAINTENANCE |  | PLANNING | SWAN Status :Assessment carried ouT, Completion date :Wed 03/04/2026 11:59PM
BRA | PRIO1301 | UFINET WILL CARRY OUT EMERGENCY MAINTENANCE SERVICES AS NEEDED. DESPITE THE URGENT NATURE OF THESE ACTIVITIES, WE WILL MAKE EVERY EFFORT TO PROVIDE PRIOR NOTIFICATION WHENEVER POSSIBLE. BELOW, YOU WILL FIND FURTHER DETAILS REGARDING THE MAINTENANCE WINDOW | RIO DE JANEIRO | BRAZIL | LAM | 05/MAR/2026 09:00:00 AM |  | 05/MAR/2026 06:00:00 AM | BR [GMT-03:00] | 240 | 04:00 | EXTENDED SERVICE DISRUPTION - MORE THAN 30 MINUTES | REF/2026.09668 | UFINET LATAM SLU | BRBRORA10098022I | 26010 | PLANNED MAINTENANCE | LOGGED | PLANNED | LOGGED | GSAT | CHG4568353
OKH | PHCC017 | SOFTWARE UPGRADES IN KINGSTON, NY | EAST DURHAM | UNITED STATES | NAM | 05/MAR/2026 10:00:00 AM |  | 05/MAR/2026 05:00:00 AM | ET [GMT-05:00 DST= GMT-04:00] | 0 | 06:00 | SHORT SERVICE DISRUPTION - LESS THAN 1 MINUTE | REF/2026.09297 | TYPE2TELECOM LLC | C-11882 | 1297243//00676739 | PLANNED MAINTENANCE | LOGGED | PLANNED | LOGGED | GSI- not in Orion | CHG4568377
CUD | PSFZ30020 | TO MAINTAIN NETWORK PERFORMANCE AND STABILITY WE WILL BE MIGRATING CIRCUITS TO AN OPTIMUM FIBER PATH. | LINCOLN | UNITED STATES | NAM | 06/MAR/2026 05:00:00 AM |  | 05/MAR/2026 11:00:00 PM | CT [GMT-06:00 DST= GMT-05:00] | 60 | 06:00 | EXTENDED SERVICE DISRUPTION - MORE THAN 30 MINUTES | REF/2026.09679 | VERIZON BUSINESS | C1266581 | R-2325438 | PLANNED MAINTENANCE | LOGGED | PLANNED | CANCELLED | GSAT | CHG4568354
CUD | PSFZ30020 | TO MAINTAIN NETWORK PERFORMANCE AND STABILITY WE WILL BE MIGRATING CIRCUITS TO AN OPTIMUM FIBER PATH. | LINCOLN | UNITED STATES | NAM | 06/MAR/2026 05:00:00 AM |  | 05/MAR/2026 11:00:00 PM | CT [GMT-06:00 DST= GMT-05:00] | 60 | 06:00 | EXTENDED SERVICE DISRUPTION - MORE THAN 30 MINUTES | REF/2026.09680 | VERIZON BUSINESS | E4154718 | R-2325438 | PLANNED MAINTENANCE | LOGGED | PLANNED | CANCELLED | GSAT | CHG4568354
WNJ | PJVI028 | *** RESCHEDULED - PLEASE NOTE NEW DATE ***PLEASE NOTE THIS MAINTENANCE HAS BEEN RESCHEDULED TO THE DATES/TIMES LISTED ABOVE. CROWN CASTLE FIBER APOLOGIZES FOR ANY RESULTING INCONVENIENCE AND ASSURE YOU OF OUR EFFORTS TO MINIMIZE ANY SERVICE DISRUPTION. | WARREN | UNITED STATES | NAM | 06/MAR/2026 05:00:00 AM |  | 06/MAR/2026 12:00:00 AM | EST [GMT-5:00] | 360 | 06:00 | EXTENDED SERVICE DISRUPTION - MORE THAN 30 MINUTES | REF/2026.07087 | CROWN CASTLE FIBER LLC | 392707-WAVE-CCF | CM20260129043 | PLANNED MAINTENANCE | UPDATE | PLANNED | CANCELLED | GSI | CHG4568380
PAN | PPTY375 | ACTIVITY HAS BEEN RESCHEDULED PERFORM SEGMENT CHANGES IN THE CAMPO LINDBERGH SECTOR, ELIMINATING MULTIPLE DAMAGED JUNCTION BOXES TO IMPROVE NETWORK PERFORMANCE. | PANAMA CITY | PANAMA | LAM | 06/MAR/2026 02:00:00 AM |  | 05/MAR/2026 09:00:00 PM | GMT-05:00 | 120 | 09:00 | EXTENDED SERVICE DISRUPTION - MORE THAN 30 MINUTES | REF/2026.00873 | UFINET LATAM SLU | PAPAORA10092147C | 25465 | PLANNED MAINTENANCE | RESCHEDULED | PLANNED | RESCHEDULED | GSI- Underlay | CHG4568381
OKH | PHCC017 | SOFTWARE UPGRADES IN KINGSTON, NY | EAST DURHAM | UNITED STATES | NAM | 06/MAR/2026 10:00:00 AM |  | 06/MAR/2026 05:00:00 AM | ET [GMT-05:00 DST= GMT-04:00] | 0 | 06:00 | SHORT SERVICE DISRUPTION - LESS THAN 1 MINUTE | REF/2026.09296 | TYPE2TELECOM LLC | C-11882 | 1297243//00676739 | PLANNED MAINTENANCE | RESCHEDULED | PLANNED | LOGGED | GSI- not in Orion | CHG4568382
MNH | PMUC2640 | SOFTWARE UPGRADE OF A NETWORK DEVICE | MÜNCHEN | GERMANY | EUROPE | 07/MAR/2026 11:00:00 PM |  | 08/MAR/2026 12:00:00 AM | CET [GMT+01:00 DST= GMT+02:00 ] | 180 | 06:00 | EXTENDED SERVICE DISRUPTION - MORE THAN 30 MINUTES | REFB/2026.01153 | PLUSNET GMBH | 11568070 | 356581 | PLANNED MAINTENANCE | LOGGED | PLANNED | LOGGED | GSAT | CHG4569310
MNH | PMUC2640 | SOFTWARE UPGRADE OF A NETWORK DEVICE | MÜNCHEN | GERMANY | EUROPE | 07/MAR/2026 11:00:00 PM |  | 08/MAR/2026 12:00:00 AM | CET [GMT+01:00 DST= GMT+02:00 ] | 180 | 06:00 | EXTENDED SERVICE DISRUPTION - MORE THAN 30 MINUTES | REFB/2026.01154 | PLUSNET GMBH | 11573188 | 356581 | PLANNED MAINTENANCE | LOGGED | PLANNED | LOGGED | GSAT | CHG4569310
ALC | PMAD6083 | SCHEDULED MAINTENANCE IN OUR SUBCONTRACTOR'S NETWORK | MADRID | SPAIN | EUROPE | 09/MAR/2026 11:00:00 PM |  | 10/MAR/2026 12:00:00 AM | CET [GMT+01:00 DST= GMT+02:00 ] | 420 | 07:00 | EXTENDED SERVICE DISRUPTION - MORE THAN 30 MINUTES | REF/2026.11759 | ORANGE SPAIN | LALA200-1000731 | Z2026022887965 | PLANNED MAINTENANCE | LOGGED | PLANNED | LOGGED | GSI | Email sent
PUL | PHLP033 | REENGINEERING FO PATH AT XCC KELAPA GADING | KECAMATAN CAKUNG | INDONESIA | APAC | 10/MAR/2026 01:00:00 PM |  | 10/MAR/2026 08:00:00 PM | WIST [GMT+07:00] | 300 | 10:00 | EXTENDED SERVICE DISRUPTION - MORE THAN 30 MINUTES | REF/2026.11516 | PT LINTASARTA | 2022330170 | NA | PLANNED MAINTENANCE | LOGGED | PLANNED | LOGGED | GSI | Email sent
PAN | PPTY376 | DESCRIPTION PREVENTIVELY UPGRADE THE OPERATING SYSTEM VERSION OF THE RCE PANAMA NCS FROM VERSION 7.4.2 TO VERSION 7.11.21 FOR BUG FIXES. NO. 11. | PANAMA CITY | PANAMA | LAM | 10/MAR/2026 05:00:00 AM |  | 10/MAR/2026 12:00:00 AM | GMT-05:00 | 60 | 03:00 | EXTENDED SERVICE DISRUPTION - MORE THAN 30 MINUTES | REF/2026.10729 | UFINET LATAM SLU | PAUSORA10303858C | 26075 | PLANNED MAINTENANCE | LOGGED | PLANNED | LOGGED | GSI | Email sent
PGG | PPSE022 | THE PURPOSE OF THIS ACTIVITY IS TO EXECUTE A SOFTWARE UPGRADE | GUAYAMA | PUERTO RICO | LAM | 10/MAR/2026 06:00:00 AM |  | 10/MAR/2026 02:00:00 AM | AT [GMT-04:00] | 60 | 02:00 | EXTENDED SERVICE DISRUPTION - MORE THAN 30 MINUTES | REFB/2026.01284 | COLUMBUS NETWORKS | 19982.CN | 893913 | PLANNED MAINTENANCE | LOGGED | PLANNED | COMPLETE | GSI | Email sent
ORANGE DC FRAX01 | PQGV118 | Other Ethernet Changes -- Change | FRANKFURT AM MAIN | GERMANY | EUROPE | 10/MAR/2026 12:00:00 AM |  |  |  | 120.0 | 02:00 | SIGNIFICANT IMPACT | XIP202603-00588 |  |  |  | PLANNED MAINTENANCE
ORANGE DC FRAX01 | PQGV118 | Other Ethernet Changes -- Change | FRANKFURT AM MAIN | GERMANY | EUROPE | 10/MAR/2026 12:00:00 AM |  |  |  | 120.0 | 02:00 | SIGNIFICANT IMPACT | XIP202603-00595 |  |  |  | PLANNED MAINTENANCE
SBM | PHLA020 |  METROFIBRE VENDOR TECHNICIANS WILL REHABILITATE FIBRES AT HAND HOLE GH000099 ROUTE, G01P09, G30P40, AND G20P35 TO AID IN SERVICE STABILITY AND EFFICIENCY. | SANDTON | SOUTH AFRICA | EMEA | 11/MAR/2026 10:00:00 PM |  | 12/MAR/2026 12:00:00 AM | SAST [GMT+02:00] | 600 | 10:00 | EXTENDED SERVICE DISRUPTION - MORE THAN 30 MINUTES | REF/2026.10392 | METRO FIBRE NETWORX (PTY) LTD | MFN006907 | NA | PLANNED MAINTENANCE | LOGGED | PLANNED | LOGGED | GSAT | CHG4569313
BRA | PRIO1301 | UFINET WILL CARRY OUT EMERGENCY MAINTENANCE SERVICES AS NEEDED. DESPITE THE URGENT NATURE OF THESE ACTIVITIES, WE WILL MAKE EVERY EFFORT TO PROVIDE PRIOR NOTIFICATION WHENEVER POSSIBLE. BELOW, YOU WILL FIND FURTHER DETAILS REGARDING THE MAINTENANCE WINDOW | RIO DE JANEIRO | BRAZIL | LAM | 11/MAR/2026 09:00:00 AM |  | 11/MAR/2026 06:00:00 AM | BR [GMT-03:00] | 240 | 04:00 | EXTENDED SERVICE DISRUPTION - MORE THAN 30 MINUTES | REF/2026.10455 | UFINET LATAM SLU | BRBRORA10098022I | 26010 | PLANNED MAINTENANCE | LOGGED | PLANNED | LOGGED | GSAT | CHG4569314
SJB | PSYQ032 | EQUIPMENT UPGRADE | CARTAGO | COSTA RICA | LAM | 11/MAR/2026 05:59:00 AM |  | 10/MAR/2026 11:59:00 PM | HN [GMT-06:00] | 300 | 05:10 | EXTENDED SERVICE DISRUPTION - MORE THAN 30 MINUTES | REF/2026.10968 | UFINET LATAM SLU | CRCRORA10087820I | 26081 | PLANNED MAINTENANCE | LOGGED | PLANNED | LOGGED | GSAT | CHG4569315
BOW | PBOG1559 | DESCRIPTION MIGRACION CONTROLADA DE FUENTES PRINCIPAL Y BACK UP DEL EQUIPO HUAWEI F2A EN NODO WBP HACIA DOS NUEVOS RECTIFICADORES. | COTA | COLOMBIA | LAM | 13/MAR/2026 04:00:00 AM |  | 12/MAR/2026 11:00:00 PM | GMT-05:00 | 10 | 05:00 | EXTENDED SERVICE DISRUPTION - FROM 5 MINUTES UP TO 30 MINUTES | REF/2026.10059 | UFINET LATAM SLU | COCOORA10090168I | 26023 | PLANNED MAINTENANCE | LOGGED | PLANNED | LOGGED | GSAT | CHG4571984
CUD | PSFZ30020 | TO MAINTAIN NETWORK PERFORMANCE AND STABILITY WE WILL BE MIGRATING CIRCUITS TO AN OPTIMUM FIBER PATH. | LINCOLN | UNITED STATES | NAM | 13/MAR/2026 04:00:00 AM |  | 12/MAR/2026 11:00:00 PM | CT [GMT-06:00 DST= GMT-05:00] | 60 | 06:00 | EXTENDED SERVICE DISRUPTION - MORE THAN 30 MINUTES | REF/2026.11093 | VERIZON BUSINESS | C1266581 | R-2338854 | PLANNED MAINTENANCE | LOGGED | PLANNED | LOGGED | GSAT | CHG4571989
CUD | PSFZ30020 | TO MAINTAIN NETWORK PERFORMANCE AND STABILITY WE WILL BE MIGRATING CIRCUITS TO AN OPTIMUM FIBER PATH. | LINCOLN | UNITED STATES | NAM | 13/MAR/2026 04:00:00 AM |  | 12/MAR/2026 11:00:00 PM | CT [GMT-06:00 DST= GMT-05:00] | 60 | 06:00 | EXTENDED SERVICE DISRUPTION - MORE THAN 30 MINUTES | REF/2026.11097 | VERIZON BUSINESS | E4154718 | R-2338854 | PLANNED MAINTENANCE | LOGGED | PLANNED | LOGGED | GSAT | CHG4571996
CAP | PCPT666 | Please proceed with iUSTS inband migration from BQRA677 BQRA816 to new Target current topo BQRA677 Ge00 old xconnect copper RJ45 Ge0117 BQRA816 New topo BQRA677 Ge00 SO167632 copper RJ45 Ge024 BQRA9810 | CAPE TOWN | SOUTH AFRICA | EMEA | 13/MAR/2026 02:00:00 PM |  |  |  | 90 | 01:30 | TRANSPARENT | T603157508 |  |  |  | EXPEDITE MAINTENANCE |  |  | Assessment carried out | GSI | email sent
Frankfurt | SIP: CSP | Software Upgrade -- Change | FRANKFURT | GERMANY | EUR | 14/MAR/2026 05:00:00 PM |  |  |  | 1 | 04:00 | SHORT SERVICE DISRUPTION - LESS THAN 1 MINUTE | XAG202602-00154 |  |  |  | PLANNED MAINTENANCE |  | PLANNING |  | NA | NA
CAP | PCPT665 | Title Preparation and Swan creation for xconnect rehome from BCPT819 to BCPT9810 SWAN ID New swan to raise old T602163090 Priority 1 impacted services BCPT5052BCPT819 BCPT9810 FE detailsJustin Williams justinwilliamsaltroncom Change Description Hello team As per trigger from NSP existing teraco xconnect rehome inside the same cabinet CCH4L03 into different device from BCPT819 to BCPT9810 current topo BCPT5052 xe1100CPTCPT041 SO141881 10G Te120 BCPT819 Target topo BCPT5052 xe1100CPTCPT041 SO141881 10G Xe210BCPT9810 | CAPE TOWN | SOUTH AFRICA | EMEA | 14/MAR/2026 06:00:00 PM |  |  |  | 120 | 02:00 | TRANSPARENT | T603118428 |  |  |  | PLANNED MAINTENANCE |  |  | Assessment carried out | GSI | CHG4572456
CAP | PCPT666 | Please proceed with migration of the circuit current topo BQRA655 Xe121 Te001 BQRA816 New topo BQRA655 Xe000 Xe3003 BQRA9810 FE detailsMAPISA Victor victormapisaorangecom MOODLEY Neville nevillemoodleyorangecom | CAPE TOWN | SOUTH AFRICA | EMEA | 15/MAR/2026 03:30:00 PM |  |  |  | 90 | 01:30 | TRANSPARENT | T603123044 |  |  |  | PLANNED MAINTENANCE |  |  | Assessment carried out | GSI | CHG4572458
OKH | PHCC017 | REASON: OUR PROVIDER WILL BE PERFORMING EQUIPMENT MAINTENANCE. | EAST DURHAM | UNITED STATES | NAM | 16/MAR/2026 04:00:00 AM |  | 16/MAR/2026 12:00:00 AM | ET [GMT-05:00 DST= GMT-04:00] | 0 | 06:00 | SHORT SERVICE DISRUPTION - LESS THAN 1 MINUTE | REF/2026.11616 | TYPE2TELECOM LLC | C-11882 | 1297827 | PLANNED MAINTENANCE | LOGGED | PLANNED | LOGGED | GSAT | CHG4572460
NAV | PUTC561 | SCHEDULED MAINTENANCE IN OUR SUBCONTRACTOR'S NETWORK | AMERSFOORT | NETHERLANDS | EUROPE | 16/MAR/2026 11:00:00 PM |  | 17/MAR/2026 12:00:00 AM | CET [GMT+01:00 DST= GMT+02:00 ] | 360 | 06:00 | EXTENDED SERVICE DISRUPTION - MORE THAN 30 MINUTES | REF/2026.07639 | EUROFIBER NETHERLANDS B.V. | AMF0051-AMF0097/0001 | NL-811199 | PLANNED MAINTENANCE | LOGGED | RELEASE | LOGGED | GSAT | CHG4571997
OKH | PHCC017 | REASON: OUR PROVIDER WILL BE PERFORMING EQUIPMENT MAINTENANCE. | EAST DURHAM | UNITED STATES | NAM | 17/MAR/2026 04:00:00 AM |  | 17/MAR/2026 12:00:00 AM | ET [GMT-05:00 DST= GMT-04:00] | 0 | 06:00 | SHORT SERVICE DISRUPTION - LESS THAN 1 MINUTE | REF/2026.11617 | TYPE2TELECOM LLC | C-11882 | 1297827 | PLANNED MAINTENANCE | LOGGED | PLANNED | LOGGED | GSI | email sent
LCN | PLNK021 | SCHEDULED MAINTENANCE IN OUR SUBCONTRACTOR'S NETWORK | LINCOLN | UNITED STATES | NAM | 18/MAR/2026 12:00:00 PM |  | 18/MAR/2026 07:00:00 AM | CT [GMT-06:00 DST= GMT-05:00] | 90 | 04:00 | EXTENDED SERVICE DISRUPTION - MORE THAN 30 MINUTES | REF/2026.12257 | TYPE2TELECOM LLC | 11874 | 1297926 | PLANNED MAINTENANCE | LOGGED | PLANNED | LOGGED | GSI | CHG4573213
WNJ | PJVI028 | *** RESCHEDULED - PLEASE NOTE NEW DATE ***PLEASE NOTE THIS MAINTENANCE HAS BEEN RESCHEDULED TO THE DATES/TIMES LISTED ABOVE. CROWN CASTLE FIBER APOLOGIZES FOR ANY RESULTING INCONVENIENCE AND ASSURE YOU OF OUR EFFORTS TO MINIMIZE ANY SERVICE DISRUPTION. | WARREN | UNITED STATES | NAM | 19/MAR/2026 04:00:00 AM |  | 19/MAR/2026 12:00:00 AM | EST [GMT-5:00] | 60 | 06:00 | EXTENDED SERVICE DISRUPTION - MORE THAN 30 MINUTES | REF/2026.10965 | CROWN CASTLE FIBER LLC | 392707-WAVE-CCF | CM20251210012 | PLANNED MAINTENANCE | LOGGED | PLANNED | RESCHEDULED to 21-Apr-2026 04:00, will send details as per maintenance schedule | GSI | CHG4573214
CUD | PSFZ30020 | BREAKFIX MAINTENANCE : WE WILL BE REPLACING EQUIPMENT TO CLEAR ALARMS AND PROVIDE IMPROVED NETWORK OPERATION. | LINCOLN | UNITED STATES | AMER | 19/MAR/2026 04:00:00 AM |  | 18/MAR/2026 11:00:00 PM | CT [GMT-06:00 DST= GMT-05:00] | 60 | 06:00 | EXTENDED SERVICE DISRUPTION - MORE THAN 30 MINUTES | REF/2026.13344 | VERIZON BUSINESS | C1266581 | R-2357494 | PLANNED MAINTENANCE | LOGGED | PLANNED | COMPLETE | GSAT | CHG4573915
CUD | PSFZ30020 | BREAKFIX MAINTENANCE : WE WILL BE REPLACING EQUIPMENT TO CLEAR ALARMS AND PROVIDE IMPROVED NETWORK OPERATION. | LINCOLN | UNITED STATES | AMER | 19/MAR/2026 04:00:00 AM |  | 18/MAR/2026 11:00:00 PM | CT [GMT-06:00 DST= GMT-05:00] | 60 | 06:00 | EXTENDED SERVICE DISRUPTION - MORE THAN 30 MINUTES | REF/2026.13345 | VERIZON BUSINESS | E4154718 | R-2357494 | PLANNED MAINTENANCE | LOGGED | PLANNED | COMPLETE | GSAT | CHG4573915
UMN | PJDT020 | EMERGENCY MAINTENANCE : WE WILL BE PERFORMING SOFTWARE MAINTENANCE ON EQUIPMENT TO ENSURE NETWORK RELIABILITY. | MINNEAPOLIS | UNITED STATES | AMER | 19/MAR/2026 05:00:00 AM |  | 19/MAR/2026 12:00:00 AM | CT [GMT-06:00 DST= GMT-05:00] | 30 | 06:00 | EXTENDED SERVICE DISRUPTION - FROM 5 MINUTES UP TO 30 MINUTES | REF/2026.13779 | VERIZON BUSINESS | E4116027 | R-2359580 | EXPEDITE MAINTENANCE | LOGGED | RELEASE | LOGGED | GSAT | CHG4573916
UMN | PJDT020 | EMERGENCY MAINTENANCE : WE WILL BE PERFORMING SOFTWARE MAINTENANCE ON EQUIPMENT TO ENSURE NETWORK RELIABILITY. | MINNEAPOLIS | UNITED STATES | AMER | 19/MAR/2026 05:00:00 AM |  | 19/MAR/2026 12:00:00 AM | CT [GMT-06:00 DST= GMT-05:00] | 30 | 06:00 | EXTENDED SERVICE DISRUPTION - FROM 5 MINUTES UP TO 30 MINUTES | REF/2026.13780 | VERIZON BUSINESS | C1196933 | R-2359580 | EXPEDITE MAINTENANCE | LOGGED | RELEASE | LOGGED | GSAT | CHG4573916
CUD | PSFZ30020 | SCHEDULED MAINTAINENCE | LINCOLN | UNITED STATES | NAM | 20/MAR/2026 04:00:00 AM |  | 19/MAR/2026 11:00:00 PM | CT [GMT-06:00 DST= GMT-05:00] | 60 | 06:00 | EXTENDED SERVICE DISRUPTION - MORE THAN 30 MINUTES | REF/2026.09304 | VERIZON BUSINESS | C1266581 | R-2299545 | PLANNED MAINTENANCE | CANCEL/CANCELLED | PLANNED | CANCEL/CANCELLED | NA
CUD | PSFZ30020 | SCHEDULED MAINTAINENCE | LINCOLN | UNITED STATES | NAM | 20/MAR/2026 04:00:00 AM |  | 19/MAR/2026 11:00:00 PM | CT [GMT-06:00 DST= GMT-05:00] | 60 | 06:00 | EXTENDED SERVICE DISRUPTION - MORE THAN 30 MINUTES | REF/2026.09310 | VERIZON BUSINESS | E4154718 | R-2299545 | PLANNED MAINTENANCE | CANCEL/CANCELLED | PLANNED | CANCEL/CANCELLED | NA
CUD | PSFZ30020 | EMERGENCY BREAKFIX MAINTENANCE : WE WILL BE REPLACING EQUIPMENT TO CLEAR ALARMS AND PROVIDE IMPROVED NETWORK OPERATION. | LINCOLN | UNITED STATES | AMER | 20/MAR/2026 04:00:00 AM |  | 19/MAR/2026 11:00:00 PM | CT [GMT-06:00 DST= GMT-05:00] | 30 | 06:00 | EXTENDED SERVICE DISRUPTION - FROM 5 MINUTES UP TO 30 MINUTES | REF/2026.14431 | VERIZON BUSINESS | E4154718 | R-2368675 | EMERGENCY MAINTENANCE | LOGGED | EMERGENCY MAINTENANCE | COMPLETE | Emergency maintenance alarm suppression can't be requested
CUD | PSFZ30020 | EMERGENCY BREAKFIX MAINTENANCE : WE WILL BE REPLACING EQUIPMENT TO CLEAR ALARMS AND PROVIDE IMPROVED NETWORK OPERATION. | LINCOLN | UNITED STATES | AMER | 20/MAR/2026 04:00:00 AM |  | 19/MAR/2026 11:00:00 PM | CT [GMT-06:00 DST= GMT-05:00] | 30 | 06:00 | EXTENDED SERVICE DISRUPTION - FROM 5 MINUTES UP TO 30 MINUTES | REF/2026.14432 | VERIZON BUSINESS | C1266581 | R-2368675 | EMERGENCY MAINTENANCE | LOGGED | EMERGENCY MAINTENANCE | COMPLETE | Emergency maintenance alarm suppression can't be requested
URS | PRIC197 | LUMEN&#65533;S 3RD PARTY PROVIDER WILL PERFORM MAINTENANCE WITHIN THEIR NETWORK. THIS HAS BEEN DESIGNATED AS ESSENTIAL. THE NATURE OF THIS WORK IS TO IMPLEMENT A FIBER REPAIR MAINTENANCE AND IS REQUIRED IN ORDER TO IMPROVE NETWORK RELIABILITY. | RICHMOND | UNITED STATES | AMER | 23/MAR/2026 05:00:00 AM |  | 23/MAR/2026 01:00:00 AM | ET [GMT-05:00 DST= GMT-04:00] | 1 | 05:00 | LONG SERVICE DISRUPTION - MORE THAN 1 MINUTE | REF/2026.13967 | LUMEN TECHNOLOGIES LLC | 444070680 | 34057855-1 | PLANNED MAINTENANCE | LOGGED | RELEASE | COMPLETE | GSI | CHG4575098
WAR | PWAW14406 | MODERNIZATION WORKS IN OPL INFRASTRUCTURE THERE MAY BE SOME SERVICE INTERRUPTION. | WARSZAWA | POLAND | EMEA | 24/MAR/2026 11:00:00 PM |  | 25/MAR/2026 12:00:00 AM | CET [GMT+01:00 DST= GMT+02:00 ] | 60 | 06:00 | EXTENDED SERVICE DISRUPTION - MORE THAN 30 MINUTES | REF/2026.12612 | ORANGE POLSKA SA | IDS 1178086 | 6763922 | PLANNED MAINTENANCE | LOGGED | PLANNED | LOGGED | GSAT | CHG4573917
CUD | PSFZ30020 | EMERGENCY BREAKFIX MAINTENANCE : WE WILL BE REPLACING EQUIPMENT TO CLEAR ALARMS AND PROVIDE IMPROVED NETWORK OPERATION. | LINCOLN | UNITED STATES | AMER | 25/MAR/2026 04:00:00 AM |  | 24/MAR/2026 11:00:00 PM | CT [GMT-06:00 DST= GMT-05:00] | 60 | 06:00 | EXTENDED SERVICE DISRUPTION - MORE THAN 30 MINUTES | REF/2026.14638 | VERIZON BUSINESS | C1266581 | R-2370331 | EMERGENCY MAINTENANCE | LOGGED | RELEASE | COMPLETE | GSAT | CHG4575148
CUD | PSFZ30020 | EMERGENCY BREAKFIX MAINTENANCE : WE WILL BE REPLACING EQUIPMENT TO CLEAR ALARMS AND PROVIDE IMPROVED NETWORK OPERATION. | LINCOLN | UNITED STATES | AMER | 25/MAR/2026 04:00:00 AM |  | 24/MAR/2026 11:00:00 PM | CT [GMT-06:00 DST= GMT-05:00] | 60 | 06:00 | EXTENDED SERVICE DISRUPTION - MORE THAN 30 MINUTES | REF/2026.14639 | VERIZON BUSINESS | E4154718 | R-2370331 | EMERGENCY MAINTENANCE | LOGGED | RELEASE | COMPLETE | GSAT | CHG4575148
THX | PHSZ104 | URGENT CIRCUIT MAINTENANCE BY THE CIRCUIT PROVIDER | XINFENG TOWNSHIP | TAIWAN | APAC | 25/MAR/2026 01:30:00 AM |  | 25/MAR/2026 09:30:00 AM | CST [GMT+08:00] | 60 | 03:50 | EXTENDED SERVICE DISRUPTION - MORE THAN 30 MINUTES | REF/2026.13949 | DYXNET | TWLL000009270900131538 | 242940 | PLANNED MAINTENANCE | LOGGED | RELEASE | LOGGED | GSI | CHG4575099
IBV | PBLR1592 | RING SPLITTING ¦¦ CHN_PME_904_8AC_B_CNCS540R1 84 | BENGALURU | INDIA | APAC | 25/MAR/2026 06:30:00 PM |  | 26/MAR/2026 12:00:00 AM | IST [GMT+05:30] | 360 | 06:00 | EXTENDED SERVICE DISRUPTION - MORE THAN 30 MINUTES | REF/2026.14052 | BHARTI AIRTEL LIMITED | 14704059 | 1100381049 | PLANNED MAINTENANCE | LOGGED | RELEASE | LOGGED | GSI | CHG4575100
UMN | PJDT020 | WE WILL BE PERFORMING SOFTWARE MAINTENANCE ON EQUIPMENT TO ENSURE NETWORK RELIABILITY. | MINNEAPOLIS | UNITED STATES | AMER | 26/MAR/2026 05:00:00 AM |  | 26/MAR/2026 12:00:00 AM | CT [GMT-06:00 DST= GMT-05:00] | 30 | 06:00 | EXTENDED SERVICE DISRUPTION - FROM 5 MINUTES UP TO 30 MINUTES | REF/2026.13779 | VERIZON BUSINESS | E4116027 | R-2359580 | PLANNED MAINTENANCE | RESCHEDULED | RELEASE | RESCHEDULED | GSAT | CHG4575149
UMN | PJDT020 | WE WILL BE PERFORMING SOFTWARE MAINTENANCE ON EQUIPMENT TO ENSURE NETWORK RELIABILITY. | MINNEAPOLIS | UNITED STATES | AMER | 26/MAR/2026 05:00:00 AM |  | 26/MAR/2026 12:00:00 AM | CT [GMT-06:00 DST= GMT-05:00] | 30 | 06:00 | EXTENDED SERVICE DISRUPTION - FROM 5 MINUTES UP TO 30 MINUTES | REF/2026.13780 | VERIZON BUSINESS | C1196933 | R-2359580 | PLANNED MAINTENANCE | RESCHEDULED | RELEASE | RESCHEDULED | GSAT | CHG4575149
Los Angeles, US | SIP: CSP | Software Upgrade -- Change | LOS ANGELES | UNITED STATES | AMER | 29/MAR/2026 07:00:00 AM |  |  |  | 1 | 04:00 | SHORT SERVICE DISRUPTION - LESS THAN 1 MINUTE | XAG202603-00094 |  |  |  | PLANNED MAINTENANCE |  | F.STUDY/ON HOLD |  | Not required, due to no impact
CUD | PSFZ30020 | BREAKFIX MAINTENANCE : WE WILL BE PERFORMING PREVENTIVE MAINTENANCE ON EQUIPMENT TO ENSURE PROPER OPERATION. | LINCOLN | UNITED STATES | AMER | 31/MAR/2026 04:00:00 AM |  | 30/MAR/2026 11:00:00 PM | CT [GMT-06:00 DST= GMT-05:00] | 20 | 06:00 | EXTENDED SERVICE DISRUPTION - FROM 5 MINUTES UP TO 30 MINUTES | REF/2026.14244 | VERIZON BUSINESS | C1266581 | R-2365526 | PLANNED MAINTENANCE | LOGGED | RELEASE | COMPLETE | GSAT | CHG4576771
CUD | PSFZ30020 | BREAKFIX MAINTENANCE : WE WILL BE PERFORMING PREVENTIVE MAINTENANCE ON EQUIPMENT TO ENSURE PROPER OPERATION. | LINCOLN | UNITED STATES | AMER | 31/MAR/2026 04:00:00 AM |  | 30/MAR/2026 11:00:00 PM | CT [GMT-06:00 DST= GMT-05:00] | 20 | 06:00 | EXTENDED SERVICE DISRUPTION - FROM 5 MINUTES UP TO 30 MINUTES | REF/2026.14245 | VERIZON BUSINESS | E4154718 | R-2365526 | PLANNED MAINTENANCE | LOGGED | RELEASE | COMPLETE | GSAT | CHG4576771
CTS | PSHA3885 | URGENT CIRCUIT MAINTENANCE BY CIRCUIT PROVIDER | PUDONG | CHINA | APAC | 31/MAR/2026 02:00:00 PM |  | 31/MAR/2026 10:00:00 PM | CST [GMT+08:00] | 60 | 06:00 | EXTENDED SERVICE DISRUPTION - MORE THAN 30 MINUTES | REF/2026.15586 | DYXNET | PRCLL000004887500257723 | 243905 | EXPEDITE MAINTENANCE | LOGGED | RELEASE | LOGGED | GSI | CHG4577247 - Not found in SNOW by team
CUD | PSFZ30020 | BREAKFIX MAINTENANCE : WE WILL BE PERFORMING CORRECTIVE MAINTENANCE ON EQUIPMENT TO PROVIDE IMPROVED NETWORK RELIABILITY. | LINCOLN | UNITED STATES | AMER | 02/APR/2026 04:00:00 AM |  | 01/APR/2026 11:00:00 PM | CT [GMT-06:00 DST= GMT-05:00] | 180 | 06:00 | EXTENDED SERVICE DISRUPTION - MORE THAN 30 MINUTES | REF/2026.15521 | VERIZON BUSINESS | C1266581 | R-2376304 | PLANNED MAINTENANCE | LOGGED | RELEASE | Already notified | GSAT | CHG4577944
CUD | PSFZ30020 | BREAKFIX MAINTENANCE : WE WILL BE PERFORMING CORRECTIVE MAINTENANCE ON EQUIPMENT TO PROVIDE IMPROVED NETWORK RELIABILITY. | LINCOLN | UNITED STATES | AMER | 02/APR/2026 04:00:00 AM |  | 01/APR/2026 11:00:00 PM | CT [GMT-06:00 DST= GMT-05:00] | 180 | 06:00 | EXTENDED SERVICE DISRUPTION - MORE THAN 30 MINUTES | REF/2026.15522 | VERIZON BUSINESS | E4154718 | R-2376304 | PLANNED MAINTENANCE | LOGGED | RELEASE | Already notified | GSAT | CHG4577944
CUD | PSFZ30020 | SCHEDULED MAINTAINENCE | LINCOLN | UNITED STATES | AMER | 03/APR/2026 04:00:00 AM |  | 02/APR/2026 11:00:00 PM | CT [GMT-06:00 DST= GMT-05:00] | 60 | 06:00 | EXTENDED SERVICE DISRUPTION - MORE THAN 30 MINUTES | REF/2026.14449 | VERIZON BUSINESS | C1266581 | R-2368796 | PLANNED MAINTENANCE | LOGGED | RELEASE | Already notified | GSAT | CHG4578573
CUD | PSFZ30020 | SCHEDULED MAINTAINENCE | LINCOLN | UNITED STATES | AMER | 03/APR/2026 04:00:00 AM |  | 02/APR/2026 11:00:00 PM | CT [GMT-06:00 DST= GMT-05:00] | 60 | 06:00 | EXTENDED SERVICE DISRUPTION - MORE THAN 30 MINUTES | REF/2026.14450 | VERIZON BUSINESS | E4154718 | R-2368796 | PLANNED MAINTENANCE | LOGGED | RELEASE | Already notified | GSAT | CHG4578573
Netherlands | PAMS3188 | Meshing Creation or Removal -- Add | SCHIPHOL-RIJK | NETHERLANDS | EUROPE | 04/APR/2026 08:00:00 AM |  |  |  | 1 | 02:00 | SHORT SERVICE DISRUPTION - LESS THAN 1 MINUTE | XAG202509-00073 |  |  |  | PLANNED MAINTENANCE |  | DSO VALIDATION/TWO-STEP VALIDATION | Already notified | Not required, due to no impact | Not required, due to no impact
BUA | PQLV037 | INSTALLATION OF NEW EQUIPMENT IN THE RACK | VICTORIA | ARGENTINA | AMER | 06/APR/2026 12:00:00 PM |  | 06/APR/2026 09:00:00 AM | ART [GMT-03:00] | 1 | 04:00 | LONG SERVICE DISRUPTION - MORE THAN 1 MINUTE | REF/2026.16008 | IG NETWORKS | RNG.5411.A012 | 302318 | PLANNED MAINTENANCE | LOGGED | RELEASE | LOGGED | GSI | email sent
BUA | PQLV037 | NEW CABLING AND RACK INSTALLATION | VICTORIA | ARGENTINA | AMER | 07/APR/2026 08:00:00 PM |  | 07/APR/2026 05:00:00 PM | ART [GMT-03:00] | 600 | 10:00 | EXTENDED SERVICE DISRUPTION - MORE THAN 30 MINUTES | REF/2026.16009 | IG NETWORKS | RNG.5411.A012 | 302318 | PLANNED MAINTENANCE | LOGGED | RELEASE | LOGGED | GSI | CHG4578979
BUA | PQLV037 | INSTALLATION OF NEW EQUIPMENT IN THE RACK | VICTORIA | ARGENTINA | AMER | 06/APR/2026 08:00:00 PM |  | 06/APR/2026 05:00:00 PM | ART [GMT-03:00] | 600 | 10:00 | EXTENDED SERVICE DISRUPTION - MORE THAN 30 MINUTES | REF/2026.16011 | IG NETWORKS | RNG.5411.A012 | 302318 | PLANNED MAINTENANCE | LOGGED | RELEASE | LOGGED | GSI | email sent
IBV | PBLR1592 | AUDIT CORRECTION ¦¦ BGL_MSU_901_2NP_CASR9KTR138 | BENGALURU | INDIA | APAC | 07/APR/2026 06:30:00 PM |  | 08/APR/2026 12:00:00 AM | IST [GMT+05:30] | 120 | 06:00 | EXTENDED SERVICE DISRUPTION - MORE THAN 30 MINUTES | REF/2026.16712 | BHARTI AIRTEL LIMITED | 14704059 | 1100402473 | PLANNED MAINTENANCE | LOGGED | RELEASE | COMPLETE | GSI | CHG4578977
BUA | PQLV037 | HOT SWAP MIGRATION OF SERVICES FROM LEGACY INFRASTRUCTURE TO THE NEW PLATFORM | VICTORIA | ARGENTINA | AMER | 08/APR/2026 08:00:00 PM |  | 08/APR/2026 05:00:00 PM | ART [GMT-03:00] | 600 | 10:00 | EXTENDED SERVICE DISRUPTION - MORE THAN 30 MINUTES | REF/2026.16012 | IG NETWORKS | RNG.5411.A012 | 302318 | PLANNED MAINTENANCE | LOGGED | RELEASE | LOGGED | GSI | CHG4579290
BUA | PQLV037 | RACK CLEANUP AND FINAL ADJUSTMENTS | VICTORIA | ARGENTINA | AMER | 09/APR/2026 08:00:00 PM |  | 09/APR/2026 05:00:00 PM | ART [GMT-03:00] | 600 | 10:00 | EXTENDED SERVICE DISRUPTION - MORE THAN 30 MINUTES | REF/2026.16013 | IG NETWORKS | RNG.5411.A012 | 302318 | PLANNED MAINTENANCE | LOGGED | RELEASE | LOGGED | GSI | CHG4579382
CUD | PSFZ30020 | EMERGENCY MAINTENANCE : TO MAINTAIN NETWORK PERFORMANCE AND STABILITY WE WILL BE MIGRATING CIRCUITS TO AN OPTIMUM FIBER PATH. | LINCOLN | UNITED STATES | AMER | 08/APR/2026 04:00:00 AM |  | 07/APR/2026 11:00:00 PM | CT [GMT-06:00 DST= GMT-05:00] | 60 | 06:00 | EXTENDED SERVICE DISRUPTION - MORE THAN 30 MINUTES | REF/2026.17762 | VERIZON BUSINESS | E4154718 | 01A4F10B-D2AD-45F2-A4AE-EECA58C82325 | EMERGENCY MAINTENANCE | LOGGED | LOGGED | LOGGED | Emergency maintenance
CUD | PSFZ30020 | EMERGENCY MAINTENANCE : TO MAINTAIN NETWORK PERFORMANCE AND STABILITY WE WILL BE MIGRATING CIRCUITS TO AN OPTIMUM FIBER PATH. | LINCOLN | UNITED STATES | AMER | 08/APR/2026 04:00:00 AM |  | 07/APR/2026 11:00:00 PM | CT [GMT-06:00 DST= GMT-05:00] | 60 | 06:00 | EXTENDED SERVICE DISRUPTION - MORE THAN 30 MINUTES | REF/2026.17770 | VERIZON BUSINESS | C1266581 | R-2385111 | EMERGENCY MAINTENANCE | LOGGED | LOGGED | LOGGED | Emergency maintenance
ALC | PMAD6083 | SCHEDULED MAINTENANCE IN OUR SUBCONTRACTOR'S NETWORK | MADRID | SPAIN | EUR | 08/APR/2026 10:00:00 PM |  | 09/APR/2026 12:00:00 AM | CET [GMT+01:00 DST= GMT+02:00 ] | 420 | 07:00 | EXTENDED SERVICE DISRUPTION - MORE THAN 30 MINUTES | REF/2026.16987 | ORANGE SPAIN | LALA200-1000731 | Z2026033090859 | PLANNED MAINTENANCE | LOGGED | RELEASE | LOGGED | GSI | CHG4579254
CUD | PSFZ30020 | TO MAINTAIN NETWORK PERFORMANCE AND STABILITY WE WILL BE MIGRATING CIRCUITS TO AN OPTIMUM FIBER PATH. | LINCOLN | UNITED STATES | AMER | 09/APR/2026 04:00:00 AM |  | 08/APR/2026 11:00:00 PM | CT [GMT-06:00 DST= GMT-05:00] | 60 | 06:00 | EXTENDED SERVICE DISRUPTION - MORE THAN 30 MINUTES | REF/2026.16328 | VERIZON BUSINESS | C1266581 | R-2385132,R-2385131 | PLANNED MAINTENANCE | LOGGED | RELEASE | LOGGED | GSAT | CHG4579224
CUD | PSFZ30020 | TO MAINTAIN NETWORK PERFORMANCE AND STABILITY WE WILL BE MIGRATING CIRCUITS TO AN OPTIMUM FIBER PATH. | LINCOLN | UNITED STATES | AMER | 09/APR/2026 04:00:00 AM |  | 08/APR/2026 11:00:00 PM | CT [GMT-06:00 DST= GMT-05:00] | 60 | 06:00 | EXTENDED SERVICE DISRUPTION - MORE THAN 30 MINUTES | REF/2026.16329 | VERIZON BUSINESS | E4154718 | R-2385132,R-2385131 | PLANNED MAINTENANCE | LOGGED | RELEASE | LOGGED | GSAT | CHG4579224
IBV | PBLR1592 | AUDIT CORRECTION ¦¦ BGL_MSU_901_1NP_CASR9KTR137 | BENGALURU | INDIA | APAC | 09/APR/2026 06:30:00 PM |  | 10/APR/2026 12:00:00 AM | IST [GMT+05:30] | 60 | 06:00 | EXTENDED SERVICE DISRUPTION - MORE THAN 30 MINUTES | REF/2026.16745 | BHARTI AIRTEL LIMITED | 14704059 | 1100402591 | PLANNED MAINTENANCE | LOGGED | RELEASE | COMPLETE | GSI | CHG4579293
CSB | PSZV606 | DETAILS URGENT NETWORK MAINTENANCE BY DYXNET | SUZHOU SHI | CHINA | APAC | 09/APR/2026 02:00:00 PM |  | 09/APR/2026 10:00:00 PM | CST [GMT+08:00] | 60 | 06:00 | EXTENDED SERVICE DISRUPTION - MORE THAN 30 MINUTES | REF/2026.17387 | DYXNET | PRCLL000004887500255020 | 245740 | EXPEDITE MAINTENANCE | LOGGED | LOGGED | LOGGED | GSI | CHG4579721
CSP | PSZV610 | DETAILS URGENT NETWORK MAINTENANCE BY DYXNET | SUZHOU | CHINA | APAC | 09/APR/2026 02:00:00 PM |  | 09/APR/2026 10:00:00 PM | CST [GMT+08:00] | 60 | 06:00 | EXTENDED SERVICE DISRUPTION - MORE THAN 30 MINUTES | REF/2026.17389 | DYXNET | PRCLL000004887500255022 | 245740 | EXPEDITE MAINTENANCE | LOGGED | LOGGED | LOGGED | GSI | CHG4579723
WNJ | PJVI028 | CROWN CASTLE FIBER WILL BE CONDUCTING A REQUIRED MAINTENANCE AT THE ABOVE-LISTED LOCATION FOR ROUTINE SPLICING. YOUR CIRCUIT(S) WILL BE IMPACTED DURING THIS MAINTENANCE WINDOW AS INDICATED BELOW. WE APOLOGIZE FOR ANY RESULTING INCONVENIENCE AND ASSURE YOU OF OUR EFFORTS TO MINIMIZE ANY SERVICE DISRUPTION. | WARREN | UNITED STATES | AMER | 11/APR/2026 04:00:00 AM |  | 11/APR/2026 12:00:00 AM | EST [GMT-5:00] | 360 | 06:00 | EXTENDED SERVICE DISRUPTION - MORE THAN 30 MINUTES | REF/2026.17086 | CROWN CASTLE FIBER LLC | 392707-WAVE-CCF | CM20260323036 | PLANNED MAINTENANCE | LOGGED | RELEASE | COMPLETE | GSI | CHG4579296
TAI | PTPE1934 | TFN NETWORK EQUIPMENT CARD MAINTENANCE. | ZHNOGZHENG DISTRICT | TAIWAN | APAC | 11/APR/2026 03:00:00 PM |  | 11/APR/2026 11:00:00 PM | GMT+08:00 | 1 | 07:00 | LONG SERVICE DISRUPTION - MORE THAN 1 MINUTE | REF/2026.16458 | NTT DOCOMO BUSINESS INC. | L4485366 | 13336540 | PLANNED MAINTENANCE | LOGGED | RELEASE | LOGGED | GSAT | CHG4579227
URS | PRIC197 | LUMEN INTENDS TO CARRY OUT INTERNAL MAINTENANCE WITHIN ITS NETWORK. THIS HAS BEEN DESIGNATED AS ESSENTIAL. THE NATURE OF THIS WORK IS TO PERFORM A CIRCUIT MIGRATION AND IS REQUIRED IN ORDER TO IMPROVE NETWORK RELIABILITY AND CONTINUE PROVIDING OPTIMAL SERVICE FOR OUR CLIENTS. AN ALTERNATE/BACKUP MAINTENANCE WINDOW HAS BEEN SCHEDULED IN THE EVENT WORK IS UNABLE TO BE COMPLETED ON THE PRIMARY NIGHT. CURRENTLY NO SERVICES ARE SCHEDULED TO BE IMPACTED ON THE ALTERNATE NIGHT. SHOULD THE ALTERNATE NIGHT BE DEEMED NECESSARY, YOU WILL RECEIVE AN UPDATED NOTIFICATION ADVISING WHICH SERVICES WILL BE IMPACTED ON THAT NIGHT. PLEASE SEE THE DATE AND TIMES OF THE ALTERNATE NIGHT BELOW. <B>LUMEN SINCERELY APOLOGIZES FOR ANY INCONVENIENCE CAUSED BY THIS MAINTENANCE</B>. , NA | RICHMOND | UNITED STATES | AMER | 14/APR/2026 04:00:00 AM |  | 14/APR/2026 12:00:00 AM | ET [GMT-05:00 DST= GMT-04:00] | 20 | 06:00 | EXTENDED SERVICE DISRUPTION - FROM 5 MINUTES UP TO 30 MINUTES | REF/2026.16317 | LUMEN TECHNOLOGIES LLC | 444070680 | 34152911-1 | PLANNED MAINTENANCE | LOGGED | RELEASE | COMPLETE | GSI | CHG4579724
CAP | PCPT665 | SCOPE Redeployment of card 3D 4x 10GE XFP Hello team As per trigger from NSP The scope of this project is redeployment of card 3D 4x 10GE XFP destination for redeployed card site CPTT02 device name BCPT9810 device model MX480 device sn JN1261523AFB slot 2 subslot 1 details attached Network OGN Region IMEARSouth africa Changes Category hardware Updates Changes Type card insertion Service Impact no Change Window BD LTP Priority 1 Duration 2 hours Devices BCPT9810 impacted services BCPT9810 FE detailsJustin Williams 27690063460 justinwilliamsaltroncom Build Prov Owner NCG in attachment Requested date AVR152026 2100 to 2200 LOCAL time | CAPE TOWN | SOUTH AFRICA | EMEA | 15/APR/2026 09:00:00 PM |  |  |  | 120 | 02:00 |  | T604165400 |  |  |  | URGENT EXPEDITE MAINTENANCE |  | PLANNING | Cancelled | GSI | CR not raised, due to less than 24 hours limit, email sent
HCM | PSGN912 | CMC WILL PERFORM CABLE MAINTENANCE PLAN TO ENSURE AND IMPROVE THE QUALITY OF THE SERVICE. | HO CHI MINH | VIET NAM | APAC | 16/APR/2026 03:00:00 PM |  | 16/APR/2026 10:00:00 PM | VN [GMT+07:00] | 240 | 04:00 | EXTENDED SERVICE DISRUPTION - MORE THAN 30 MINUTES | REF/2026.17412 | CMC TELECOMMUNICATION INFRASTRUCTURE CORPORATION | DIA/OBS/GLAXOSMITHKLINE-HCMC/200M/1286 | 5EABAFE1-CA20-4F9A-857A-588AC25C30F9 | PLANNED MAINTENANCE | LOGGED | LOGGED | COMPLETE | GSAT | CHG4581381
PUL | PHLP032 | UPGRADE OS DISTRIBUTION SWITCH AT POP LA TAMAN TEKNO | KECAMATAN CAKUNG | INDONESIA | APAC | 16/APR/2026 04:00:00 PM |  | 16/APR/2026 11:00:00 PM | WIST [GMT+07:00] | 30 | 03:00 | EXTENDED SERVICE DISRUPTION - FROM 5 MINUTES UP TO 30 MINUTES | REFB/2026.01945 | PT LINTASARTA | 2022330174 / 2022330174 | POP LINTASARTA ON APRIL 2026 | PLANNED MAINTENANCE | LOGGED | RELEASE | LOGGED | GSI | CHG4581382
PUL | PHLP033 | UPGRADE OS DISTRIBUTION SWITCH AT POP LA TAMAN TEKNO | KECAMATAN CAKUNG | INDONESIA | APAC | 16/APR/2026 04:00:00 PM |  | 16/APR/2026 11:00:00 PM | WIST [GMT+07:00] | 30 | 03:00 | EXTENDED SERVICE DISRUPTION - FROM 5 MINUTES UP TO 30 MINUTES | REFB/2026.01946 | PT LINTASARTA | 2022330170 / 2022330170 | POP LINTASARTA ON APRIL 2026 | PLANNED MAINTENANCE | LOGGED | RELEASE | LOGGED | GSI | CHG4581383
PUL | PHLP032 | MIGRATION SERVICE AT NODE PULOGADUNG | KECAMATAN CAKUNG | INDONESIA | APAC | 17/APR/2026 03:00:00 PM |  | 17/APR/2026 10:00:00 PM | WIST [GMT+07:00] | 60 | 07:00 | EXTENDED SERVICE DISRUPTION - MORE THAN 30 MINUTES | REF/2026.19739 | PT LINTASARTA | 2022330174 / 2022330174 | NA | EMERGENCY | LOGGED | RELEASE | EMERGENCY MAINTENANCE | GSI | Email sent
JMS | PHDD011 | Network OGN Region EUR Impact Service disruption 5Minute Change Window WE Priority 3 Duration 0400 Devices BZRB654 Impacted services Internet IPSEC Change Description BZRB654 IBR Transformation to shared PE step 2 | JAMSHORO | PAKISTAN | APAC | 18/APR/2026 12:00:00 PM |  |  |  | 120 | 02:00 | EXTENDED SERVICE DISRUPTION - MORE THAN 30 MINUTES | T604111637 |  |  |  | PLANNED MAINTENANCE |  | PLANNING | Cab to Assess | GSI | CHG4582629
JMS | PHDD012 | Network OGN Region EUR Impact Service disruption 5Minute Change Window WE Priority 3 Duration 0400 Devices BZRB654 Impacted services Internet IPSEC Change Description BZRB654 IBR Transformation to shared PE step 2 | JAMSHORO | PAKISTAN | APAC | 18/APR/2026 12:00:00 PM |  |  |  | 120 | 02:00 | EXTENDED SERVICE DISRUPTION - MORE THAN 30 MINUTES | T604111637 |  |  |  | PLANNED MAINTENANCE |  | PLANNING | Cab to Assess | GSI | CHG4582629
PKH | PKHI576 | Network OGN Region EUR Impact Service disruption 5Minute Change Window WE Priority 3 Duration 0400 Devices BZRB654 Impacted services Internet IPSEC Change Description BZRB654 IBR Transformation to shared PE step 2 | KARACHI | PAKISTAN | APAC | 18/APR/2026 12:00:00 PM |  |  |  | 120 | 02:00 | EXTENDED SERVICE DISRUPTION - MORE THAN 30 MINUTES | T604111637 |  |  |  | PLANNED MAINTENANCE |  | PLANNING | Cab to Assess | GSI | CHG4582631
PKH | PKHI575 | Network OGN Region EUR Impact Service disruption 5Minute Change Window WE Priority 3 Duration 0400 Devices BZRB654 Impacted services Internet IPSEC Change Description BZRB654 IBR Transformation to shared PE step 2 | KARACHI | PAKISTAN | APAC | 18/APR/2026 12:00:00 PM |  |  |  | 120 | 02:00 | EXTENDED SERVICE DISRUPTION - MORE THAN 30 MINUTES | T604111637 |  |  |  | PLANNED MAINTENANCE |  | PLANNING | Cab to Assess | GSI | CHG4582631
SCHIPHOL-RIJK, Netherlands | PAMS3188 | Meshing Creation or Removal -- Add | SCHIPHOL-RIJK | NETHERLANDS | EUROPE | 18/APR/2026 10:00:00 AM |  |  |  | 1 | 02:00 | SHORT SERVICE DISRUPTION - LESS THAN 1 MINUTE | XAG202509-00073 |  |  |  | PLANNED MAINTENANCE |  | RESCHEDULED |  | GSI | CHG4582633
Franfurt, Germany | MPLSPartner: SES | Please migrate the logical circuit Almaty-Moscow ALAMOW908 180M, Vlan 502 from ALAT02-MOWX03-0002 Almaty-Moscow link to FRAMOW002 Moscow-Frankfurt and then ALAT02-FRAT10-0003 Frankfurt-Almaty circuits. See the details in the attached visio-file This migration will be performed in cooperation with Orange Russia, the contacts of Russian engineer will be shared once defined. | FRANKFURT | GERMANY | EUR | 18/APR/2026 10:00:00 PM |  |  |  | 120 | 02:00 | TRANSPARENT | T604147468 |  |  |  | PLANNED MAINTENANCE |  | PLANNING | Postponed | Alarm suppression not needed, no config | Alarm suppression not needed
Franfurt, Germany | MPLSPartner: ORU | Please migrate the logical circuit Almaty-Moscow ALAMOW908 180M, Vlan 502 from ALAT02-MOWX03-0002 Almaty-Moscow link to FRAMOW002 Moscow-Frankfurt and then ALAT02-FRAT10-0003 Frankfurt-Almaty circuits. See the details in the attached visio-file This migration will be performed in cooperation with Orange Russia, the contacts of Russian engineer will be shared once defined. | FRANKFURT | GERMANY | EUR | 18/APR/2026 10:00:00 PM |  |  |  | 120 | 02:00 | TRANSPARENT | T604147468 |  |  |  | PLANNED MAINTENANCE |  | PLANNING | Postponed | Alarm suppression not needed, no config | Alarm suppression not needed
WNJ | PJVI028 | *** RESCHEDULED - PLEASE NOTE NEW DATE ***PLEASE NOTE THIS MAINTENANCE HAS BEEN RESCHEDULED TO THE DATES/TIMES LISTED ABOVE. CROWN CASTLE FIBER APOLOGIZES FOR ANY RESULTING INCONVENIENCE AND ASSURE YOU OF OUR EFFORTS TO MINIMIZE ANY SERVICE DISRUPTION. | WARREN | UNITED STATES | AMER | 21/APR/2026 04:00:00 AM |  | 21/APR/2026 12:00:00 AM | EST [GMT-5:00] | 60 | 6:00 | EXTENDED SERVICE DISRUPTION - MORE THAN 30 MINUTES | REF/2026.10965 | CROWN CASTLE FIBER LLC | 392707-WAVE-CCF | CM20251210012 | PLANNED MAINTENANCE | LOGGED | RESCHEDULED | COMPLETE | GSI | Email sent
PUL | PHLP032 | REENGINEERING ODC/SHELTER TRUNK NODE AT POP LA PULOGADUNG | KECAMATAN CAKUNG | INDONESIA | APAC | 23/APR/2026 01:00:00 PM |  | 23/APR/2026 08:00:00 PM | WIST [GMT+07:00] | 300 | 09:00 | EXTENDED SERVICE DISRUPTION - MORE THAN 30 MINUTES | REFB/2026.01963 | PT LINTASARTA | 2022330174 / 2022330174 | POP LINTASARTA ON APRIL 2026 | PLANNED MAINTENANCE | LOGGED | RELEASE | LOGGED | GSI | CHG4583427
UMN | PJDT020 | SCHEDULED MAINTAINENCE | MINNEAPOLIS | UNITED STATES | AMER | 28/APR/2026 05:00:00 AM |  | 28/APR/2026 12:00:00 AM | CT [GMT-06:00 DST= GMT-05:00] | 360 | 06:00 | EXTENDED SERVICE DISRUPTION - MORE THAN 30 MINUTES | REF/2026.18804 | VERIZON BUSINESS | E4116027 | R-2399342 | PLANNED MAINTENANCE | CANCEL/CANCELLED | RELEASE | Cancelled | GSAT
UMN | PJDT020 | SCHEDULED MAINTAINENCE | MINNEAPOLIS | UNITED STATES | AMER | 28/APR/2026 05:00:00 AM |  | 28/APR/2026 12:00:00 AM | CT [GMT-06:00 DST= GMT-05:00] | 360 | 06:00 | EXTENDED SERVICE DISRUPTION - MORE THAN 30 MINUTES | REF/2026.18806 | VERIZON BUSINESS | C1196933 | R-2399342 | PLANNED MAINTENANCE | CANCEL/CANCELLED | RELEASE | Cancelled | GSAT
Los Angeles, US | SIP: CSP | [NBI prod] NBI SBC JLAX620 - traffic migration from CISCO PEs to Juniper Pes Interconnection Configuration -- Change | LOS ANGELES | UNITED STATES | AMER | 25/APR/2026 06:00:00 AM |  |  |  | 1 | 04:00 | SHORT SERVICE DISRUPTION - LESS THAN 1 MINUTE | XAG202604-00011 |  |  |  | PLANNED MAINTENANCE |  | PLANNING |  | Alarm suppression not needed, no config | Alarm suppression not needed
UMN | PJDT020 | DEMAND MAINTENANCE : | MINNEAPOLIS | UNITED STATES | AMER | 28/APR/2026 04:00:00 AM |  | 27/APR/2026 11:00:00 PM | CT [GMT-06:00 DST= GMT-05:00] | 360 | 06:00 | EXTENDED SERVICE DISRUPTION - MORE THAN 30 MINUTES | REF/2026.21463 | VERIZON BUSINESS | C1196933 | R-2415303 | PLANNED MAINTENANCE | LOGGED | RELEASE | LOGGED | GSAT | CHG4584895
UMN | PJDT020 | DEMAND MAINTENANCE : | MINNEAPOLIS | UNITED STATES | AMER | 28/APR/2026 04:00:00 AM |  | 27/APR/2026 11:00:00 PM | CT [GMT-06:00 DST= GMT-05:00] | 360 | 06:00 | EXTENDED SERVICE DISRUPTION - MORE THAN 30 MINUTES | REF/2026.21464 | VERIZON BUSINESS | E4116027 | R-2415303 | PLANNED MAINTENANCE | LOGGED | RELEASE | LOGGED | GSAT | CHG4584895
Note on U12: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Updated on 30th Jan
Note on H18: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: As per SWAN tool
Note on U18: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Updated on 30th Jan