## Orange
Orange Change Management Schedule for: Gurmeet Erry
Report Date: 15 May 2026
Date Range: 15 May 2026 - 29 May 2026
Status of Maintenance: All maintenance
ORANGE REFERENCE | CUSTOMER DEFINED CODE/CUSTOMER CHANGE REFERENCE | DIRECT IMPACTED SYSTEM | DIRECT IMPACTED CUSTOMER | INDIRECT IMPACTED VIRTUAL DEVICE | INDIRECT IMPACTED DEVICE/SERVICE | INDIRECT IMPACTED CUSTOMER | SITE ID | CITY | COUNTRY | REGION | MSS MAINTENANCE TYPE (Planned, Expedite, Emergency, Urgent Expedite, Customer) | NOTIFICATION WORKFLOW STATUS (New, Reminder, Update) | OLD DATE/TIME (GMT) (dd/mmm/yyyy hh:mm) | SCHEDULED DATE/TIME (GMT) (dd/mmm/yyyy hh:mm) | OLD DATE/TIME (LOCAL) (dd/mmm/yyyy hh:mm) | SCHEDULED DATE/TIME (LOCAL) (dd/mmm/yyyy hh:mm) | LOCAL TIMEZONE | MAX IMPACT DURATION (minutes) | CHANGE WINDOW (hh:mm) | DURATION (days, hh:mm) | SERVICE IMPACT | ORANGE STATUS | CHANGE TYPE | PRIMARY/SECONDARY/ CASCADED | CARRIER NAME | CARRIER CIRCUIT ID | CARRIER REFERENCE | CARRIER STATUS | REASON FOR CHANGE | TITLE | COMMENTS/ADDITIONAL NOTES | NOTIFICATION STATUS | CHANGE URL (authorized users only) | CHANGE OWNER
XSF202605-00002 |  |  |  |  | PSGN913 | 690044 | CH-VNM-HCM | HO CHI MINH | VIET NAM | APAC | PLANNED MAINTENANCE | NEW |  | 23/MAY/2026 01:00:00 AM |  |  |  | None | 01:00 |  | TRANSPARENT | RELEASE | Maint. of Elect. Panels,ATM,STS,sockets | SECONDARY | [5 empty] | HKGT01 - PM for isolation transformer x 3 |  | Unselected in settings | http://machx.equant.com/machx/login.aspx?ApplicationExt=MAIL&MitroRO=true&CaseRefExt=XSF202605-00002 | Chan Lawrence
XSF202605-00002 | GDS Beijing - BJ2 |  |  |  | PBJS191 | 690044 | GDS BEIJING - BJ2 | BEI JING SHI | CHINA | APAC | PLANNED MAINTENANCE | NEW |  | 23/MAY/2026 01:00:00 AM |  |  |  | None | 01:00 |  | TRANSPARENT | RELEASE | Maint. of Elect. Panels,ATM,STS,sockets | SECONDARY | [5 empty] | HKGT01 - PM for isolation transformer x 3 |  | Unselected in settings | http://machx.equant.com/machx/login.aspx?ApplicationExt=MAIL&MitroRO=true&CaseRefExt=XSF202605-00002 | Chan Lawrence
XSF202605-00005 | CH-TWN-THX |  |  |  | PHSZ105 | 690044 | CH-TWN-THX | XINFENG TOWNSHIP | TAIWAN | APAC | PLANNED MAINTENANCE | REMINDER |  | 26/MAY/2026 01:00:00 AM |  |  |  | None | 02:00 |  | TRANSPARENT | RELEASE | Maint. of Security System -- Add | SECONDARY | [5 empty] | HKGT01 - PM for FM200 fire protection system |  | Communicated to customer | http://machx.equant.com/machx/login.aspx?ApplicationExt=MAIL&MitroRO=true&CaseRefExt=XSF202605-00005 | Chan Lawrence
XSF202605-00008 |  |  |  |  | PTYO2847 | 690044 | CH-JPN-JTA | MINATO CITY | JAPAN | APAC | PLANNED MAINTENANCE | NEW |  | 26/MAY/2026 07:00:00 AM |  |  |  | None | 01:00 |  | TRANSPARENT | RELEASE | Maint. of Security System -- Add | SECONDARY | [5 empty] | HKGT01- PM for water detection system |  | Unselected in settings | http://machx.equant.com/machx/login.aspx?ApplicationExt=MAIL&MitroRO=true&CaseRefExt=XSF202605-00008 | Chan Lawrence
XSF202605-00004 |  |  |  |  | PMNL1884 | 690044 | CH-PHL-PAF | TAGUIG | PHILIPPINES | APAC | PLANNED MAINTENANCE | NEW |  | 23/MAY/2026 03:00:00 AM |  |  |  | None | 01:00 |  | TRANSPARENT | RELEASE | Maint. of Elect. Panels,ATM,STS,sockets | SECONDARY | [5 empty] | HKGT01 - PM for power panel and related equipment |  | Unselected in settings | http://machx.equant.com/machx/login.aspx?ApplicationExt=MAIL&MitroRO=true&CaseRefExt=XSF202605-00004 | Chan Lawrence
XIP202605-00129 |  | PHDD010 | 690044 |  |  |  | CH-PAK-JMS | JAMSHORO | PAKISTAN | APAC | PLANNED MAINTENANCE | NEW |  | 23/MAY/2026 08:00:00 AM |  |  |  | 5 | 03:00 |  | LONG SERVICE DISRUPTION - MORE THAN 1 MINUTE | PLANNING | Metro Ethernet Interface & PE Meshing -- Change | [6 empty] | ISBISB014_DATACOM_Bulk |  | Visible: to be communicated | http://machx.equant.com/machx/login.aspx?ApplicationExt=MAIL&MitroRO=true&CaseRefExt=XIP202605-00129 | Ali Muhammad
XSF202605-00009 |  |  |  |  | PSGN912 | 690044 | CH-VNM-HCM | HO CHI MINH | VIET NAM | APAC | PLANNED MAINTENANCE | NEW |  | 26/MAY/2026 08:00:00 AM |  |  |  | None | 01:00 |  | TRANSPARENT | RELEASE | Maintenance of Air Conditioning in Technical Rooms | PRIMARY | [5 empty] | HKGT01- PM for sump-pump |  | Unselected in settings | http://machx.equant.com/machx/login.aspx?ApplicationExt=MAIL&MitroRO=true&CaseRefExt=XSF202605-00009 | Chan Lawrence
XSF202605-00008 |  |  |  |  | PTPE1934 | 690044 | CH-TWN-TAI | ZHNOGZHENG DISTRICT | TAIWAN | APAC | PLANNED MAINTENANCE | NEW |  | 26/MAY/2026 07:00:00 AM |  |  |  | None | 01:00 |  | TRANSPARENT | RELEASE | Maint. of Security System -- Add | SECONDARY | [5 empty] | HKGT01- PM for water detection system |  | Unselected in settings | http://machx.equant.com/machx/login.aspx?ApplicationExt=MAIL&MitroRO=true&CaseRefExt=XSF202605-00008 | Chan Lawrence
XSF202605-00002 |  |  |  |  | PTPE1934 | 690044 | CH-TWN-TAI | ZHNOGZHENG DISTRICT | TAIWAN | APAC | PLANNED MAINTENANCE | NEW |  | 23/MAY/2026 01:00:00 AM |  |  |  | None | 01:00 |  | TRANSPARENT | RELEASE | Maint. of Elect. Panels,ATM,STS,sockets | SECONDARY | [5 empty] | HKGT01 - PM for isolation transformer x 3 |  | Unselected in settings | http://machx.equant.com/machx/login.aspx?ApplicationExt=MAIL&MitroRO=true&CaseRefExt=XSF202605-00002 | Chan Lawrence
XSF202605-00005 |  |  |  |  | VMHKG1S00058 | 690044 |  | HONG KONG | HONG KONG | APAC | PLANNED MAINTENANCE | NEW |  | 26/MAY/2026 01:00:00 AM |  |  |  | None | 02:00 |  | TRANSPARENT | RELEASE | Maint. of Security System -- Add | [6 empty] | HKGT01 - PM for FM200 fire protection system |  | Unselected in settings | http://machx.equant.com/machx/login.aspx?ApplicationExt=MAIL&MitroRO=true&CaseRefExt=XSF202605-00005 | Chan Lawrence
XSF202605-00006 |  |  |  |  | PSGN913 | 690044 | CH-VNM-HCM | HO CHI MINH | VIET NAM | APAC | PLANNED MAINTENANCE | NEW |  | 26/MAY/2026 03:00:00 AM |  |  |  | None | 02:00 |  | TRANSPARENT | RELEASE | Maint. of Security System -- Add | SECONDARY | [5 empty] | HKGT01 - PM for fire detection system |  | Unselected in settings | http://machx.equant.com/machx/login.aspx?ApplicationExt=MAIL&MitroRO=true&CaseRefExt=XSF202605-00006 | Chan Lawrence
XSF202605-00004 |  |  |  |  | PMNL1883 | 690044 | CH-PHL-PAF | TAGUIG | PHILIPPINES | APAC | PLANNED MAINTENANCE | NEW |  | 23/MAY/2026 03:00:00 AM |  |  |  | None | 01:00 |  | TRANSPARENT | RELEASE | Maint. of Elect. Panels,ATM,STS,sockets | PRIMARY | [5 empty] | HKGT01 - PM for power panel and related equipment |  | Unselected in settings | http://machx.equant.com/machx/login.aspx?ApplicationExt=MAIL&MitroRO=true&CaseRefExt=XSF202605-00004 | Chan Lawrence
XSF202605-00007 |  |  |  |  | PHKG4124 | 690044 | CH-HKG-HON-2 | KOWLOON | HONG KONG | APAC | PLANNED MAINTENANCE | NEW |  | 26/MAY/2026 05:00:00 AM |  |  |  | None | 02:00 |  | TRANSPARENT | RELEASE | Maintenance of Air Conditioning in Technical Rooms | SECONDARY | [5 empty] | HKGT01- PM for Aircond x 2 |  | Unselected in settings | http://machx.equant.com/machx/login.aspx?ApplicationExt=MAIL&MitroRO=true&CaseRefExt=XSF202605-00007 | Chan Lawrence
XSF202605-00007 |  |  |  |  | PSGN912 | 690044 | CH-VNM-HCM | HO CHI MINH | VIET NAM | APAC | PLANNED MAINTENANCE | NEW |  | 26/MAY/2026 05:00:00 AM |  |  |  | None | 02:00 |  | TRANSPARENT | RELEASE | Maintenance of Air Conditioning in Technical Rooms | PRIMARY | [5 empty] | HKGT01- PM for Aircond x 2 |  | Unselected in settings | http://machx.equant.com/machx/login.aspx?ApplicationExt=MAIL&MitroRO=true&CaseRefExt=XSF202605-00007 | Chan Lawrence
XSF202605-00007 |  |  |  |  | PSGN913 | 690044 | CH-VNM-HCM | HO CHI MINH | VIET NAM | APAC | PLANNED MAINTENANCE | NEW |  | 26/MAY/2026 05:00:00 AM |  |  |  | None | 02:00 |  | TRANSPARENT | RELEASE | Maintenance of Air Conditioning in Technical Rooms | SECONDARY | [5 empty] | HKGT01- PM for Aircond x 2 |  | Unselected in settings | http://machx.equant.com/machx/login.aspx?ApplicationExt=MAIL&MitroRO=true&CaseRefExt=XSF202605-00007 | Chan Lawrence
XSF202605-00006 |  |  |  |  | PTPE1935 | 690044 | CH-TWN-TAI | ZHNOGZHENG DISTRICT | TAIWAN | APAC | PLANNED MAINTENANCE | NEW |  | 26/MAY/2026 03:00:00 AM |  |  |  | None | 02:00 |  | TRANSPARENT | RELEASE | Maint. of Security System -- Add | PRIMARY | [5 empty] | HKGT01 - PM for fire detection system |  | Unselected in settings | http://machx.equant.com/machx/login.aspx?ApplicationExt=MAIL&MitroRO=true&CaseRefExt=XSF202605-00006 | Chan Lawrence
XIP202605-00129 |  | PKHI30625 | 690044 |  |  |  | CH-PAK-PKH | KARACHI | PAKISTAN | APAC | PLANNED MAINTENANCE | NEW |  | 23/MAY/2026 08:00:00 AM |  |  |  | 5 | 03:00 |  | LONG SERVICE DISRUPTION - MORE THAN 1 MINUTE | PLANNING | Metro Ethernet Interface & PE Meshing -- Change | [6 empty] | ISBISB014_DATACOM_Bulk |  | Visible: to be communicated | http://machx.equant.com/machx/login.aspx?ApplicationExt=MAIL&MitroRO=true&CaseRefExt=XIP202605-00129 | Ali Muhammad
XSF202605-00005 |  |  |  |  | PHKG4124 | 690044 | CH-HKG-HON-2 | KOWLOON | HONG KONG | APAC | PLANNED MAINTENANCE | NEW |  | 26/MAY/2026 01:00:00 AM |  |  |  | None | 02:00 |  | TRANSPARENT | RELEASE | Maint. of Security System -- Add | SECONDARY | [5 empty] | HKGT01 - PM for FM200 fire protection system |  | Unselected in settings | http://machx.equant.com/machx/login.aspx?ApplicationExt=MAIL&MitroRO=true&CaseRefExt=XSF202605-00005 | Chan Lawrence
XSF202605-00009 |  |  |  |  | PTYO2846 | 690044 | CH-JPN-JTA | MINATO CITY | JAPAN | APAC | PLANNED MAINTENANCE | NEW |  | 26/MAY/2026 08:00:00 AM |  |  |  | None | 01:00 |  | TRANSPARENT | RELEASE | Maintenance of Air Conditioning in Technical Rooms | PRIMARY | [5 empty] | HKGT01- PM for sump-pump |  | Unselected in settings | http://machx.equant.com/machx/login.aspx?ApplicationExt=MAIL&MitroRO=true&CaseRefExt=XSF202605-00009 | Chan Lawrence
XSF202605-00007 |  |  |  |  | PHKG4123 | 690044 | CH-HKG-HON-2 | KOWLOON | HONG KONG | APAC | PLANNED MAINTENANCE | NEW |  | 26/MAY/2026 05:00:00 AM |  |  |  | None | 02:00 |  | TRANSPARENT | RELEASE | Maintenance of Air Conditioning in Technical Rooms | PRIMARY | [5 empty] | HKGT01- PM for Aircond x 2 |  | Unselected in settings | http://machx.equant.com/machx/login.aspx?ApplicationExt=MAIL&MitroRO=true&CaseRefExt=XSF202605-00007 | Chan Lawrence
XSF202605-00003 |  |  |  |  | PHKG4123 | 690044 | CH-HKG-HON-2 | KOWLOON | HONG KONG | APAC | PLANNED MAINTENANCE | NEW |  | 23/MAY/2026 02:00:00 AM |  |  |  | None | 01:00 |  | TRANSPARENT | RESCHEDULED | Maint. of Elect. Panels,ATM,STS,sockets | PRIMARY | [5 empty] | HKGT01 - PM for STS x 2 |  | Unselected in settings | http://machx.equant.com/machx/login.aspx?ApplicationExt=MAIL&MitroRO=true&CaseRefExt=XSF202605-00003 | Chan Lawrence
XSF202605-00008 |  | VMHKG1S00058 | 690044 |  |  |  |  | HONG KONG | HONG KONG | APAC | PLANNED MAINTENANCE | NEW |  | 26/MAY/2026 07:00:00 AM |  |  |  | None | 01:00 |  | TRANSPARENT | RELEASE | Maint. of Security System -- Add | [6 empty] | HKGT01- PM for water detection system |  | Unselected in settings | http://machx.equant.com/machx/login.aspx?ApplicationExt=MAIL&MitroRO=true&CaseRefExt=XSF202605-00008 | Chan Lawrence
XSF202605-00002 |  |  |  |  | PMNL1884 | 690044 | CH-PHL-PAF | TAGUIG | PHILIPPINES | APAC | PLANNED MAINTENANCE | NEW |  | 23/MAY/2026 01:00:00 AM |  |  |  | None | 01:00 |  | TRANSPARENT | RELEASE | Maint. of Elect. Panels,ATM,STS,sockets | SECONDARY | [5 empty] | HKGT01 - PM for isolation transformer x 3 |  | Unselected in settings | http://machx.equant.com/machx/login.aspx?ApplicationExt=MAIL&MitroRO=true&CaseRefExt=XSF202605-00002 | Chan Lawrence
XSF202605-00006 | CH-TWN-THX |  |  |  | PHSZ105 | 690044 | CH-TWN-THX | XINFENG TOWNSHIP | TAIWAN | APAC | PLANNED MAINTENANCE | REMINDER |  | 26/MAY/2026 03:00:00 AM |  |  |  | None | 02:00 |  | TRANSPARENT | RELEASE | Maint. of Security System -- Add | SECONDARY | [5 empty] | HKGT01 - PM for fire detection system |  | Communicated to customer | http://machx.equant.com/machx/login.aspx?ApplicationExt=MAIL&MitroRO=true&CaseRefExt=XSF202605-00006 | Chan Lawrence
XSF202605-00004 |  |  |  |  | PSGN912 | 690044 | CH-VNM-HCM | HO CHI MINH | VIET NAM | APAC | PLANNED MAINTENANCE | NEW |  | 23/MAY/2026 03:00:00 AM |  |  |  | None | 01:00 |  | TRANSPARENT | RELEASE | Maint. of Elect. Panels,ATM,STS,sockets | PRIMARY | [5 empty] | HKGT01 - PM for power panel and related equipment |  | Unselected in settings | http://machx.equant.com/machx/login.aspx?ApplicationExt=MAIL&MitroRO=true&CaseRefExt=XSF202605-00004 | Chan Lawrence
XSF202604-00033 |  |  |  |  | PMNL1883 | 690044 | CH-PHL-PAF | TAGUIG | PHILIPPINES | APAC | PLANNED MAINTENANCE | NEW |  | 16/MAY/2026 01:00:00 AM |  |  |  | None | 04:00 |  | TRANSPARENT | RELEASE | Maint. of UPS (and its Batteries) | PRIMARY | [5 empty] | UPS 15.2 annual maintenance arranged by landlord |  | Unselected in settings | http://machx.equant.com/machx/login.aspx?ApplicationExt=MAIL&MitroRO=true&CaseRefExt=XSF202604-00033 | Chan Lawrence
XSF202604-00033 |  |  |  |  | PTPE1935 | 690044 | CH-TWN-TAI | ZHNOGZHENG DISTRICT | TAIWAN | APAC | PLANNED MAINTENANCE | NEW |  | 16/MAY/2026 01:00:00 AM |  |  |  | None | 04:00 |  | TRANSPARENT | RELEASE | Maint. of UPS (and its Batteries) | PRIMARY | [5 empty] | UPS 15.2 annual maintenance arranged by landlord |  | Unselected in settings | http://machx.equant.com/machx/login.aspx?ApplicationExt=MAIL&MitroRO=true&CaseRefExt=XSF202604-00033 | Chan Lawrence
XSF202605-00002 |  |  |  |  | PHKG4123 | 690044 | CH-HKG-HON-2 | KOWLOON | HONG KONG | APAC | PLANNED MAINTENANCE | NEW |  | 23/MAY/2026 01:00:00 AM |  |  |  | None | 01:00 |  | TRANSPARENT | RELEASE | Maint. of Elect. Panels,ATM,STS,sockets | PRIMARY | [5 empty] | HKGT01 - PM for isolation transformer x 3 |  | Unselected in settings | http://machx.equant.com/machx/login.aspx?ApplicationExt=MAIL&MitroRO=true&CaseRefExt=XSF202605-00002 | Chan Lawrence
XSF202604-00033 |  |  |  |  | PSGN912 | 690044 | CH-VNM-HCM | HO CHI MINH | VIET NAM | APAC | PLANNED MAINTENANCE | NEW |  | 16/MAY/2026 01:00:00 AM |  |  |  | None | 04:00 |  | TRANSPARENT | RELEASE | Maint. of UPS (and its Batteries) | PRIMARY | [5 empty] | UPS 15.2 annual maintenance arranged by landlord |  | Unselected in settings | http://machx.equant.com/machx/login.aspx?ApplicationExt=MAIL&MitroRO=true&CaseRefExt=XSF202604-00033 | Chan Lawrence
XSF202605-00009 |  |  |  |  | PQOM054 | 690044 | CH-JPN-KZO | KAZO | JAPAN | APAC | PLANNED MAINTENANCE | NEW |  | 26/MAY/2026 08:00:00 AM |  |  |  | None | 01:00 |  | TRANSPARENT | RELEASE | Maintenance of Air Conditioning in Technical Rooms | [6 empty] | HKGT01- PM for sump-pump |  | Unselected in settings | http://machx.equant.com/machx/login.aspx?ApplicationExt=MAIL&MitroRO=true&CaseRefExt=XSF202605-00009 | Chan Lawrence
XSF202605-00004 |  |  |  |  | PSGN913 | 690044 | CH-VNM-HCM | HO CHI MINH | VIET NAM | APAC | PLANNED MAINTENANCE | NEW |  | 23/MAY/2026 03:00:00 AM |  |  |  | None | 01:00 |  | TRANSPARENT | RELEASE | Maint. of Elect. Panels,ATM,STS,sockets | SECONDARY | [5 empty] | HKGT01 - PM for power panel and related equipment |  | Unselected in settings | http://machx.equant.com/machx/login.aspx?ApplicationExt=MAIL&MitroRO=true&CaseRefExt=XSF202605-00004 | Chan Lawrence
XSF202605-00009 | CH-TWN-THX |  |  |  | PHSZ106 | 690044 | CH-TWN-THX | XINFENG TOWNSHIP | TAIWAN | APAC | PLANNED MAINTENANCE | REMINDER |  | 26/MAY/2026 08:00:00 AM |  |  |  | None | 01:00 |  | TRANSPARENT | RELEASE | Maintenance of Air Conditioning in Technical Rooms | PRIMARY | [5 empty] | HKGT01- PM for sump-pump |  | Communicated to customer | http://machx.equant.com/machx/login.aspx?ApplicationExt=MAIL&MitroRO=true&CaseRefExt=XSF202605-00009 | Chan Lawrence
XSF202605-00008 |  |  |  |  | PQOM054 | 690044 | CH-JPN-KZO | KAZO | JAPAN | APAC | PLANNED MAINTENANCE | NEW |  | 26/MAY/2026 07:00:00 AM |  |  |  | None | 01:00 |  | TRANSPARENT | RELEASE | Maint. of Security System -- Add | [6 empty] | HKGT01- PM for water detection system |  | Unselected in settings | http://machx.equant.com/machx/login.aspx?ApplicationExt=MAIL&MitroRO=true&CaseRefExt=XSF202605-00008 | Chan Lawrence
XSF202605-00006 |  |  |  |  | PTYO2846 | 690044 | CH-JPN-JTA | MINATO CITY | JAPAN | APAC | PLANNED MAINTENANCE | NEW |  | 26/MAY/2026 03:00:00 AM |  |  |  | None | 02:00 |  | TRANSPARENT | RELEASE | Maint. of Security System -- Add | PRIMARY | [5 empty] | HKGT01 - PM for fire detection system |  | Unselected in settings | http://machx.equant.com/machx/login.aspx?ApplicationExt=MAIL&MitroRO=true&CaseRefExt=XSF202605-00006 | Chan Lawrence
XSF202605-00005 | CH-TWN-THX |  |  |  | PHSZ106 | 690044 | CH-TWN-THX | XINFENG TOWNSHIP | TAIWAN | APAC | PLANNED MAINTENANCE | REMINDER |  | 26/MAY/2026 01:00:00 AM |  |  |  | None | 02:00 |  | TRANSPARENT | RELEASE | Maint. of Security System -- Add | PRIMARY | [5 empty] | HKGT01 - PM for FM200 fire protection system |  | Communicated to customer | http://machx.equant.com/machx/login.aspx?ApplicationExt=MAIL&MitroRO=true&CaseRefExt=XSF202605-00005 | Chan Lawrence
XSF202605-00007 |  |  |  |  | PTYO2847 | 690044 | CH-JPN-JTA | MINATO CITY | JAPAN | APAC | PLANNED MAINTENANCE | NEW |  | 26/MAY/2026 05:00:00 AM |  |  |  | None | 02:00 |  | TRANSPARENT | RELEASE | Maintenance of Air Conditioning in Technical Rooms | SECONDARY | [5 empty] | HKGT01- PM for Aircond x 2 |  | Unselected in settings | http://machx.equant.com/machx/login.aspx?ApplicationExt=MAIL&MitroRO=true&CaseRefExt=XSF202605-00007 | Chan Lawrence
XSF202604-00033 |  |  |  |  | PHKG4123 | 690044 | CH-HKG-HON-2 | KOWLOON | HONG KONG | APAC | PLANNED MAINTENANCE | NEW |  | 16/MAY/2026 01:00:00 AM |  |  |  | None | 04:00 |  | TRANSPARENT | RELEASE | Maint. of UPS (and its Batteries) | PRIMARY | [5 empty] | UPS 15.2 annual maintenance arranged by landlord |  | Unselected in settings | http://machx.equant.com/machx/login.aspx?ApplicationExt=MAIL&MitroRO=true&CaseRefExt=XSF202604-00033 | Chan Lawrence
XSF202605-00004 |  |  |  |  | PTPE1934 | 690044 | CH-TWN-TAI | ZHNOGZHENG DISTRICT | TAIWAN | APAC | PLANNED MAINTENANCE | NEW |  | 23/MAY/2026 03:00:00 AM |  |  |  | None | 01:00 |  | TRANSPARENT | RELEASE | Maint. of Elect. Panels,ATM,STS,sockets | SECONDARY | [5 empty] | HKGT01 - PM for power panel and related equipment |  | Unselected in settings | http://machx.equant.com/machx/login.aspx?ApplicationExt=MAIL&MitroRO=true&CaseRefExt=XSF202605-00004 | Chan Lawrence
XSF202605-00002 |  |  |  |  | PHKG4124 | 690044 | CH-HKG-HON-2 | KOWLOON | HONG KONG | APAC | PLANNED MAINTENANCE | NEW |  | 23/MAY/2026 01:00:00 AM |  |  |  | None | 01:00 |  | TRANSPARENT | RELEASE | Maint. of Elect. Panels,ATM,STS,sockets | SECONDARY | [5 empty] | HKGT01 - PM for isolation transformer x 3 |  | Unselected in settings | http://machx.equant.com/machx/login.aspx?ApplicationExt=MAIL&MitroRO=true&CaseRefExt=XSF202605-00002 | Chan Lawrence
XSF202605-00007 | GDS Beijing - BJ2 |  |  |  | PBJS190 | 690044 | GDS BEIJING - BJ2 | BEI JING SHI | CHINA | APAC | PLANNED MAINTENANCE | NEW |  | 26/MAY/2026 05:00:00 AM |  |  |  | None | 02:00 |  | TRANSPARENT | RELEASE | Maintenance of Air Conditioning in Technical Rooms | PRIMARY | [5 empty] | HKGT01- PM for Aircond x 2 |  | Unselected in settings | http://machx.equant.com/machx/login.aspx?ApplicationExt=MAIL&MitroRO=true&CaseRefExt=XSF202605-00007 | Chan Lawrence
XSF202605-00004 | CH-TWN-THX |  |  |  | PHSZ106 | 690044 | CH-TWN-THX | XINFENG TOWNSHIP | TAIWAN | APAC | PLANNED MAINTENANCE | REMINDER |  | 23/MAY/2026 03:00:00 AM |  |  |  | None | 01:00 |  | TRANSPARENT | RELEASE | Maint. of Elect. Panels,ATM,STS,sockets | PRIMARY | [5 empty] | HKGT01 - PM for power panel and related equipment |  | Communicated to customer | http://machx.equant.com/machx/login.aspx?ApplicationExt=MAIL&MitroRO=true&CaseRefExt=XSF202605-00004 | Chan Lawrence
XSF202605-00003 |  |  |  |  | PQOM054 | 690044 | CH-JPN-KZO | KAZO | JAPAN | APAC | PLANNED MAINTENANCE | NEW |  | 23/MAY/2026 02:00:00 AM |  |  |  | None | 01:00 |  | TRANSPARENT | RESCHEDULED | Maint. of Elect. Panels,ATM,STS,sockets | [6 empty] | HKGT01 - PM for STS x 2 |  | Unselected in settings | http://machx.equant.com/machx/login.aspx?ApplicationExt=MAIL&MitroRO=true&CaseRefExt=XSF202605-00003 | Chan Lawrence
XSF202605-00007 |  |  |  |  | PTPE1935 | 690044 | CH-TWN-TAI | ZHNOGZHENG DISTRICT | TAIWAN | APAC | PLANNED MAINTENANCE | NEW |  | 26/MAY/2026 05:00:00 AM |  |  |  | None | 02:00 |  | TRANSPARENT | RELEASE | Maintenance of Air Conditioning in Technical Rooms | PRIMARY | [5 empty] | HKGT01- PM for Aircond x 2 |  | Unselected in settings | http://machx.equant.com/machx/login.aspx?ApplicationExt=MAIL&MitroRO=true&CaseRefExt=XSF202605-00007 | Chan Lawrence
XSF202604-00033 | CH-TWN-THX |  |  |  | PHSZ106 | 690044 | CH-TWN-THX | XINFENG TOWNSHIP | TAIWAN | APAC | PLANNED MAINTENANCE | REMINDER |  | 16/MAY/2026 01:00:00 AM |  |  |  | None | 04:00 |  | TRANSPARENT | RELEASE | Maint. of UPS (and its Batteries) | PRIMARY | [5 empty] | UPS 15.2 annual maintenance arranged by landlord |  | Communicated to customer | http://machx.equant.com/machx/login.aspx?ApplicationExt=MAIL&MitroRO=true&CaseRefExt=XSF202604-00033 | Chan Lawrence
XSF202605-00002 |  |  |  |  | PTYO2846 | 690044 | CH-JPN-JTA | MINATO CITY | JAPAN | APAC | PLANNED MAINTENANCE | NEW |  | 23/MAY/2026 01:00:00 AM |  |  |  | None | 01:00 |  | TRANSPARENT | RELEASE | Maint. of Elect. Panels,ATM,STS,sockets | PRIMARY | [5 empty] | HKGT01 - PM for isolation transformer x 3 |  | Unselected in settings | http://machx.equant.com/machx/login.aspx?ApplicationExt=MAIL&MitroRO=true&CaseRefExt=XSF202605-00002 | Chan Lawrence
XSF202605-00009 |  |  |  |  | PTPE1935 | 690044 | CH-TWN-TAI | ZHNOGZHENG DISTRICT | TAIWAN | APAC | PLANNED MAINTENANCE | NEW |  | 26/MAY/2026 08:00:00 AM |  |  |  | None | 01:00 |  | TRANSPARENT | RELEASE | Maintenance of Air Conditioning in Technical Rooms | PRIMARY | [5 empty] | HKGT01- PM for sump-pump |  | Unselected in settings | http://machx.equant.com/machx/login.aspx?ApplicationExt=MAIL&MitroRO=true&CaseRefExt=XSF202605-00009 | Chan Lawrence
XSF202605-00007 |  | VMHKG1S00058 | 690044 |  |  |  |  | HONG KONG | HONG KONG | APAC | PLANNED MAINTENANCE | NEW |  | 26/MAY/2026 05:00:00 AM |  |  |  | None | 02:00 |  | TRANSPARENT | RELEASE | Maintenance of Air Conditioning in Technical Rooms | [6 empty] | HKGT01- PM for Aircond x 2 |  | Unselected in settings | http://machx.equant.com/machx/login.aspx?ApplicationExt=MAIL&MitroRO=true&CaseRefExt=XSF202605-00007 | Chan Lawrence
XSF202605-00007 | CH-TWN-THX |  |  |  | PHSZ105 | 690044 | CH-TWN-THX | XINFENG TOWNSHIP | TAIWAN | APAC | PLANNED MAINTENANCE | REMINDER |  | 26/MAY/2026 05:00:00 AM |  |  |  | None | 02:00 |  | TRANSPARENT | RELEASE | Maintenance of Air Conditioning in Technical Rooms | SECONDARY | [5 empty] | HKGT01- PM for Aircond x 2 |  | Communicated to customer | http://machx.equant.com/machx/login.aspx?ApplicationExt=MAIL&MitroRO=true&CaseRefExt=XSF202605-00007 | Chan Lawrence
XSF202605-00006 |  |  |  |  | PTPE1934 | 690044 | CH-TWN-TAI | ZHNOGZHENG DISTRICT | TAIWAN | APAC | PLANNED MAINTENANCE | NEW |  | 26/MAY/2026 03:00:00 AM |  |  |  | None | 02:00 |  | TRANSPARENT | RELEASE | Maint. of Security System -- Add | SECONDARY | [5 empty] | HKGT01 - PM for fire detection system |  | Unselected in settings | http://machx.equant.com/machx/login.aspx?ApplicationExt=MAIL&MitroRO=true&CaseRefExt=XSF202605-00006 | Chan Lawrence
XSF202605-00008 |  |  |  |  | PTYO2846 | 690044 | CH-JPN-JTA | MINATO CITY | JAPAN | APAC | PLANNED MAINTENANCE | NEW |  | 26/MAY/2026 07:00:00 AM |  |  |  | None | 01:00 |  | TRANSPARENT | RELEASE | Maint. of Security System -- Add | PRIMARY | [5 empty] | HKGT01- PM for water detection system |  | Unselected in settings | http://machx.equant.com/machx/login.aspx?ApplicationExt=MAIL&MitroRO=true&CaseRefExt=XSF202605-00008 | Chan Lawrence
XSF202605-00003 | CH-TWN-THX |  |  |  | PHSZ105 | 690044 | CH-TWN-THX | XINFENG TOWNSHIP | TAIWAN | APAC | PLANNED MAINTENANCE | NEW |  | 23/MAY/2026 02:00:00 AM |  |  |  | None | 01:00 |  | TRANSPARENT | RESCHEDULED | Maint. of Elect. Panels,ATM,STS,sockets | SECONDARY | [5 empty] | HKGT01 - PM for STS x 2 |  | Visible: to be communicated | http://machx.equant.com/machx/login.aspx?ApplicationExt=MAIL&MitroRO=true&CaseRefExt=XSF202605-00003 | Chan Lawrence
XSF202605-00002 |  |  |  |  | PMNL1883 | 690044 | CH-PHL-PAF | TAGUIG | PHILIPPINES | APAC | PLANNED MAINTENANCE | NEW |  | 23/MAY/2026 01:00:00 AM |  |  |  | None | 01:00 |  | TRANSPARENT | RELEASE | Maint. of Elect. Panels,ATM,STS,sockets | PRIMARY | [5 empty] | HKGT01 - PM for isolation transformer x 3 |  | Unselected in settings | http://machx.equant.com/machx/login.aspx?ApplicationExt=MAIL&MitroRO=true&CaseRefExt=XSF202605-00002 | Chan Lawrence
XSF202605-00005 |  |  |  |  | PQOM054 | 690044 | CH-JPN-KZO | KAZO | JAPAN | APAC | PLANNED MAINTENANCE | NEW |  | 26/MAY/2026 01:00:00 AM |  |  |  | None | 02:00 |  | TRANSPARENT | RELEASE | Maint. of Security System -- Add | [6 empty] | HKGT01 - PM for FM200 fire protection system |  | Unselected in settings | http://machx.equant.com/machx/login.aspx?ApplicationExt=MAIL&MitroRO=true&CaseRefExt=XSF202605-00005 | Chan Lawrence
XSF202605-00008 |  |  |  |  | PMNL1883 | 690044 | CH-PHL-PAF | TAGUIG | PHILIPPINES | APAC | PLANNED MAINTENANCE | NEW |  | 26/MAY/2026 07:00:00 AM |  |  |  | None | 01:00 |  | TRANSPARENT | RELEASE | Maint. of Security System -- Add | PRIMARY | [5 empty] | HKGT01- PM for water detection system |  | Unselected in settings | http://machx.equant.com/machx/login.aspx?ApplicationExt=MAIL&MitroRO=true&CaseRefExt=XSF202605-00008 | Chan Lawrence
XSF202605-00008 |  |  |  |  | VMHKG1S00058 | 690044 |  | HONG KONG | HONG KONG | APAC | PLANNED MAINTENANCE | NEW |  | 26/MAY/2026 07:00:00 AM |  |  |  | None | 01:00 |  | TRANSPARENT | RELEASE | Maint. of Security System -- Add | [6 empty] | HKGT01- PM for water detection system |  | Unselected in settings | http://machx.equant.com/machx/login.aspx?ApplicationExt=MAIL&MitroRO=true&CaseRefExt=XSF202605-00008 | Chan Lawrence
XSF202605-00004 |  |  |  |  | PTYO2846 | 690044 | CH-JPN-JTA | MINATO CITY | JAPAN | APAC | PLANNED MAINTENANCE | NEW |  | 23/MAY/2026 03:00:00 AM |  |  |  | None | 01:00 |  | TRANSPARENT | RELEASE | Maint. of Elect. Panels,ATM,STS,sockets | PRIMARY | [5 empty] | HKGT01 - PM for power panel and related equipment |  | Unselected in settings | http://machx.equant.com/machx/login.aspx?ApplicationExt=MAIL&MitroRO=true&CaseRefExt=XSF202605-00004 | Chan Lawrence
XSF202605-00003 |  |  |  |  | PHKG4124 | 690044 | CH-HKG-HON-2 | KOWLOON | HONG KONG | APAC | PLANNED MAINTENANCE | NEW |  | 23/MAY/2026 02:00:00 AM |  |  |  | None | 01:00 |  | TRANSPARENT | RESCHEDULED | Maint. of Elect. Panels,ATM,STS,sockets | SECONDARY | [5 empty] | HKGT01 - PM for STS x 2 |  | Unselected in settings | http://machx.equant.com/machx/login.aspx?ApplicationExt=MAIL&MitroRO=true&CaseRefExt=XSF202605-00003 | Chan Lawrence
XSF202604-00033 |  |  |  |  | PSGN913 | 690044 | CH-VNM-HCM | HO CHI MINH | VIET NAM | APAC | PLANNED MAINTENANCE | NEW |  | 16/MAY/2026 01:00:00 AM |  |  |  | None | 04:00 |  | TRANSPARENT | RELEASE | Maint. of UPS (and its Batteries) | SECONDARY | [5 empty] | UPS 15.2 annual maintenance arranged by landlord |  | Unselected in settings | http://machx.equant.com/machx/login.aspx?ApplicationExt=MAIL&MitroRO=true&CaseRefExt=XSF202604-00033 | Chan Lawrence
XSF202605-00009 | CH-TWN-THX |  |  |  | PHSZ105 | 690044 | CH-TWN-THX | XINFENG TOWNSHIP | TAIWAN | APAC | PLANNED MAINTENANCE | REMINDER |  | 26/MAY/2026 08:00:00 AM |  |  |  | None | 01:00 |  | TRANSPARENT | RELEASE | Maintenance of Air Conditioning in Technical Rooms | SECONDARY | [5 empty] | HKGT01- PM for sump-pump |  | Communicated to customer | http://machx.equant.com/machx/login.aspx?ApplicationExt=MAIL&MitroRO=true&CaseRefExt=XSF202605-00009 | Chan Lawrence
XIP202605-00695 | CH-MLY-PJQ | PKUL2307 | 690044 |  |  |  | CH-MLY-MPJ | PETALING JAYA | MALAYSIA | APAC | PLANNED MAINTENANCE | NEW |  | 29/MAY/2026 01:00:00 PM |  |  |  | 5 | 03:00 |  | LONG SERVICE DISRUPTION - MORE THAN 1 MINUTE | PLANNING | Metro Ethernet Interface & PE Meshing -- Change | [6 empty] | KULKUL143_NNI Bulk |  | Visible: to be communicated | http://machx.equant.com/machx/login.aspx?ApplicationExt=MAIL&MitroRO=true&CaseRefExt=XIP202605-00695 | Ali Muhammad
XSF202605-00007 |  |  |  |  | PQOM054 | 690044 | CH-JPN-KZO | KAZO | JAPAN | APAC | PLANNED MAINTENANCE | NEW |  | 26/MAY/2026 05:00:00 AM |  |  |  | None | 02:00 |  | TRANSPARENT | RELEASE | Maintenance of Air Conditioning in Technical Rooms | [6 empty] | HKGT01- PM for Aircond x 2 |  | Unselected in settings | http://machx.equant.com/machx/login.aspx?ApplicationExt=MAIL&MitroRO=true&CaseRefExt=XSF202605-00007 | Chan Lawrence
XSF202605-00003 |  |  |  |  | VMHKG1S00058 | 690044 |  | HONG KONG | HONG KONG | APAC | PLANNED MAINTENANCE | NEW |  | 23/MAY/2026 02:00:00 AM |  |  |  | None | 01:00 |  | TRANSPARENT | RESCHEDULED | Maint. of Elect. Panels,ATM,STS,sockets | [6 empty] | HKGT01 - PM for STS x 2 |  | Unselected in settings | http://machx.equant.com/machx/login.aspx?ApplicationExt=MAIL&MitroRO=true&CaseRefExt=XSF202605-00003 | Chan Lawrence
XSF202605-00005 | GDS Beijing - BJ2 |  |  |  | PBJS190 | 690044 | GDS BEIJING - BJ2 | BEI JING SHI | CHINA | APAC | PLANNED MAINTENANCE | NEW |  | 26/MAY/2026 01:00:00 AM |  |  |  | None | 02:00 |  | TRANSPARENT | RELEASE | Maint. of Security System -- Add | PRIMARY | [5 empty] | HKGT01 - PM for FM200 fire protection system |  | Unselected in settings | http://machx.equant.com/machx/login.aspx?ApplicationExt=MAIL&MitroRO=true&CaseRefExt=XSF202605-00005 | Chan Lawrence
XSF202605-00006 |  |  |  |  | PMNL1883 | 690044 | CH-PHL-PAF | TAGUIG | PHILIPPINES | APAC | PLANNED MAINTENANCE | NEW |  | 26/MAY/2026 03:00:00 AM |  |  |  | None | 02:00 |  | TRANSPARENT | RELEASE | Maint. of Security System -- Add | PRIMARY | [5 empty] | HKGT01 - PM for fire detection system |  | Unselected in settings | http://machx.equant.com/machx/login.aspx?ApplicationExt=MAIL&MitroRO=true&CaseRefExt=XSF202605-00006 | Chan Lawrence
XSF202605-00003 |  |  |  |  | PMNL1884 | 690044 | CH-PHL-PAF | TAGUIG | PHILIPPINES | APAC | PLANNED MAINTENANCE | NEW |  | 23/MAY/2026 02:00:00 AM |  |  |  | None | 01:00 |  | TRANSPARENT | RESCHEDULED | Maint. of Elect. Panels,ATM,STS,sockets | SECONDARY | [5 empty] | HKGT01 - PM for STS x 2 |  | Unselected in settings | http://machx.equant.com/machx/login.aspx?ApplicationExt=MAIL&MitroRO=true&CaseRefExt=XSF202605-00003 | Chan Lawrence
XSF202605-00002 |  |  |  |  | VMHKG1S00058 | 690044 |  | HONG KONG | HONG KONG | APAC | PLANNED MAINTENANCE | NEW |  | 23/MAY/2026 01:00:00 AM |  |  |  | None | 01:00 |  | TRANSPARENT | RELEASE | Maint. of Elect. Panels,ATM,STS,sockets | [6 empty] | HKGT01 - PM for isolation transformer x 3 |  | Unselected in settings | http://machx.equant.com/machx/login.aspx?ApplicationExt=MAIL&MitroRO=true&CaseRefExt=XSF202605-00002 | Chan Lawrence
XSF202605-00008 | GDS Beijing - BJ2 |  |  |  | PBJS191 | 690044 | GDS BEIJING - BJ2 | BEI JING SHI | CHINA | APAC | PLANNED MAINTENANCE | NEW |  | 26/MAY/2026 07:00:00 AM |  |  |  | None | 01:00 |  | TRANSPARENT | RELEASE | Maint. of Security System -- Add | SECONDARY | [5 empty] | HKGT01- PM for water detection system |  | Unselected in settings | http://machx.equant.com/machx/login.aspx?ApplicationExt=MAIL&MitroRO=true&CaseRefExt=XSF202605-00008 | Chan Lawrence
XSF202605-00005 |  |  |  |  | PTPE1935 | 690044 | CH-TWN-TAI | ZHNOGZHENG DISTRICT | TAIWAN | APAC | PLANNED MAINTENANCE | NEW |  | 26/MAY/2026 01:00:00 AM |  |  |  | None | 02:00 |  | TRANSPARENT | RELEASE | Maint. of Security System -- Add | PRIMARY | [5 empty] | HKGT01 - PM for FM200 fire protection system |  | Unselected in settings | http://machx.equant.com/machx/login.aspx?ApplicationExt=MAIL&MitroRO=true&CaseRefExt=XSF202605-00005 | Chan Lawrence
XSF202605-00003 |  |  |  |  | PTYO2847 | 690044 | CH-JPN-JTA | MINATO CITY | JAPAN | APAC | PLANNED MAINTENANCE | NEW |  | 23/MAY/2026 02:00:00 AM |  |  |  | None | 01:00 |  | TRANSPARENT | RESCHEDULED | Maint. of Elect. Panels,ATM,STS,sockets | SECONDARY | [5 empty] | HKGT01 - PM for STS x 2 |  | Unselected in settings | http://machx.equant.com/machx/login.aspx?ApplicationExt=MAIL&MitroRO=true&CaseRefExt=XSF202605-00003 | Chan Lawrence
XSF202605-00009 |  |  |  |  | PHKG4123 | 690044 | CH-HKG-HON-2 | KOWLOON | HONG KONG | APAC | PLANNED MAINTENANCE | NEW |  | 26/MAY/2026 08:00:00 AM |  |  |  | None | 01:00 |  | TRANSPARENT | RELEASE | Maintenance of Air Conditioning in Technical Rooms | PRIMARY | [5 empty] | HKGT01- PM for sump-pump |  | Unselected in settings | http://machx.equant.com/machx/login.aspx?ApplicationExt=MAIL&MitroRO=true&CaseRefExt=XSF202605-00009 | Chan Lawrence
XSF202605-00008 |  |  |  |  | PHKG4123 | 690044 | CH-HKG-HON-2 | KOWLOON | HONG KONG | APAC | PLANNED MAINTENANCE | NEW |  | 26/MAY/2026 07:00:00 AM |  |  |  | None | 01:00 |  | TRANSPARENT | RELEASE | Maint. of Security System -- Add | PRIMARY | [5 empty] | HKGT01- PM for water detection system |  | Unselected in settings | http://machx.equant.com/machx/login.aspx?ApplicationExt=MAIL&MitroRO=true&CaseRefExt=XSF202605-00008 | Chan Lawrence
XSF202605-00006 |  |  |  |  | PTYO2847 | 690044 | CH-JPN-JTA | MINATO CITY | JAPAN | APAC | PLANNED MAINTENANCE | NEW |  | 26/MAY/2026 03:00:00 AM |  |  |  | None | 02:00 |  | TRANSPARENT | RELEASE | Maint. of Security System -- Add | SECONDARY | [5 empty] | HKGT01 - PM for fire detection system |  | Unselected in settings | http://machx.equant.com/machx/login.aspx?ApplicationExt=MAIL&MitroRO=true&CaseRefExt=XSF202605-00006 | Chan Lawrence
XSF202605-00005 |  |  |  |  | PHKG4123 | 690044 | CH-HKG-HON-2 | KOWLOON | HONG KONG | APAC | PLANNED MAINTENANCE | NEW |  | 26/MAY/2026 01:00:00 AM |  |  |  | None | 02:00 |  | TRANSPARENT | RELEASE | Maint. of Security System -- Add | PRIMARY | [5 empty] | HKGT01 - PM for FM200 fire protection system |  | Unselected in settings | http://machx.equant.com/machx/login.aspx?ApplicationExt=MAIL&MitroRO=true&CaseRefExt=XSF202605-00005 | Chan Lawrence
XSF202605-00003 | GDS Beijing - BJ2 |  |  |  | PBJS191 | 690044 | GDS BEIJING - BJ2 | BEI JING SHI | CHINA | APAC | PLANNED MAINTENANCE | NEW |  | 23/MAY/2026 02:00:00 AM |  |  |  | None | 01:00 |  | TRANSPARENT | RESCHEDULED | Maint. of Elect. Panels,ATM,STS,sockets | SECONDARY | [5 empty] | HKGT01 - PM for STS x 2 |  | Unselected in settings | http://machx.equant.com/machx/login.aspx?ApplicationExt=MAIL&MitroRO=true&CaseRefExt=XSF202605-00003 | Chan Lawrence
XSF202605-00003 |  |  |  |  | PMNL1883 | 690044 | CH-PHL-PAF | TAGUIG | PHILIPPINES | APAC | PLANNED MAINTENANCE | NEW |  | 23/MAY/2026 02:00:00 AM |  |  |  | None | 01:00 |  | TRANSPARENT | RESCHEDULED | Maint. of Elect. Panels,ATM,STS,sockets | PRIMARY | [5 empty] | HKGT01 - PM for STS x 2 |  | Unselected in settings | http://machx.equant.com/machx/login.aspx?ApplicationExt=MAIL&MitroRO=true&CaseRefExt=XSF202605-00003 | Chan Lawrence
XSF202604-00033 |  |  |  |  | PHKG4124 | 690044 | CH-HKG-HON-2 | KOWLOON | HONG KONG | APAC | PLANNED MAINTENANCE | NEW |  | 16/MAY/2026 01:00:00 AM |  |  |  | None | 04:00 |  | TRANSPARENT | RELEASE | Maint. of UPS (and its Batteries) | SECONDARY | [5 empty] | UPS 15.2 annual maintenance arranged by landlord |  | Unselected in settings | http://machx.equant.com/machx/login.aspx?ApplicationExt=MAIL&MitroRO=true&CaseRefExt=XSF202604-00033 | Chan Lawrence
XSF202605-00008 |  |  |  |  | PSGN913 | 690044 | CH-VNM-HCM | HO CHI MINH | VIET NAM | APAC | PLANNED MAINTENANCE | NEW |  | 26/MAY/2026 07:00:00 AM |  |  |  | None | 01:00 |  | TRANSPARENT | RELEASE | Maint. of Security System -- Add | SECONDARY | [5 empty] | HKGT01- PM for water detection system |  | Unselected in settings | http://machx.equant.com/machx/login.aspx?ApplicationExt=MAIL&MitroRO=true&CaseRefExt=XSF202605-00008 | Chan Lawrence
XSF202605-00005 |  |  |  |  | PTPE1934 | 690044 | CH-TWN-TAI | ZHNOGZHENG DISTRICT | TAIWAN | APAC | PLANNED MAINTENANCE | NEW |  | 26/MAY/2026 01:00:00 AM |  |  |  | None | 02:00 |  | TRANSPARENT | RELEASE | Maint. of Security System -- Add | SECONDARY | [5 empty] | HKGT01 - PM for FM200 fire protection system |  | Unselected in settings | http://machx.equant.com/machx/login.aspx?ApplicationExt=MAIL&MitroRO=true&CaseRefExt=XSF202605-00005 | Chan Lawrence
XSF202605-00004 |  |  |  |  | VMHKG1S00058 | 690044 |  | HONG KONG | HONG KONG | APAC | PLANNED MAINTENANCE | NEW |  | 23/MAY/2026 03:00:00 AM |  |  |  | None | 01:00 |  | TRANSPARENT | RELEASE | Maint. of Elect. Panels,ATM,STS,sockets | [6 empty] | HKGT01 - PM for power panel and related equipment |  | Unselected in settings | http://machx.equant.com/machx/login.aspx?ApplicationExt=MAIL&MitroRO=true&CaseRefExt=XSF202605-00004 | Chan Lawrence
XSF202605-00006 | GDS Beijing - BJ2 |  |  |  | PBJS191 | 690044 | GDS BEIJING - BJ2 | BEI JING SHI | CHINA | APAC | PLANNED MAINTENANCE | NEW |  | 26/MAY/2026 03:00:00 AM |  |  |  | None | 02:00 |  | TRANSPARENT | RELEASE | Maint. of Security System -- Add | SECONDARY | [5 empty] | HKGT01 - PM for fire detection system |  | Unselected in settings | http://machx.equant.com/machx/login.aspx?ApplicationExt=MAIL&MitroRO=true&CaseRefExt=XSF202605-00006 | Chan Lawrence
XSF202604-00033 |  |  |  |  | PMNL1884 | 690044 | CH-PHL-PAF | TAGUIG | PHILIPPINES | APAC | PLANNED MAINTENANCE | NEW |  | 16/MAY/2026 01:00:00 AM |  |  |  | None | 04:00 |  | TRANSPARENT | RELEASE | Maint. of UPS (and its Batteries) | SECONDARY | [5 empty] | UPS 15.2 annual maintenance arranged by landlord |  | Unselected in settings | http://machx.equant.com/machx/login.aspx?ApplicationExt=MAIL&MitroRO=true&CaseRefExt=XSF202604-00033 | Chan Lawrence
XSF202604-00033 |  |  |  |  | VMHKG1S00058 | 690044 |  | HONG KONG | HONG KONG | APAC | PLANNED MAINTENANCE | NEW |  | 16/MAY/2026 01:00:00 AM |  |  |  | None | 04:00 |  | TRANSPARENT | RELEASE | Maint. of UPS (and its Batteries) | [6 empty] | UPS 15.2 annual maintenance arranged by landlord |  | Unselected in settings | http://machx.equant.com/machx/login.aspx?ApplicationExt=MAIL&MitroRO=true&CaseRefExt=XSF202604-00033 | Chan Lawrence
XSF202604-00033 |  |  |  |  | PTYO2846 | 690044 | CH-JPN-JTA | MINATO CITY | JAPAN | APAC | PLANNED MAINTENANCE | NEW |  | 16/MAY/2026 01:00:00 AM |  |  |  | None | 04:00 |  | TRANSPARENT | RELEASE | Maint. of UPS (and its Batteries) | PRIMARY | [5 empty] | UPS 15.2 annual maintenance arranged by landlord |  | Unselected in settings | http://machx.equant.com/machx/login.aspx?ApplicationExt=MAIL&MitroRO=true&CaseRefExt=XSF202604-00033 | Chan Lawrence
XSF202605-00009 |  |  |  |  | PTYO2847 | 690044 | CH-JPN-JTA | MINATO CITY | JAPAN | APAC | PLANNED MAINTENANCE | NEW |  | 26/MAY/2026 08:00:00 AM |  |  |  | None | 01:00 |  | TRANSPARENT | RELEASE | Maintenance of Air Conditioning in Technical Rooms | SECONDARY | [5 empty] | HKGT01- PM for sump-pump |  | Unselected in settings | http://machx.equant.com/machx/login.aspx?ApplicationExt=MAIL&MitroRO=true&CaseRefExt=XSF202605-00009 | Chan Lawrence
XSF202605-00006 |  | VMHKG1S00058 | 690044 |  |  |  |  | HONG KONG | HONG KONG | APAC | PLANNED MAINTENANCE | NEW |  | 26/MAY/2026 03:00:00 AM |  |  |  | None | 02:00 |  | TRANSPARENT | RELEASE | Maint. of Security System -- Add | [6 empty] | HKGT01 - PM for fire detection system |  | Unselected in settings | http://machx.equant.com/machx/login.aspx?ApplicationExt=MAIL&MitroRO=true&CaseRefExt=XSF202605-00006 | Chan Lawrence
XSF202605-00007 |  |  |  |  | VMHKG1S00058 | 690044 |  | HONG KONG | HONG KONG | APAC | PLANNED MAINTENANCE | NEW |  | 26/MAY/2026 05:00:00 AM |  |  |  | None | 02:00 |  | TRANSPARENT | RELEASE | Maintenance of Air Conditioning in Technical Rooms | [6 empty] | HKGT01- PM for Aircond x 2 |  | Unselected in settings | http://machx.equant.com/machx/login.aspx?ApplicationExt=MAIL&MitroRO=true&CaseRefExt=XSF202605-00007 | Chan Lawrence
XSF202605-00004 |  |  |  |  | PTPE1935 | 690044 | CH-TWN-TAI | ZHNOGZHENG DISTRICT | TAIWAN | APAC | PLANNED MAINTENANCE | NEW |  | 23/MAY/2026 03:00:00 AM |  |  |  | None | 01:00 |  | TRANSPARENT | RELEASE | Maint. of Elect. Panels,ATM,STS,sockets | PRIMARY | [5 empty] | HKGT01 - PM for power panel and related equipment |  | Unselected in settings | http://machx.equant.com/machx/login.aspx?ApplicationExt=MAIL&MitroRO=true&CaseRefExt=XSF202605-00004 | Chan Lawrence
XSF202605-00005 |  |  |  |  | PMNL1883 | 690044 | CH-PHL-PAF | TAGUIG | PHILIPPINES | APAC | PLANNED MAINTENANCE | NEW |  | 26/MAY/2026 01:00:00 AM |  |  |  | None | 02:00 |  | TRANSPARENT | RELEASE | Maint. of Security System -- Add | PRIMARY | [5 empty] | HKGT01 - PM for FM200 fire protection system |  | Unselected in settings | http://machx.equant.com/machx/login.aspx?ApplicationExt=MAIL&MitroRO=true&CaseRefExt=XSF202605-00005 | Chan Lawrence
XSF202605-00002 | CH-TWN-THX |  |  |  | PHSZ105 | 690044 | CH-TWN-THX | XINFENG TOWNSHIP | TAIWAN | APAC | PLANNED MAINTENANCE | REMINDER |  | 23/MAY/2026 01:00:00 AM |  |  |  | None | 01:00 |  | TRANSPARENT | RELEASE | Maint. of Elect. Panels,ATM,STS,sockets | SECONDARY | [5 empty] | HKGT01 - PM for isolation transformer x 3 |  | Communicated to customer | http://machx.equant.com/machx/login.aspx?ApplicationExt=MAIL&MitroRO=true&CaseRefExt=XSF202605-00002 | Chan Lawrence
XSF202605-00009 |  |  |  |  | PTPE1934 | 690044 | CH-TWN-TAI | ZHNOGZHENG DISTRICT | TAIWAN | APAC | PLANNED MAINTENANCE | NEW |  | 26/MAY/2026 08:00:00 AM |  |  |  | None | 01:00 |  | TRANSPARENT | RELEASE | Maintenance of Air Conditioning in Technical Rooms | SECONDARY | [5 empty] | HKGT01- PM for sump-pump |  | Unselected in settings | http://machx.equant.com/machx/login.aspx?ApplicationExt=MAIL&MitroRO=true&CaseRefExt=XSF202605-00009 | Chan Lawrence
XSF202605-00004 |  |  |  |  | PTYO2847 | 690044 | CH-JPN-JTA | MINATO CITY | JAPAN | APAC | PLANNED MAINTENANCE | NEW |  | 23/MAY/2026 03:00:00 AM |  |  |  | None | 01:00 |  | TRANSPARENT | RELEASE | Maint. of Elect. Panels,ATM,STS,sockets | SECONDARY | [5 empty] | HKGT01 - PM for power panel and related equipment |  | Unselected in settings | http://machx.equant.com/machx/login.aspx?ApplicationExt=MAIL&MitroRO=true&CaseRefExt=XSF202605-00004 | Chan Lawrence
XSF202605-00008 |  |  |  |  | PSGN912 | 690044 | CH-VNM-HCM | HO CHI MINH | VIET NAM | APAC | PLANNED MAINTENANCE | NEW |  | 26/MAY/2026 07:00:00 AM |  |  |  | None | 01:00 |  | TRANSPARENT | RELEASE | Maint. of Security System -- Add | PRIMARY | [5 empty] | HKGT01- PM for water detection system |  | Unselected in settings | http://machx.equant.com/machx/login.aspx?ApplicationExt=MAIL&MitroRO=true&CaseRefExt=XSF202605-00008 | Chan Lawrence
XSF202605-00002 |  |  |  |  | PTYO2847 | 690044 | CH-JPN-JTA | MINATO CITY | JAPAN | APAC | PLANNED MAINTENANCE | NEW |  | 23/MAY/2026 01:00:00 AM |  |  |  | None | 01:00 |  | TRANSPARENT | RELEASE | Maint. of Elect. Panels,ATM,STS,sockets | SECONDARY | [5 empty] | HKGT01 - PM for isolation transformer x 3 |  | Unselected in settings | http://machx.equant.com/machx/login.aspx?ApplicationExt=MAIL&MitroRO=true&CaseRefExt=XSF202605-00002 | Chan Lawrence
XSF202605-00006 | CH-TWN-THX |  |  |  | PHSZ106 | 690044 | CH-TWN-THX | XINFENG TOWNSHIP | TAIWAN | APAC | PLANNED MAINTENANCE | REMINDER |  | 26/MAY/2026 03:00:00 AM |  |  |  | None | 02:00 |  | TRANSPARENT | RELEASE | Maint. of Security System -- Add | PRIMARY | [5 empty] | HKGT01 - PM for fire detection system |  | Communicated to customer | http://machx.equant.com/machx/login.aspx?ApplicationExt=MAIL&MitroRO=true&CaseRefExt=XSF202605-00006 | Chan Lawrence
XSF202605-00004 | GDS Beijing - BJ2 |  |  |  | PBJS190 | 690044 | GDS BEIJING - BJ2 | BEI JING SHI | CHINA | APAC | PLANNED MAINTENANCE | NEW |  | 23/MAY/2026 03:00:00 AM |  |  |  | None | 01:00 |  | TRANSPARENT | RELEASE | Maint. of Elect. Panels,ATM,STS,sockets | PRIMARY | [5 empty] | HKGT01 - PM for power panel and related equipment |  | Unselected in settings | http://machx.equant.com/machx/login.aspx?ApplicationExt=MAIL&MitroRO=true&CaseRefExt=XSF202605-00004 | Chan Lawrence
XSF202605-00008 |  |  |  |  | PHKG4124 | 690044 | CH-HKG-HON-2 | KOWLOON | HONG KONG | APAC | PLANNED MAINTENANCE | NEW |  | 26/MAY/2026 07:00:00 AM |  |  |  | None | 01:00 |  | TRANSPARENT | RELEASE | Maint. of Security System -- Add | SECONDARY | [5 empty] | HKGT01- PM for water detection system |  | Unselected in settings | http://machx.equant.com/machx/login.aspx?ApplicationExt=MAIL&MitroRO=true&CaseRefExt=XSF202605-00008 | Chan Lawrence
XSF202605-00005 |  |  |  |  | PTYO2846 | 690044 | CH-JPN-JTA | MINATO CITY | JAPAN | APAC | PLANNED MAINTENANCE | NEW |  | 26/MAY/2026 01:00:00 AM |  |  |  | None | 02:00 |  | TRANSPARENT | RELEASE | Maint. of Security System -- Add | PRIMARY | [5 empty] | HKGT01 - PM for FM200 fire protection system |  | Unselected in settings | http://machx.equant.com/machx/login.aspx?ApplicationExt=MAIL&MitroRO=true&CaseRefExt=XSF202605-00005 | Chan Lawrence
XSF202605-00004 |  |  |  |  | PQOM054 | 690044 | CH-JPN-KZO | KAZO | JAPAN | APAC | PLANNED MAINTENANCE | NEW |  | 23/MAY/2026 03:00:00 AM |  |  |  | None | 01:00 |  | TRANSPARENT | RELEASE | Maint. of Elect. Panels,ATM,STS,sockets | [6 empty] | HKGT01 - PM for power panel and related equipment |  | Unselected in settings | http://machx.equant.com/machx/login.aspx?ApplicationExt=MAIL&MitroRO=true&CaseRefExt=XSF202605-00004 | Chan Lawrence
XSF202605-00006 |  |  |  |  | PMNL1884 | 690044 | CH-PHL-PAF | TAGUIG | PHILIPPINES | APAC | PLANNED MAINTENANCE | NEW |  | 26/MAY/2026 03:00:00 AM |  |  |  | None | 02:00 |  | TRANSPARENT | RELEASE | Maint. of Security System -- Add | SECONDARY | [5 empty] | HKGT01 - PM for fire detection system |  | Unselected in settings | http://machx.equant.com/machx/login.aspx?ApplicationExt=MAIL&MitroRO=true&CaseRefExt=XSF202605-00006 | Chan Lawrence
XSF202604-00033 | GDS Beijing - BJ2 |  |  |  | PBJS191 | 690044 | GDS BEIJING - BJ2 | BEI JING SHI | CHINA | APAC | PLANNED MAINTENANCE | NEW |  | 16/MAY/2026 01:00:00 AM |  |  |  | None | 04:00 |  | TRANSPARENT | RELEASE | Maint. of UPS (and its Batteries) | SECONDARY | [5 empty] | UPS 15.2 annual maintenance arranged by landlord |  | Unselected in settings | http://machx.equant.com/machx/login.aspx?ApplicationExt=MAIL&MitroRO=true&CaseRefExt=XSF202604-00033 | Chan Lawrence
XSF202605-00006 |  |  |  |  | PSGN912 | 690044 | CH-VNM-HCM | HO CHI MINH | VIET NAM | APAC | PLANNED MAINTENANCE | NEW |  | 26/MAY/2026 03:00:00 AM |  |  |  | None | 02:00 |  | TRANSPARENT | RELEASE | Maint. of Security System -- Add | PRIMARY | [5 empty] | HKGT01 - PM for fire detection system |  | Unselected in settings | http://machx.equant.com/machx/login.aspx?ApplicationExt=MAIL&MitroRO=true&CaseRefExt=XSF202605-00006 | Chan Lawrence
XSF202605-00003 | GDS Beijing - BJ2 |  |  |  | PBJS190 | 690044 | GDS BEIJING - BJ2 | BEI JING SHI | CHINA | APAC | PLANNED MAINTENANCE | NEW |  | 23/MAY/2026 02:00:00 AM |  |  |  | None | 01:00 |  | TRANSPARENT | RESCHEDULED | Maint. of Elect. Panels,ATM,STS,sockets | PRIMARY | [5 empty] | HKGT01 - PM for STS x 2 |  | Unselected in settings | http://machx.equant.com/machx/login.aspx?ApplicationExt=MAIL&MitroRO=true&CaseRefExt=XSF202605-00003 | Chan Lawrence
XSF202605-00008 |  |  |  |  | PMNL1884 | 690044 | CH-PHL-PAF | TAGUIG | PHILIPPINES | APAC | PLANNED MAINTENANCE | NEW |  | 26/MAY/2026 07:00:00 AM |  |  |  | None | 01:00 |  | TRANSPARENT | RELEASE | Maint. of Security System -- Add | SECONDARY | [5 empty] | HKGT01- PM for water detection system |  | Unselected in settings | http://machx.equant.com/machx/login.aspx?ApplicationExt=MAIL&MitroRO=true&CaseRefExt=XSF202605-00008 | Chan Lawrence
XSF202605-00007 |  |  |  |  | PTPE1934 | 690044 | CH-TWN-TAI | ZHNOGZHENG DISTRICT | TAIWAN | APAC | PLANNED MAINTENANCE | NEW |  | 26/MAY/2026 05:00:00 AM |  |  |  | None | 02:00 |  | TRANSPARENT | RELEASE | Maintenance of Air Conditioning in Technical Rooms | SECONDARY | [5 empty] | HKGT01- PM for Aircond x 2 |  | Unselected in settings | http://machx.equant.com/machx/login.aspx?ApplicationExt=MAIL&MitroRO=true&CaseRefExt=XSF202605-00007 | Chan Lawrence
XSF202605-00009 |  |  |  |  | PMNL1883 | 690044 | CH-PHL-PAF | TAGUIG | PHILIPPINES | APAC | PLANNED MAINTENANCE | NEW |  | 26/MAY/2026 08:00:00 AM |  |  |  | None | 01:00 |  | TRANSPARENT | RELEASE | Maintenance of Air Conditioning in Technical Rooms | PRIMARY | [5 empty] | HKGT01- PM for sump-pump |  | Unselected in settings | http://machx.equant.com/machx/login.aspx?ApplicationExt=MAIL&MitroRO=true&CaseRefExt=XSF202605-00009 | Chan Lawrence
XSF202605-00002 |  |  |  |  | PTPE1935 | 690044 | CH-TWN-TAI | ZHNOGZHENG DISTRICT | TAIWAN | APAC | PLANNED MAINTENANCE | NEW |  | 23/MAY/2026 01:00:00 AM |  |  |  | None | 01:00 |  | TRANSPARENT | RELEASE | Maint. of Elect. Panels,ATM,STS,sockets | PRIMARY | [5 empty] | HKGT01 - PM for isolation transformer x 3 |  | Unselected in settings | http://machx.equant.com/machx/login.aspx?ApplicationExt=MAIL&MitroRO=true&CaseRefExt=XSF202605-00002 | Chan Lawrence
XSF202605-00005 |  |  |  |  | PMNL1884 | 690044 | CH-PHL-PAF | TAGUIG | PHILIPPINES | APAC | PLANNED MAINTENANCE | NEW |  | 26/MAY/2026 01:00:00 AM |  |  |  | None | 02:00 |  | TRANSPARENT | RELEASE | Maint. of Security System -- Add | SECONDARY | [5 empty] | HKGT01 - PM for FM200 fire protection system |  | Unselected in settings | http://machx.equant.com/machx/login.aspx?ApplicationExt=MAIL&MitroRO=true&CaseRefExt=XSF202605-00005 | Chan Lawrence
XSF202605-00007 |  |  |  |  | PTYO2846 | 690044 | CH-JPN-JTA | MINATO CITY | JAPAN | APAC | PLANNED MAINTENANCE | NEW |  | 26/MAY/2026 05:00:00 AM |  |  |  | None | 02:00 |  | TRANSPARENT | RELEASE | Maintenance of Air Conditioning in Technical Rooms | PRIMARY | [5 empty] | HKGT01- PM for Aircond x 2 |  | Unselected in settings | http://machx.equant.com/machx/login.aspx?ApplicationExt=MAIL&MitroRO=true&CaseRefExt=XSF202605-00007 | Chan Lawrence
XSF202605-00005 |  | VMHKG1S00058 | 690044 |  |  |  |  | HONG KONG | HONG KONG | APAC | PLANNED MAINTENANCE | NEW |  | 26/MAY/2026 01:00:00 AM |  |  |  | None | 02:00 |  | TRANSPARENT | RELEASE | Maint. of Security System -- Add | [6 empty] | HKGT01 - PM for FM200 fire protection system |  | Unselected in settings | http://machx.equant.com/machx/login.aspx?ApplicationExt=MAIL&MitroRO=true&CaseRefExt=XSF202605-00005 | Chan Lawrence
XSF202605-00004 | GDS Beijing - BJ2 |  |  |  | PBJS191 | 690044 | GDS BEIJING - BJ2 | BEI JING SHI | CHINA | APAC | PLANNED MAINTENANCE | NEW |  | 23/MAY/2026 03:00:00 AM |  |  |  | None | 01:00 |  | TRANSPARENT | RELEASE | Maint. of Elect. Panels,ATM,STS,sockets | SECONDARY | [5 empty] | HKGT01 - PM for power panel and related equipment |  | Unselected in settings | http://machx.equant.com/machx/login.aspx?ApplicationExt=MAIL&MitroRO=true&CaseRefExt=XSF202605-00004 | Chan Lawrence
XSF202605-00006 |  |  |  |  | PHKG4124 | 690044 | CH-HKG-HON-2 | KOWLOON | HONG KONG | APAC | PLANNED MAINTENANCE | NEW |  | 26/MAY/2026 03:00:00 AM |  |  |  | None | 02:00 |  | TRANSPARENT | RELEASE | Maint. of Security System -- Add | SECONDARY | [5 empty] | HKGT01 - PM for fire detection system |  | Unselected in settings | http://machx.equant.com/machx/login.aspx?ApplicationExt=MAIL&MitroRO=true&CaseRefExt=XSF202605-00006 | Chan Lawrence
XSF202605-00008 | CH-TWN-THX |  |  |  | PHSZ106 | 690044 | CH-TWN-THX | XINFENG TOWNSHIP | TAIWAN | APAC | PLANNED MAINTENANCE | REMINDER |  | 26/MAY/2026 07:00:00 AM |  |  |  | None | 01:00 |  | TRANSPARENT | RELEASE | Maint. of Security System -- Add | PRIMARY | [5 empty] | HKGT01- PM for water detection system |  | Communicated to customer | http://machx.equant.com/machx/login.aspx?ApplicationExt=MAIL&MitroRO=true&CaseRefExt=XSF202605-00008 | Chan Lawrence
XSF202605-00002 |  | VMHKG1S00058 | 690044 |  |  |  |  | HONG KONG | HONG KONG | APAC | PLANNED MAINTENANCE | NEW |  | 23/MAY/2026 01:00:00 AM |  |  |  | None | 01:00 |  | TRANSPARENT | RELEASE | Maint. of Elect. Panels,ATM,STS,sockets | [6 empty] | HKGT01 - PM for isolation transformer x 3 |  | Unselected in settings | http://machx.equant.com/machx/login.aspx?ApplicationExt=MAIL&MitroRO=true&CaseRefExt=XSF202605-00002 | Chan Lawrence
XSF202604-00033 |  |  |  |  | PTPE1934 | 690044 | CH-TWN-TAI | ZHNOGZHENG DISTRICT | TAIWAN | APAC | PLANNED MAINTENANCE | NEW |  | 16/MAY/2026 01:00:00 AM |  |  |  | None | 04:00 |  | TRANSPARENT | RELEASE | Maint. of UPS (and its Batteries) | SECONDARY | [5 empty] | UPS 15.2 annual maintenance arranged by landlord |  | Unselected in settings | http://machx.equant.com/machx/login.aspx?ApplicationExt=MAIL&MitroRO=true&CaseRefExt=XSF202604-00033 | Chan Lawrence
XSF202604-00033 |  | VMHKG1S00058 | 690044 |  |  |  |  | HONG KONG | HONG KONG | APAC | PLANNED MAINTENANCE | NEW |  | 16/MAY/2026 01:00:00 AM |  |  |  | None | 04:00 |  | TRANSPARENT | RELEASE | Maint. of UPS (and its Batteries) | [6 empty] | UPS 15.2 annual maintenance arranged by landlord |  | Unselected in settings | http://machx.equant.com/machx/login.aspx?ApplicationExt=MAIL&MitroRO=true&CaseRefExt=XSF202604-00033 | Chan Lawrence
XSF202605-00004 |  | VMHKG1S00058 | 690044 |  |  |  |  | HONG KONG | HONG KONG | APAC | PLANNED MAINTENANCE | NEW |  | 23/MAY/2026 03:00:00 AM |  |  |  | None | 01:00 |  | TRANSPARENT | RELEASE | Maint. of Elect. Panels,ATM,STS,sockets | [6 empty] | HKGT01 - PM for power panel and related equipment |  | Unselected in settings | http://machx.equant.com/machx/login.aspx?ApplicationExt=MAIL&MitroRO=true&CaseRefExt=XSF202605-00004 | Chan Lawrence
XSF202605-00009 |  |  |  |  | VMHKG1S00058 | 690044 |  | HONG KONG | HONG KONG | APAC | PLANNED MAINTENANCE | NEW |  | 26/MAY/2026 08:00:00 AM |  |  |  | None | 01:00 |  | TRANSPARENT | RELEASE | Maintenance of Air Conditioning in Technical Rooms | [6 empty] | HKGT01- PM for sump-pump |  | Unselected in settings | http://machx.equant.com/machx/login.aspx?ApplicationExt=MAIL&MitroRO=true&CaseRefExt=XSF202605-00009 | Chan Lawrence
XSF202605-00007 |  |  |  |  | PMNL1883 | 690044 | CH-PHL-PAF | TAGUIG | PHILIPPINES | APAC | PLANNED MAINTENANCE | NEW |  | 26/MAY/2026 05:00:00 AM |  |  |  | None | 02:00 |  | TRANSPARENT | RELEASE | Maintenance of Air Conditioning in Technical Rooms | PRIMARY | [5 empty] | HKGT01- PM for Aircond x 2 |  | Unselected in settings | http://machx.equant.com/machx/login.aspx?ApplicationExt=MAIL&MitroRO=true&CaseRefExt=XSF202605-00007 | Chan Lawrence
XSF202605-00009 |  |  |  |  | PSGN913 | 690044 | CH-VNM-HCM | HO CHI MINH | VIET NAM | APAC | PLANNED MAINTENANCE | NEW |  | 26/MAY/2026 08:00:00 AM |  |  |  | None | 01:00 |  | TRANSPARENT | RELEASE | Maintenance of Air Conditioning in Technical Rooms | SECONDARY | [5 empty] | HKGT01- PM for sump-pump |  | Unselected in settings | http://machx.equant.com/machx/login.aspx?ApplicationExt=MAIL&MitroRO=true&CaseRefExt=XSF202605-00009 | Chan Lawrence
XSF202605-00003 |  |  |  |  | PTYO2846 | 690044 | CH-JPN-JTA | MINATO CITY | JAPAN | APAC | PLANNED MAINTENANCE | NEW |  | 23/MAY/2026 02:00:00 AM |  |  |  | None | 01:00 |  | TRANSPARENT | RESCHEDULED | Maint. of Elect. Panels,ATM,STS,sockets | PRIMARY | [5 empty] | HKGT01 - PM for STS x 2 |  | Unselected in settings | http://machx.equant.com/machx/login.aspx?ApplicationExt=MAIL&MitroRO=true&CaseRefExt=XSF202605-00003 | Chan Lawrence
XSF202605-00002 |  |  |  |  | PSGN912 | 690044 | CH-VNM-HCM | HO CHI MINH | VIET NAM | APAC | PLANNED MAINTENANCE | NEW |  | 23/MAY/2026 01:00:00 AM |  |  |  | None | 01:00 |  | TRANSPARENT | RELEASE | Maint. of Elect. Panels,ATM,STS,sockets | PRIMARY | [5 empty] | HKGT01 - PM for isolation transformer x 3 |  | Unselected in settings | http://machx.equant.com/machx/login.aspx?ApplicationExt=MAIL&MitroRO=true&CaseRefExt=XSF202605-00002 | Chan Lawrence
XSF202605-00002 |  |  |  |  | PQOM054 | 690044 | CH-JPN-KZO | KAZO | JAPAN | APAC | PLANNED MAINTENANCE | NEW |  | 23/MAY/2026 01:00:00 AM |  |  |  | None | 01:00 |  | TRANSPARENT | RELEASE | Maint. of Elect. Panels,ATM,STS,sockets | [6 empty] | HKGT01 - PM for isolation transformer x 3 |  | Unselected in settings | http://machx.equant.com/machx/login.aspx?ApplicationExt=MAIL&MitroRO=true&CaseRefExt=XSF202605-00002 | Chan Lawrence
XSF202605-00009 |  | VMHKG1S00058 | 690044 |  |  |  |  | HONG KONG | HONG KONG | APAC | PLANNED MAINTENANCE | NEW |  | 26/MAY/2026 08:00:00 AM |  |  |  | None | 01:00 |  | TRANSPARENT | RELEASE | Maintenance of Air Conditioning in Technical Rooms | [6 empty] | HKGT01- PM for sump-pump |  | Unselected in settings | http://machx.equant.com/machx/login.aspx?ApplicationExt=MAIL&MitroRO=true&CaseRefExt=XSF202605-00009 | Chan Lawrence
XSF202605-00007 | CH-TWN-THX |  |  |  | PHSZ106 | 690044 | CH-TWN-THX | XINFENG TOWNSHIP | TAIWAN | APAC | PLANNED MAINTENANCE | REMINDER |  | 26/MAY/2026 05:00:00 AM |  |  |  | None | 02:00 |  | TRANSPARENT | RELEASE | Maintenance of Air Conditioning in Technical Rooms | PRIMARY | [5 empty] | HKGT01- PM for Aircond x 2 |  | Communicated to customer | http://machx.equant.com/machx/login.aspx?ApplicationExt=MAIL&MitroRO=true&CaseRefExt=XSF202605-00007 | Chan Lawrence
XSF202605-00004 |  |  |  |  | PHKG4124 | 690044 | CH-HKG-HON-2 | KOWLOON | HONG KONG | APAC | PLANNED MAINTENANCE | NEW |  | 23/MAY/2026 03:00:00 AM |  |  |  | None | 01:00 |  | TRANSPARENT | RELEASE | Maint. of Elect. Panels,ATM,STS,sockets | SECONDARY | [5 empty] | HKGT01 - PM for power panel and related equipment |  | Unselected in settings | http://machx.equant.com/machx/login.aspx?ApplicationExt=MAIL&MitroRO=true&CaseRefExt=XSF202605-00004 | Chan Lawrence
XSF202605-00005 |  |  |  |  | PSGN912 | 690044 | CH-VNM-HCM | HO CHI MINH | VIET NAM | APAC | PLANNED MAINTENANCE | NEW |  | 26/MAY/2026 01:00:00 AM |  |  |  | None | 02:00 |  | TRANSPARENT | RELEASE | Maint. of Security System -- Add | PRIMARY | [5 empty] | HKGT01 - PM for FM200 fire protection system |  | Unselected in settings | http://machx.equant.com/machx/login.aspx?ApplicationExt=MAIL&MitroRO=true&CaseRefExt=XSF202605-00005 | Chan Lawrence
XIP202605-00695 |  | PKUL2199 | 690044 |  |  |  | CH-MYS-KUA | AMPANG | MALAYSIA | APAC | PLANNED MAINTENANCE | NEW |  | 29/MAY/2026 01:00:00 PM |  |  |  | 5 | 03:00 |  | LONG SERVICE DISRUPTION - MORE THAN 1 MINUTE | PLANNING | Metro Ethernet Interface & PE Meshing -- Change | [6 empty] | KULKUL143_NNI Bulk |  | Visible: to be communicated | http://machx.equant.com/machx/login.aspx?ApplicationExt=MAIL&MitroRO=true&CaseRefExt=XIP202605-00695 | Ali Muhammad
XSF202605-00004 | CH-TWN-THX |  |  |  | PHSZ105 | 690044 | CH-TWN-THX | XINFENG TOWNSHIP | TAIWAN | APAC | PLANNED MAINTENANCE | REMINDER |  | 23/MAY/2026 03:00:00 AM |  |  |  | None | 01:00 |  | TRANSPARENT | RELEASE | Maint. of Elect. Panels,ATM,STS,sockets | SECONDARY | [5 empty] | HKGT01 - PM for power panel and related equipment |  | Communicated to customer | http://machx.equant.com/machx/login.aspx?ApplicationExt=MAIL&MitroRO=true&CaseRefExt=XSF202605-00004 | Chan Lawrence
XSF202604-00033 | GDS Beijing - BJ2 |  |  |  | PBJS190 | 690044 | GDS BEIJING - BJ2 | BEI JING SHI | CHINA | APAC | PLANNED MAINTENANCE | NEW |  | 16/MAY/2026 01:00:00 AM |  |  |  | None | 04:00 |  | TRANSPARENT | RELEASE | Maint. of UPS (and its Batteries) | PRIMARY | [5 empty] | UPS 15.2 annual maintenance arranged by landlord |  | Unselected in settings | http://machx.equant.com/machx/login.aspx?ApplicationExt=MAIL&MitroRO=true&CaseRefExt=XSF202604-00033 | Chan Lawrence
XSF202605-00005 |  |  |  |  | PSGN913 | 690044 | CH-VNM-HCM | HO CHI MINH | VIET NAM | APAC | PLANNED MAINTENANCE | NEW |  | 26/MAY/2026 01:00:00 AM |  |  |  | None | 02:00 |  | TRANSPARENT | RELEASE | Maint. of Security System -- Add | SECONDARY | [5 empty] | HKGT01 - PM for FM200 fire protection system |  | Unselected in settings | http://machx.equant.com/machx/login.aspx?ApplicationExt=MAIL&MitroRO=true&CaseRefExt=XSF202605-00005 | Chan Lawrence
XSF202605-00006 |  |  |  |  | PHKG4123 | 690044 | CH-HKG-HON-2 | KOWLOON | HONG KONG | APAC | PLANNED MAINTENANCE | NEW |  | 26/MAY/2026 03:00:00 AM |  |  |  | None | 02:00 |  | TRANSPARENT | RELEASE | Maint. of Security System -- Add | PRIMARY | [5 empty] | HKGT01 - PM for fire detection system |  | Unselected in settings | http://machx.equant.com/machx/login.aspx?ApplicationExt=MAIL&MitroRO=true&CaseRefExt=XSF202605-00006 | Chan Lawrence
XSF202605-00003 |  |  |  |  | PSGN913 | 690044 | CH-VNM-HCM | HO CHI MINH | VIET NAM | APAC | PLANNED MAINTENANCE | NEW |  | 23/MAY/2026 02:00:00 AM |  |  |  | None | 01:00 |  | TRANSPARENT | RESCHEDULED | Maint. of Elect. Panels,ATM,STS,sockets | SECONDARY | [5 empty] | HKGT01 - PM for STS x 2 |  | Unselected in settings | http://machx.equant.com/machx/login.aspx?ApplicationExt=MAIL&MitroRO=true&CaseRefExt=XSF202605-00003 | Chan Lawrence
XSF202605-00006 |  |  |  |  | VMHKG1S00058 | 690044 |  | HONG KONG | HONG KONG | APAC | PLANNED MAINTENANCE | NEW |  | 26/MAY/2026 03:00:00 AM |  |  |  | None | 02:00 |  | TRANSPARENT | RELEASE | Maint. of Security System -- Add | [6 empty] | HKGT01 - PM for fire detection system |  | Unselected in settings | http://machx.equant.com/machx/login.aspx?ApplicationExt=MAIL&MitroRO=true&CaseRefExt=XSF202605-00006 | Chan Lawrence
XSF202605-00009 | GDS Beijing - BJ2 |  |  |  | PBJS190 | 690044 | GDS BEIJING - BJ2 | BEI JING SHI | CHINA | APAC | PLANNED MAINTENANCE | NEW |  | 26/MAY/2026 08:00:00 AM |  |  |  | None | 01:00 |  | TRANSPARENT | RELEASE | Maintenance of Air Conditioning in Technical Rooms | PRIMARY | [5 empty] | HKGT01- PM for sump-pump |  | Unselected in settings | http://machx.equant.com/machx/login.aspx?ApplicationExt=MAIL&MitroRO=true&CaseRefExt=XSF202605-00009 | Chan Lawrence
XSF202605-00003 |  | VMHKG1S00058 | 690044 |  |  |  |  | HONG KONG | HONG KONG | APAC | PLANNED MAINTENANCE | NEW |  | 23/MAY/2026 02:00:00 AM |  |  |  | None | 01:00 |  | TRANSPARENT | RESCHEDULED | Maint. of Elect. Panels,ATM,STS,sockets | [6 empty] | HKGT01 - PM for STS x 2 |  | Unselected in settings | http://machx.equant.com/machx/login.aspx?ApplicationExt=MAIL&MitroRO=true&CaseRefExt=XSF202605-00003 | Chan Lawrence
XSF202605-00006 |  |  |  |  | PQOM054 | 690044 | CH-JPN-KZO | KAZO | JAPAN | APAC | PLANNED MAINTENANCE | NEW |  | 26/MAY/2026 03:00:00 AM |  |  |  | None | 02:00 |  | TRANSPARENT | RELEASE | Maint. of Security System -- Add | [6 empty] | HKGT01 - PM for fire detection system |  | Unselected in settings | http://machx.equant.com/machx/login.aspx?ApplicationExt=MAIL&MitroRO=true&CaseRefExt=XSF202605-00006 | Chan Lawrence
XSF202605-00009 |  |  |  |  | PHKG4124 | 690044 | CH-HKG-HON-2 | KOWLOON | HONG KONG | APAC | PLANNED MAINTENANCE | NEW |  | 26/MAY/2026 08:00:00 AM |  |  |  | None | 01:00 |  | TRANSPARENT | RELEASE | Maintenance of Air Conditioning in Technical Rooms | SECONDARY | [5 empty] | HKGT01- PM for sump-pump |  | Unselected in settings | http://machx.equant.com/machx/login.aspx?ApplicationExt=MAIL&MitroRO=true&CaseRefExt=XSF202605-00009 | Chan Lawrence
XSF202605-00005 | GDS Beijing - BJ2 |  |  |  | PBJS191 | 690044 | GDS BEIJING - BJ2 | BEI JING SHI | CHINA | APAC | PLANNED MAINTENANCE | NEW |  | 26/MAY/2026 01:00:00 AM |  |  |  | None | 02:00 |  | TRANSPARENT | RELEASE | Maint. of Security System -- Add | SECONDARY | [5 empty] | HKGT01 - PM for FM200 fire protection system |  | Unselected in settings | http://machx.equant.com/machx/login.aspx?ApplicationExt=MAIL&MitroRO=true&CaseRefExt=XSF202605-00005 | Chan Lawrence
XSF202605-00009 |  |  |  |  | PMNL1884 | 690044 | CH-PHL-PAF | TAGUIG | PHILIPPINES | APAC | PLANNED MAINTENANCE | NEW |  | 26/MAY/2026 08:00:00 AM |  |  |  | None | 01:00 |  | TRANSPARENT | RELEASE | Maintenance of Air Conditioning in Technical Rooms | SECONDARY | [5 empty] | HKGT01- PM for sump-pump |  | Unselected in settings | http://machx.equant.com/machx/login.aspx?ApplicationExt=MAIL&MitroRO=true&CaseRefExt=XSF202605-00009 | Chan Lawrence
XSF202604-00033 |  |  |  |  | PQOM054 | 690044 | CH-JPN-KZO | KAZO | JAPAN | APAC | PLANNED MAINTENANCE | NEW |  | 16/MAY/2026 01:00:00 AM |  |  |  | None | 04:00 |  | TRANSPARENT | RELEASE | Maint. of UPS (and its Batteries) | [6 empty] | UPS 15.2 annual maintenance arranged by landlord |  | Unselected in settings | http://machx.equant.com/machx/login.aspx?ApplicationExt=MAIL&MitroRO=true&CaseRefExt=XSF202604-00033 | Chan Lawrence
XSF202605-00007 | GDS Beijing - BJ2 |  |  |  | PBJS191 | 690044 | GDS BEIJING - BJ2 | BEI JING SHI | CHINA | APAC | PLANNED MAINTENANCE | NEW |  | 26/MAY/2026 05:00:00 AM |  |  |  | None | 02:00 |  | TRANSPARENT | RELEASE | Maintenance of Air Conditioning in Technical Rooms | SECONDARY | [5 empty] | HKGT01- PM for Aircond x 2 |  | Unselected in settings | http://machx.equant.com/machx/login.aspx?ApplicationExt=MAIL&MitroRO=true&CaseRefExt=XSF202605-00007 | Chan Lawrence
XSF202605-00008 | GDS Beijing - BJ2 |  |  |  | PBJS190 | 690044 | GDS BEIJING - BJ2 | BEI JING SHI | CHINA | APAC | PLANNED MAINTENANCE | NEW |  | 26/MAY/2026 07:00:00 AM |  |  |  | None | 01:00 |  | TRANSPARENT | RELEASE | Maint. of Security System -- Add | PRIMARY | [5 empty] | HKGT01- PM for water detection system |  | Unselected in settings | http://machx.equant.com/machx/login.aspx?ApplicationExt=MAIL&MitroRO=true&CaseRefExt=XSF202605-00008 | Chan Lawrence
XSF202605-00003 |  |  |  |  | PTPE1934 | 690044 | CH-TWN-TAI | ZHNOGZHENG DISTRICT | TAIWAN | APAC | PLANNED MAINTENANCE | NEW |  | 23/MAY/2026 02:00:00 AM |  |  |  | None | 01:00 |  | TRANSPARENT | RESCHEDULED | Maint. of Elect. Panels,ATM,STS,sockets | SECONDARY | [5 empty] | HKGT01 - PM for STS x 2 |  | Unselected in settings | http://machx.equant.com/machx/login.aspx?ApplicationExt=MAIL&MitroRO=true&CaseRefExt=XSF202605-00003 | Chan Lawrence
XSF202605-00002 | CH-TWN-THX |  |  |  | PHSZ106 | 690044 | CH-TWN-THX | XINFENG TOWNSHIP | TAIWAN | APAC | PLANNED MAINTENANCE | REMINDER |  | 23/MAY/2026 01:00:00 AM |  |  |  | None | 01:00 |  | TRANSPARENT | RELEASE | Maint. of Elect. Panels,ATM,STS,sockets | PRIMARY | [5 empty] | HKGT01 - PM for isolation transformer x 3 |  | Communicated to customer | http://machx.equant.com/machx/login.aspx?ApplicationExt=MAIL&MitroRO=true&CaseRefExt=XSF202605-00002 | Chan Lawrence
XSF202605-00005 |  |  |  |  | PTYO2847 | 690044 | CH-JPN-JTA | MINATO CITY | JAPAN | APAC | PLANNED MAINTENANCE | NEW |  | 26/MAY/2026 01:00:00 AM |  |  |  | None | 02:00 |  | TRANSPARENT | RELEASE | Maint. of Security System -- Add | SECONDARY | [5 empty] | HKGT01 - PM for FM200 fire protection system |  | Unselected in settings | http://machx.equant.com/machx/login.aspx?ApplicationExt=MAIL&MitroRO=true&CaseRefExt=XSF202605-00005 | Chan Lawrence
XSF202605-00009 | GDS Beijing - BJ2 |  |  |  | PBJS191 | 690044 | GDS BEIJING - BJ2 | BEI JING SHI | CHINA | APAC | PLANNED MAINTENANCE | NEW |  | 26/MAY/2026 08:00:00 AM |  |  |  | None | 01:00 |  | TRANSPARENT | RELEASE | Maintenance of Air Conditioning in Technical Rooms | SECONDARY | [5 empty] | HKGT01- PM for sump-pump |  | Unselected in settings | http://machx.equant.com/machx/login.aspx?ApplicationExt=MAIL&MitroRO=true&CaseRefExt=XSF202605-00009 | Chan Lawrence
XSF202604-00033 |  |  |  |  | PTYO2847 | 690044 | CH-JPN-JTA | MINATO CITY | JAPAN | APAC | PLANNED MAINTENANCE | NEW |  | 16/MAY/2026 01:00:00 AM |  |  |  | None | 04:00 |  | TRANSPARENT | RELEASE | Maint. of UPS (and its Batteries) | SECONDARY | [5 empty] | UPS 15.2 annual maintenance arranged by landlord |  | Unselected in settings | http://machx.equant.com/machx/login.aspx?ApplicationExt=MAIL&MitroRO=true&CaseRefExt=XSF202604-00033 | Chan Lawrence
XSF202605-00004 |  |  |  |  | PHKG4123 | 690044 | CH-HKG-HON-2 | KOWLOON | HONG KONG | APAC | PLANNED MAINTENANCE | NEW |  | 23/MAY/2026 03:00:00 AM |  |  |  | None | 01:00 |  | TRANSPARENT | RELEASE | Maint. of Elect. Panels,ATM,STS,sockets | PRIMARY | [5 empty] | HKGT01 - PM for power panel and related equipment |  | Unselected in settings | http://machx.equant.com/machx/login.aspx?ApplicationExt=MAIL&MitroRO=true&CaseRefExt=XSF202605-00004 | Chan Lawrence
XSF202605-00006 | GDS Beijing - BJ2 |  |  |  | PBJS190 | 690044 | GDS BEIJING - BJ2 | BEI JING SHI | CHINA | APAC | PLANNED MAINTENANCE | NEW |  | 26/MAY/2026 03:00:00 AM |  |  |  | None | 02:00 |  | TRANSPARENT | RELEASE | Maint. of Security System -- Add | PRIMARY | [5 empty] | HKGT01 - PM for fire detection system |  | Unselected in settings | http://machx.equant.com/machx/login.aspx?ApplicationExt=MAIL&MitroRO=true&CaseRefExt=XSF202605-00006 | Chan Lawrence
XSF202605-00003 | CH-TWN-THX |  |  |  | PHSZ106 | 690044 | CH-TWN-THX | XINFENG TOWNSHIP | TAIWAN | APAC | PLANNED MAINTENANCE | NEW |  | 23/MAY/2026 02:00:00 AM |  |  |  | None | 01:00 |  | TRANSPARENT | RESCHEDULED | Maint. of Elect. Panels,ATM,STS,sockets | PRIMARY | [5 empty] | HKGT01 - PM for STS x 2 |  | Visible: to be communicated | http://machx.equant.com/machx/login.aspx?ApplicationExt=MAIL&MitroRO=true&CaseRefExt=XSF202605-00003 | Chan Lawrence
XSF202605-00008 | CH-TWN-THX |  |  |  | PHSZ105 | 690044 | CH-TWN-THX | XINFENG TOWNSHIP | TAIWAN | APAC | PLANNED MAINTENANCE | REMINDER |  | 26/MAY/2026 07:00:00 AM |  |  |  | None | 01:00 |  | TRANSPARENT | RELEASE | Maint. of Security System -- Add | SECONDARY | [5 empty] | HKGT01- PM for water detection system |  | Communicated to customer | http://machx.equant.com/machx/login.aspx?ApplicationExt=MAIL&MitroRO=true&CaseRefExt=XSF202605-00008 | Chan Lawrence
XSF202605-00007 |  |  |  |  | PMNL1884 | 690044 | CH-PHL-PAF | TAGUIG | PHILIPPINES | APAC | PLANNED MAINTENANCE | NEW |  | 26/MAY/2026 05:00:00 AM |  |  |  | None | 02:00 |  | TRANSPARENT | RELEASE | Maintenance of Air Conditioning in Technical Rooms | SECONDARY | [5 empty] | HKGT01- PM for Aircond x 2 |  | Unselected in settings | http://machx.equant.com/machx/login.aspx?ApplicationExt=MAIL&MitroRO=true&CaseRefExt=XSF202605-00007 | Chan Lawrence
XSF202605-00003 |  |  |  |  | PTPE1935 | 690044 | CH-TWN-TAI | ZHNOGZHENG DISTRICT | TAIWAN | APAC | PLANNED MAINTENANCE | NEW |  | 23/MAY/2026 02:00:00 AM |  |  |  | None | 01:00 |  | TRANSPARENT | RESCHEDULED | Maint. of Elect. Panels,ATM,STS,sockets | PRIMARY | [5 empty] | HKGT01 - PM for STS x 2 |  | Unselected in settings | http://machx.equant.com/machx/login.aspx?ApplicationExt=MAIL&MitroRO=true&CaseRefExt=XSF202605-00003 | Chan Lawrence
XSF202605-00003 |  |  |  |  | PSGN912 | 690044 | CH-VNM-HCM | HO CHI MINH | VIET NAM | APAC | PLANNED MAINTENANCE | NEW |  | 23/MAY/2026 02:00:00 AM |  |  |  | None | 01:00 |  | TRANSPARENT | RESCHEDULED | Maint. of Elect. Panels,ATM,STS,sockets | PRIMARY | [5 empty] | HKGT01 - PM for STS x 2 |  | Unselected in settings | http://machx.equant.com/machx/login.aspx?ApplicationExt=MAIL&MitroRO=true&CaseRefExt=XSF202605-00003 | Chan Lawrence
XSF202605-00008 |  |  |  |  | PTPE1935 | 690044 | CH-TWN-TAI | ZHNOGZHENG DISTRICT | TAIWAN | APAC | PLANNED MAINTENANCE | NEW |  | 26/MAY/2026 07:00:00 AM |  |  |  | None | 01:00 |  | TRANSPARENT | RELEASE | Maint. of Security System -- Add | PRIMARY | [5 empty] | HKGT01- PM for water detection system |  | Unselected in settings | http://machx.equant.com/machx/login.aspx?ApplicationExt=MAIL&MitroRO=true&CaseRefExt=XSF202605-00008 | Chan Lawrence
XSF202604-00033 | CH-TWN-THX |  |  |  | PHSZ105 | 690044 | CH-TWN-THX | XINFENG TOWNSHIP | TAIWAN | APAC | PLANNED MAINTENANCE | REMINDER |  | 16/MAY/2026 01:00:00 AM |  |  |  | None | 04:00 |  | TRANSPARENT | RELEASE | Maint. of UPS (and its Batteries) | SECONDARY | [5 empty] | UPS 15.2 annual maintenance arranged by landlord |  | Communicated to customer | http://machx.equant.com/machx/login.aspx?ApplicationExt=MAIL&MitroRO=true&CaseRefExt=XSF202604-00033 | Chan Lawrence
XSF202605-00002 | GDS Beijing - BJ2 |  |  |  | PBJS190 | 690044 | GDS BEIJING - BJ2 | BEI JING SHI | CHINA | APAC | PLANNED MAINTENANCE | NEW |  | 23/MAY/2026 01:00:00 AM |  |  |  | None | 01:00 |  | TRANSPARENT | RELEASE | Maint. of Elect. Panels,ATM,STS,sockets | PRIMARY | [5 empty] | HKGT01 - PM for isolation transformer x 3 |  | Unselected in settings | http://machx.equant.com/machx/login.aspx?ApplicationExt=MAIL&MitroRO=true&CaseRefExt=XSF202605-00002 | Chan Lawrence
XSF202605-00013 |  |  |  |  | PMAD6082 | 690044 | CH-ESP-ALC | MADRID | SPAIN | EUROPE | PLANNED MAINTENANCE | NEW |  | 29/MAY/2026 08:00:00 AM |  |  |  | None | 02:00 |  | LONG SERVICE DISRUPTION - MORE THAN 1 MINUTE | RELEASE | Maint. of UPS (and its Batteries) | [6 empty] | BCNT02-UPSs Maint. |  | Visible: to be communicated | http://machx.equant.com/machx/login.aspx?ApplicationExt=MAIL&MitroRO=true&CaseRefExt=XSF202605-00013 | Erdieta Ramon

## Carrier
Carrier Change Management Schedule for: Gurmeet Erry
Report Date: 15 May 2026
Date Range: 15 May 2026 - 29 May 2026
Status of Maintenance: All maintenance
ORANGE REFERENCE | CUSTOMER DEFINED CODE/CUSTOMER CHANGE REFERENCE | DIRECT IMPACTED SYSTEM | DIRECT IMPACTED CUSTOMER | INDIRECT IMPACTED VIRTUAL DEVICE | INDIRECT IMPACTED DEVICE/SERVICE | INDIRECT IMPACTED CUSTOMER | SITE ID | CITY | COUNTRY | REGION | MSS MAINTENANCE TYPE (Planned, Expedite, Emergency, Urgent Expedite, Customer) | NOTIFICATION WORKFLOW STATUS (New, Reminder, Update) | OLD DATE/TIME (GMT) (dd/mmm/yyyy hh:mm) | SCHEDULED DATE/TIME (GMT) (dd/mmm/yyyy hh:mm) | OLD DATE/TIME (LOCAL) (dd/mmm/yyyy hh:mm) | SCHEDULED DATE/TIME (LOCAL) (dd/mmm/yyyy hh:mm) | LOCAL TIMEZONE | MAX IMPACT DURATION (minutes) | CHANGE WINDOW (hh:mm) | DURATION (days, hh:mm) | SERVICE IMPACT | ORANGE STATUS | CHANGE TYPE | PRIMARY/SECONDARY/ CASCADED | CARRIER NAME | CARRIER CIRCUIT ID | CARRIER REFERENCE | CARRIER STATUS | REASON FOR CHANGE | TITLE | COMMENTS/ADDITIONAL NOTES | NOTIFICATION STATUS | CHANGE URL (authorized users only) | CHANGE OWNER
REF/2026.19551 |  | PWAT034 | 690044 |  |  |  | CH-IRL-DUG | DUNGARVAN | IRELAND | EUR | PLANNED MAINTENANCE | UPDATE |  | 29/MAY/2026 12:00:00 AM |  | 29/MAY/2026 01:00:00 AM | WET [GMT DST= GMT+01:00 ] | 300 | 05:00 |  | EXTENDED SERVICE DISRUPTION - MORE THAN 30 MINUTES | RELEASE | PLANNED |  | E-NET | EN29293 | 14ED3C1E-D022-4955-842C-9A19D23613C7,A70C2567-A60C-4706-8057-57BAE8125AF0,7290BC59-28AC-4699-9978-19D0506FCCF9 | LOGGED | WE REQUIRE THIS MAINTENANCE WINDOW TO PROACTIVELY REPLACE FAULTY NETWORK CARDS IDENTIFIED BY THE VENDOR AS HAVING AN ELEVATED RISK OF FAILURE. PLANNED WORKS DATE & TIME: START DATE/TIME: 2026-05-29 01:00:00 END DATE/TIME: 2026-05-29 06:00:00 MAINTENANCE WINDOW DURATION: 5 HOURS TIME ZONE: IST ( IRISH STANDARD TIME ) THE BELOW SERVICE(S) LISTED IN OUTAGE OPERATING AT 10G AND 100G MAY EXPERIENCE UP TO A THIRTY MINUTE (30MINS) OUTAGE DURING THE MAINTENANCE WINDOW. OUTAGE: NONE |  |  | Unselected in settings | https://cmt.sso.infra.ftgroup/login?maintRef=REF/2026.19551 | Email.Bot
REF/2026.21173 |  | PWAT031 | 690044 |  |  |  | CH-IRL-DUN | DUNGARVAN | IRELAND | EUR | PLANNED MAINTENANCE | UPDATE |  | 20/MAY/2026 11:15:00 PM |  | 21/MAY/2026 12:15:00 AM | WET [GMT DST= GMT+01:00 ] | 300 | 05:75 |  | EXTENDED SERVICE DISRUPTION - MORE THAN 30 MINUTES | RELEASE | PLANNED |  | E-NET | EN23435 | 4E45EDF8-BEC9-4766-90C8-30B97E75366A,C0E6F2CD-AEE2-4222-9D74-4FC688E7EA7C | LOGGED | WE REQUIRE THIS MAINTENANCE WINDOW TO CUT IN NEW 100G NODES IN LONDON LD8 AND LONDON TELEHOUSE NORTH INTO THE RING. PLANNED WORKS DATE & TIME: START DATE/TIME: 2026-05-21 00:15:00 END DATE/TIME: 2026-05-21 06:00:00 MAINTENANCE WINDOW DURATION: 5 HOURS 45 MINUTES TIME ZONE: IST ( IRISH STANDARD TIME ) THE BELOW SERVICE(S) LISTED IN OUTAGE WILL EXPERIENCE SIXTY MINUTES OUTAGE (60MINS) DURING THE WORKS WINDOW. OUTAGE: NONE |  |  | Unselected in settings | https://cmt.sso.infra.ftgroup/login?maintRef=REF/2026.21173 | Email.Bot
REF/2026.22671 |  | PZRN065 | 690044 |  |  |  | CH-CHE-NYN | NYON | SWITZERLAND | EUR | PLANNED MAINTENANCE | NEW |  | 18/MAY/2026 08:00:00 PM |  | 18/MAY/2026 10:00:00 PM | CET [GMT+01:00 DST= GMT+02:00] | 10 | 03:00 |  | EXTENDED SERVICE DISRUPTION - FROM 5 MINUTES UP TO 30 MINUTES | RELEASE | PLANNED |  | SWISSCOM WHS | NYON IP 66 | 2690904 | LOGGED | DUE TO PLANNED MAINTENANCE / WORKS YOUR BELOW MENTIONED SERVICE HAS TO BE INTERRUPTED.WE ARE ANXIOUS TO KEEP THE NECESSARY INTERRUPTION TIME AS SHORT AS POSSIBLE. |  |  | Unselected in settings | https://cmt.sso.infra.ftgroup/login?maintRef=REF/2026.22671 | Email.Bot
REF/2026.23937 |  | PBLR1592 | 690044 |  |  |  | CH-IND-IBV | BENGALURU | INDIA | APAC | PLANNED MAINTENANCE | NEW |  | 18/MAY/2026 06:30:00 PM |  | 19/MAY/2026 12:00:00 AM | IST [GMT+05:30] | 120 | 06:00 |  | EXTENDED SERVICE DISRUPTION - MORE THAN 30 MINUTES | RELEASE | PLANNED |  | BHARTI AIRTEL LIMITED | 14704059 | 1100418066 | LOGGED | IOS UPGRADE ¦¦ BGLLSUMPLLTEPERTR43186 |  |  | Unselected in settings | https://cmt.sso.infra.ftgroup/login?maintRef=REF/2026.23937 | Email.Bot
REF/2026.24764 |  | PBLR1592 | 690044 |  |  |  | CH-IND-IBV | BENGALURU | INDIA | APAC | PLANNED MAINTENANCE | NEW |  | 19/MAY/2026 06:30:00 PM |  | 20/MAY/2026 12:00:00 AM | IST [GMT+05:30] | 180 | 06:00 |  | EXTENDED SERVICE DISRUPTION - MORE THAN 30 MINUTES | RELEASE | PLANNED |  | BHARTI AIRTEL LIMITED | 14704059 | 1100420046 | LOGGED | IOS UPGRADE ¦¦ BGLLSUMPLLTEPERTR43187 |  |  | Unselected in settings | https://cmt.sso.infra.ftgroup/login?maintRef=REF/2026.24764 | Email.Bot
REF/2026.25046 |  | PPSE022 | 690044 |  |  |  | CH-PRI-PGG | GUAYAMA | PUERTO RICO | AMER | PLANNED MAINTENANCE | REMINDER |  | 27/MAY/2026 03:30:00 AM |  | 26/MAY/2026 11:30:00 PM | AT [GMT-04:00] | 360 | 06:00 |  | EXTENDED SERVICE DISRUPTION - MORE THAN 30 MINUTES | RELEASE | PLANNED |  | COLUMBUS NETWORKS | 19982.CN | 987464 | LOGGED | THE PURPOSE OF THIS ACTIVITY IS TO MIGRATE THE SERVICES TO A NEW AND IMPROVED PLATFORM. |  |  | Communicated to customer | https://cmt.sso.infra.ftgroup/login?maintRef=REF/2026.25046 | Email.Bot
REF/2026.25077 |  | PQLV037 | 690044 |  |  |  | 690044_ARG_SAN FERNANDO_0002 | VICTORIA | ARGENTINA | AMER | PLANNED MAINTENANCE | NEW |  | 21/MAY/2026 07:15:00 AM |  | 21/MAY/2026 04:15:00 AM | ART [GMT-03:00] | 180 | 03:73 |  | EXTENDED SERVICE DISRUPTION - MORE THAN 30 MINUTES | RELEASE | PLANNED |  | IG NETWORKS | RNG.5411.A012 | 309302 | LOGGED | SCHEDULED MAINTENANCE WINDOW TO ENHANCE NETWORK PERFORMANCE AND RELIABILITY, ENSURING A BETTER QUALITY TO OUR CUSTOMERS CHANGE CONFIGURATION FOR IMPROVE THE NETWORK |  |  | Unselected in settings | https://cmt.sso.infra.ftgroup/login?maintRef=REF/2026.25077 | Anil Narwariya
REF/2026.25248 | CH-POL-PZN-2 | PPOZ9280 | 690044 |  |  |  | CH-POL-PZN-2 | POZNAŃ | POLAND | EUR | PLANNED MAINTENANCE | REMINDER |  | 26/MAY/2026 08:00:00 PM |  | 26/MAY/2026 10:00:00 PM | CET [GMT+01:00 DST= GMT+02:00 ] | 15 | 07:50 |  | EXTENDED SERVICE DISRUPTION - FROM 5 MINUTES UP TO 30 MINUTES | RELEASE | PLANNED | SECONDARY | ORANGE POLSKA SA | IDS 1317891 | 6838834 | LOGGED | MODERNIZATION WORKS IN OPL INFRASTRUCTURE THERE MAY BE SOME SERVICE INTERRUPTION. |  |  | Communicated to customer | https://cmt.sso.infra.ftgroup/login?maintRef=REF/2026.25248 | Email.Bot
REF/2026.25405 |  | PBUD1987 | 690044 |  |  |  | CH-HUN-BUD | BUDAPEST | HUNGARY | EUR | EMERGENCY MAINTENANCE | UPDATE |  | 15/MAY/2026 12:00:00 AM |  | 15/MAY/2026 02:00:00 AM | CET [GMT+01:00 DST= GMT+02:00 ] | 30 | 04:00 |  | EXTENDED SERVICE DISRUPTION - FROM 5 MINUTES UP TO 30 MINUTES | CANCELLED | PLANNED | SECONDARY | 2CONNECT | IN00063N | VTM-2026-029789 | CANCEL/CANCELLED | THE PURPOSE OF THIS PLANNED CHANGE IS TO OPTIMIZE MEMORY RESOURCES ON ONE OF OUR CORE ROUTERS. IF YOU ARE USING ANY AFFECTED SERVICES LISTED BELOW (E.G. CENTREX SERVICES ASSOCIATED WITH THE UNDERLYING CARRIER), PLEASE BE ADVISED THAT BRIEF SERVICE INTERRUPTIONS OF A FEW SECONDS MAY OCCUR. |  |  | Unselected in settings | https://cmt.sso.infra.ftgroup/login?maintRef=REF/2026.25405 | Email.Bot
REF/2026.25573 |  | PAZP095 | 690044 |  |  |  | CH-MEX-MMR-2 | CIUDAD DE MÉXICO | MEXICO | AMER | PLANNED MAINTENANCE | NEW |  | 21/MAY/2026 05:00:00 AM |  | 21/MAY/2026 12:00:00 AM | CST [GMT-6:00] | 360 | 06:00 |  | EXTENDED SERVICE DISRUPTION - MORE THAN 30 MINUTES | RELEASE | PLANNED | SECONDARY | TOTAL PLAY TELECOMUNICACIONES S.A. DE C.V. | 0200518859_EC_SENP-D-ID88119_ORANGE_BUSINESS_GLAXOSMITH | RFC 357176 | LOGGED | THE FIRST SERVICE MIGRATION IS BEING CARRIED OUT AT THE SAN JERÓNIMO SITE. THE MIGRATION OF LOCAL INTERCONNECTIONS (EQUIPMENT TO EQUIPMENT) IS BEING PERFORMED. THIS SERVICE MIGRATION IS NECESSARY BECAUSE THE CURRENT RACK WILL BE REMOVED. |  |  | Visible: to be communicated | https://cmt.sso.infra.ftgroup/login?maintRef=REF/2026.25573 | Ankit1 Gupta
REFB/2026.02615 |  | PHDD009 | 690044 |  |  |  | CH-PAK-JMS | JAMSHORO | PAKISTAN | IMEAR | PLANNED MAINTENANCE | NEW |  | 15/MAY/2026 09:00:00 PM |  | 16/MAY/2026 02:00:00 AM | PKT [GMT+05:00] | 1 | 03:00 |  | LONG SERVICE DISRUPTION - MORE THAN 1 MINUTE | RELEASE | PLANNED |  | PAK DATACOM | PDL/OBS/GSK-JAM-KHI/1212 | 16TH_MAY_PAK_DATACOM | LOGGED | THIS IS TO INFORM YOU THAT PDL HAS PLANNED A POWER RELATED MAINTENANCE ACTIVITY AT MRD POP |  |  | Unselected in settings | https://cmt.sso.infra.ftgroup/login?maintRef=REFB/2026.02615 | abhishek.k.dubey@orange.com
REFB/2026.02616 |  | PKHI30624 | 690044 |  |  |  | CH-PAK-PKH | KARACHI | PAKISTAN | IMEAR | PLANNED MAINTENANCE | REMINDER |  | 15/MAY/2026 09:00:00 PM |  | 16/MAY/2026 02:00:00 AM | PKT [GMT+05:00] | 1 | 03:00 |  | LONG SERVICE DISRUPTION - MORE THAN 1 MINUTE | RELEASE | PLANNED |  | PAK DATACOM | PDL/OBS/GSKST-ISB/1214 | 16TH_MAY_PAK_DATACOM | LOGGED | THIS IS TO INFORM YOU THAT PDL HAS PLANNED A POWER RELATED MAINTENANCE ACTIVITY AT MRD POP |  |  | Communicated to customer | https://cmt.sso.infra.ftgroup/login?maintRef=REFB/2026.02616 | abhishek.k.dubey@orange.com
REFB/2026.02617 | CH-PAK-PKH | PKHI575 | 690044 |  |  |  | CH-PAK-PKH | KARACHI | PAKISTAN | IMEAR | PLANNED MAINTENANCE | NEW |  | 15/MAY/2026 09:00:00 PM |  | 16/MAY/2026 02:00:00 AM | PKT [GMT+05:00] | 1 | 03:00 |  | LONG SERVICE DISRUPTION - MORE THAN 1 MINUTE | RELEASE | PLANNED |  | PAK DATACOM | PDL/OBS/GSKST-KHI/2901 | 16TH_MAY_PAK_DATACOM | LOGGED | THIS IS TO INFORM YOU THAT PDL HAS PLANNED A POWER RELATED MAINTENANCE ACTIVITY AT MRD POP |  |  | Unselected in settings | https://cmt.sso.infra.ftgroup/login?maintRef=REFB/2026.02617 | abhishek.k.dubey@orange.com